## Sheet1
Access control systems from 1st September - 1st October 2021 | Mitigation plans in place
Link to government recommendations for schools and academies
Site security guidance - GOV.UK (www.gov.uk)
Points list in guidance
The main entrance door to the school should incorporate some degree of access control such as a remote electronic lock release device incorporating an intercom and visual verification. | Internal thumb turner installed, manned by a staff member during opening hours. Physical point of contact for all visitors on an appointment system. Delivery appointment slot booked with all delivery companies.
Other entrance points should be kept locked to prevent them being opened from the outside but able to be unlocked from the inside in the event of an emergency. | Internal Thumb turner, fire push bar fitted to BS standard 4 doors sets in total
There should be one entrance to the school building via the office/reception, with clear directional signs indicating its location to visitors. In turn this door should incorporate suitable access control with a remote electronic lock release, intercom and visual verification. | Signage will be installed identifying the main entrance. The reception has an outward facing window and substantial reception desk with an open aspect giving clear sight lines to the main entrance door. A temporary intercom for visitor identification will be installed.
All windows and doors should be checked and assessed to ensure that the locking mechanisms are in working order and are fit for purpose. | All checked via the handover of the building from the contractor. Daily checks are inplace for the site manager to complete and record via Parago the online FM management system in place.
All fire exit doors should be devoid of external door furniture. | No furniture is installed in corridors including lockers and coat hooks. This will be checked and incorporated into the daily site walk. No debris or rubbish will be stored at exit points.
All ground floor or other easily accessible windows above ground floor level should have suitable key operable locks fitted for additional security. | All installed to the highest specification and incorporate locking systems (single story accommodation)
Glazing to doors and ground floor windows should include one pane of attack resistant laminated glass. | All installed doors are fitted with high impact glass panels to BD standard
Steps should be taken to prevent access to the roof and/or courtyard areas | Access to the roof is by ladder only, single story building, the roof can be access by certified working at heights accredited staff member. The ladders will be kept internally in a secure storage area.
Government guidance on CCTV recommendations of school and academy sites
For more information on CCTV and alarm system companies and installers, go to the National Security Inspectorate website or the Security Systems and Alarms Inspection Board website. | Please refer to the Co-op Academies Trust CCTV Policy
A type ‘A’ monitored alarm is essential for school buildings, especially those that are remote from residential areas. Type ‘A’ alarms are monitored by a central monitoring station and have the facility for immediate response to any security breaches. | Type 'A' alarm is fitted to the main site and the building is linked to the alarm system. Fully operational and commissioned. Linked to CUSTODIAN monitoring centre.
It is essential to have clear facial recognition in order to identify an offender and for subsequent evidential use. | The Connell Co-op College is covered by CCTV and only one aspect of this building will not be covered by CCTV for the first three weeks of operation. The building system is the most up to date available and resolution of images is high quality.
The main areas for coverage of CCTV are entrances, IT suites, offices, locations with little natural surveillance and circulation areas, both inside and out. | The site is very small and consists of only 9 teaching rooms, 1 IT room, 1 reception area and 2 toilet blocks. The students numbers are 100 and the staff on site will be 10. The total occupation will be around 110 staff to student ratio being 1 to 10. This for the first 3 weeks will ensure staff manually supervise students at all times. The planned CCTV setup complies with the recommendations the Government guidance outlines and will be in place asap
Consider the use of an independent CCTV testing company (they do not sell or install systems) to review your current system or for advice on planned CCTV systems. Secured by Design provides useful further information. | N/A
Fittings should be vandal resistant and positioned out of reach. | The external CCTV system is installed on posts to the perimeter and at the highest points on the building out of reach of vandals
Lighting should support the operation of CCTV, which should not be restricted by trees, shrubs or other landscaping features. | The site has ample lighting at night, the adjacent football stadium and training ground is also full floodlit and is used every evening and at weekends. The main site and driveway is fully visible and adequate lighting is has been designed into the parking scheme. This build does not disrupt the original lighting scheme
Government guidance for schools and academy access control
Signage
Appropriately worded signs should be displayed indicating opening times and directing visitors to the school office/reception. In addition, appropriately worded warning signs regarding the presence of an alarm system, monitored CCTV, trespassing and the fact that all property of value on the school premises is property marked should be displayed. | The appropriate signage will be installed inline with the recommendations in this document
Visitors
Visitors to the school should not be allowed to wander about the school unaccompanied. Identification provided by local authorities, utilities or other organisations should not be accepted as an alternative to the school’s own system. | All visitors are by appointment only. The academy has a safeguarding policy in place and all visitors to the site must sign this policy on arrival, via an electronic copy or a manual version. All visitors will receive a H and S site user guide on arrival
All staff are to wear ID badges and anyone not wearing a badge should be challenged. | The badges will be produced by Co-op Connell College ready to use on the academy PAC system when installed. All staff must be issued with and ID badge - all visitors will be issued with a visitor badge on arrival
Good access control is essential to the security of the school during the school day. Procedures should be in place to ensure that, no one is able to access | The site has a safeguarding fence. The site will be manned and the gates will be locked stopping members of the public accessing the site. The door will be secured and a member of staff will allow entry when the person's identity has been verified.
The school buildings unacknowledged and that once in the building systems are in place to protect or help pupils and staff should support become necessary. | All staff will have access to a mobile phone as a backup to security. The site will be linked to the main campus building and the site staff will be issued with walkie talkies if support is required
All visitors, including school governors, should initially report to the school office/reception, where the purpose of their visit can be established prior to them signing in and being issued with a visitor’s badge, valid only on the day of issue. | The academy administrator will ensure the signing in regime is followed and only persons are admitted who have a valid appointment. All visitors including Trust employees and Trust governors will be asked to produce IT on arrival. The visitors book will be signed and dated and the correct badge will be issued, numbered and returned on exit