## Sheet1
Date | Monitor | [5 empty] | Notes
| 1 | 2 | 3 | 4 | 5 | 6
10.11.2020 | 0.363 | 1.474 | 2.057 | 2.798 | 2.956 | 1.403 | Background readings
11.11.2020 | 2.459 | 2.522 | 0.733 | 1.159 | 1.245 | 0.851
12.11.2020 | 1.096 | 2.814 | 1.994 | 0.56 | 0.26 | 3.507
13.11.2020 | 0.355 | 0.134 | 1.182 | 0.638 | 1.08 | 1.301
16.11.2020 | 0.284 | 0.134 | 0.127 | 0.914 | 0.567 | 1.198
17.11.2020 | 0.701 | 0.962 | 1.135 | 0.883 | 6.605 | 21.383 | Commenced drilling
18.11.2020 | 2.467 | No Result | 39.062 | 0.812 | No Result | Not used
19.11.2020 | 1.103 | 0.426 | 0.914 | 0.701 | 1.766 | 1.545
20.11.2020 | Not used | 1.545 | 0.512 | 1.884 | 0.804 | 3.058
23.11.20 | 1.065 | 3.788 | ERROR | 1.414 | 5.203 | 3.131
24.11.20 | 2.009 | 2.763 | 1.946 | 1.003 | 1.598 | 1.877
25.11.20 | 1.778 | 2.169 | 1.246 | 2.174 | 2.241 | 1.779
26.11.20 | 7.809 | 4.008 | 2.238 | 1.598 | 1.837 | 3.299
27.11.20 | 2.235 | 3.31 | 1.672 | 1.296 | 1.53 | 2.504
30.11.20 | 0.063 | 0.144 | 0.114 | 0.117 | 0.195 | 0.095
1.12.20 | 0.107 | 0.157 | 0.088 | 0.25 | 0.137 | 0.107
2.12.20 | 1.003 | 0.198 | 0.134 | 0.169 | 0.136 | 0.162
3.12.20 | 0.115 | 0.262 | 0.106 | 0.071 | 0.824 | 0.126
4.12.20 | 0.091 | 0.191 | 0.087 | 0.105 | 0.147 | 0.499
7.12.20 | 0.076 | 0.127 | 0.104 | 0.065 | 0.119 | 0.582
8.12.20 | 0.726 | 0.18 | 0.077 | 0.096 | 0.376 | 0.465
9.12.20 | 0.849 | 5.369 | 2.557 | 2.495 | 6.103 | ERROR
10.12.20 | 2.447 | 3.674 | 1.976 | 2.111 | 5.411 | 3.982
11.12.20 | 1.451 | 2.848 | 2.235 | 2.044 | 2.455 | N/A | Unit 6 damaged, awaiting replacement
14.12.20 | 1.23 | 3.818 | 2.87 | 3.527 | 2.428 | N/A | Unit 6 changed today
15.12.20 | 1.48 | 4.16 | 1.849 | 1.722 | 1.635 | 4.225
16.12.20 | 0.7 | 0.3 | 0.8 | 0.55 | 2.4 | 2.25
17.12.20 | 0.6 | 0.6 | 0.3 | 0.8 | 1.4 | 0.95
18.12.20 | 0.9 | 1 | 0.4 | 0.3 | 0.6 | 1.2 | Finished at 11.00am for Christmas
4.1.21 | 1.431 | 2.267 | 2.104 | 2.273 | 2.438 | 1.638
5.1.21 | 2.816 | 3.969 | 2.583 | 3.398 | 2.127 | 2.076
6.1.21 | 0.3 | 0.8 | 0.9 | 0.6 | 0.45 | 0.85
7.1.21 | 0.3 | 0.3 | 0.5 | 0.8 | 0.5 | 1.6
8.1,21 | 0.4 | 0.3 | 0.55 | 1.2 | 2.3
11.1.21 | 0.8 | 0.5 | 0.9 | 1 | 1.3 | 0.7
12.1.21 | 0.6 | 0.6 | 0.9 | 1.2 | 0.8 | 0.9
13.1.21 | 0.4 | 1.6 | 0.8 | 1.5 | 1.2 | 0.7
14.1.21 | 2.3 | 0.8 | 1 | 1.9 | 3.2 | 0.5
15.1.21 | 0.35 | 1.05 | 2.25 | 1.3 | 1 | 1.35
18.1.21 | 2 | 4 | 1.5 | 28 | 1.6 | 34
19.1.21 | 1.65 | 4.2 | 110 | 2.4 | 2.3 | 3 | Please read comments in each box. These high readings are from closing/opening the box at setup/shutdown times.
20.1.21 | 1.6 | 4.5 | 2.5 | 3 | 2.8 | 2.3
21.1.21 | 1.5 | 27 | 2.1 | 31 | 2.2 | 2.1 | Please read comments in each box. These high readings are from closing/opening the box at setup/shutdown times.
22.1.21 | 1.75 | 1.5 | 0.8 | 1.2 | 1.3 | 1.8
25.1.21 | [6 empty] | No grouting and no readings today
26.1.21 | [6 empty] | No grouting and no readings today
27.1.21 | [6 empty] | No grouting and no readings today
28.1.21 | [6 empty] | No grouting and no readings today
29.1.21 | [6 empty] | No grouting and no readings today
1.2.21 | [6 empty] | No grouting and no readings today
2.2.21 | [6 empty] | No grouting and no readings today
3.2.21 | [6 empty] | No grouting and no readings today
4.2.21 | [6 empty] | No grouting and no readings today
5.2.21 | [6 empty] | No grouting and no readings today
8.2.21 | [6 empty] | No grouting and no readings today
9.2.21 | [6 empty] | No grouting and no readings today
10.2.21 | [6 empty] | No grouting and no readings today
11.2.21 | [6 empty] | No grouting and no readings today
12.2.21 | [6 empty] | No grouting and no readings today
15.2.21 | [6 empty] | No grouting and no readings today
16.2.21 | [6 empty] | No grouting and no readings today
17.2.21 | [6 empty] | No grouting and no readings today
18.2.21 | [6 empty] | No grouting and no readings today
19.2.21 | [6 empty] | No grouting and no readings today
22.2.21 | [6 empty] | No grouting and no readings today
23.2.21 | [6 empty] | No grouting and no readings today
24.2.21 | [6 empty] | No grouting and no readings today
25.2.21 | [6 empty] | No grouting and no readings today
26.2.21 | [6 empty] | No grouting and no readings today
01.3.21 | [6 empty] | No grouting and no readings today
02.3.21 | [6 empty] | No grouting and no readings today
03.3.21 | [6 empty] | No grouting and no readings today
04.3.21 | [6 empty] | No grouting and no readings today
05.3.21 | [6 empty] | No grouting and no readings today
08.3.21 | [6 empty] | No grouting and no readings today
09.3.21 | [6 empty] | No grouting and no readings today
10.3.21 | [6 empty] | No grouting and no readings today
11.3.21 | [6 empty] | No grouting and no readings today
12.3.21 | [6 empty] | No grouting and no readings today
26.04.21 | [6 empty] | No grouting and no readings today
27.04.21 | 1.4 | 10
28.04.21 | 2 | 0.9
29.04.21 | 1.2 | 2.2
30.04.21 | 1.45 | 2.5
03.05.21 | [6 empty] | BANK HOLIDAY
04.05.21 | 1.2 | 2.9
05.05.21 | 4.8 | 6.2
06.05.21 | N/A | 2.5
07.05.21 | 14 | 9
10.05.21 | 14 | 9
11.05.21
12.05.21
13.05.21
14.05.21
Note on C3: Hanlon, Dave: set-up spike
Note on D3: Hanlon, Dave: set-up spike
Note on E3: Hanlon, Dave: single spike on set-up
Note on F3: Hanlon, Dave: set-up spike
Note on G3: Hanlon, Dave: set-up and take down spikes
Note on C4: Hanlon, Dave: set-up spike
Note on C5: Hanlon, Dave: track machine working at this location
Note on G5: Hanlon, Dave: track machine working at this location
Note on D6: Hanlon, Dave: set-up spike
Note on F6: Hanlon, Dave: set-up spike
Note on G6: Hanlon, Dave: set-up spike
Note on E8: Hanlon, Dave: 3No individual spikes
Note on G8: Hanlon, Dave: set-up spike
Note on B9: Hanlon, Dave: set-up spike
Note on C9: Hanlon, Dave: single spike reading
Note on F9: Hanlon, Dave: unit 1.5m from drilling head general operation 3mm/s
Note on G9: Hanlon, Dave: unit knocked general operating 4mm/s
Note on B10: Hanlon, Dave: singular spike ave reading under 1mm/s
Note on C10: Hanlon, Dave: Bam having this unit checked
Note on D10: Hanlon, Dave: single spike incident ave reading sub5mm/s
Note on F10: Hanlon, Dave: Unit being checked
Note on B11: Hanlon, Dave: Canal Fence GL BM ave sub 0.2mm/s
Note on C11: Hanlon, Dave: Position 4 ave sub 0.2mm/s
Note on D11: Hanlon, Dave: Position 1 ave sub 0.2mm/s
Note on E11: Hanlon, Dave: Position 6 set 10m from rig
Note on F11: Hanlon, Dave: Position 3 ave sub 0.2mm/s
Note on G11: Hanlon, Dave: Crib Wall GL7 ave sub 0.2mm/s
Note on C12: Hanlon, Dave: Position 13 ave sub 0.2mm/s
Note on D12: Hanlon, Dave: Position 10 ave 0.2mm/s
Note on E12: Hanlon, Dave: Position 7 set up spike ave sub 0.2mm/s
Note on F12: Hanlon, Dave: Position 5 closing spike ave 0.1mm/s
Note on G12: Hanlon, Dave: Position 11 set up spike ave 0.2mm/s
Note on B14: Hanlon, Dave: Position 1 shut down spike ave reading <0.2mm/s
Note on C14: Hanlon, Dave: Position 1&2 closing spike when moved position ave<0.4mm/s
Note on D14: Hanlon, Dave: unit knocked when erecting protection ave reading <3mm/s
Note on E14: Hanlon, Dave: Position 4 Intermittent spikes ave <0.2mm/s
Note on F14: Hanlon, Dave: Position 7 close down spike ave <0.2mm/s
Note on G14: Hanlon, Dave: Position 1 set up spike ave<0.4mm/s
Note on B15: Hanlon, Dave: Position 1 shutdown spike ave <0.3mm/s
Note on C15: Hanlon, Dave: Position 3 shutdown spike ave<0.3mm/s
Note on D15: Hanlon, Dave: Position 5 single spike ave <0.3mm/s
Note on E15: Hanlon, Dave: Position 7 ave 0.3mm/s
Note on F15: Hanlon, Dave: Position 10 3No spikes ave <0.4mm/s
Note on G15: Hanlon, Dave: Position 13 single spike ave <0.3mm/s
Note on B16: Hanlon, Dave: Position 1 shut down spike ave<0.2mm/s
Note on C16: Hanlon, Dave: Position 3 shut down spike ave<0.3mm/s
Note on D16: Hanlon, Dave: Position 5 shut down spike ave<0.3mm/s
Note on E16: Hanlon, Dave: Position 7 shut down spike ave<0.2mm/s
Note on F16: Hanlon, Dave: Position 10 operating spike ave <0.5mm/s
Note on G16: Hanlon, Dave: Position 13 single spike ave <0.5mm/s
Note on B17: Hanlon, Dave: Position 1 single spike incident ave <1mm/s
Note on C17: Hanlon, Dave: Position 3 start-up and shut down spike ave <0.5mm/s
Note on D17: Hanlon, Dave: Position 5 single spike incident ave <0.2mm/s
Note on E17: Hanlon, Dave: Position 8 start-up and shut down spike ave<0.5mm/s
Note on F17: Hanlon, Dave: Position 10 start-up spike av0,5mm/s
Note on G17: Hanlon, Dave: Position 13 start-up and close down spike ave<0.5mm/s
Note on B18: Hanlon, Dave: Position 1 shutdown spike ave <0.2mm/s
Note on C18: Hanlon, Dave: Position 3 shutdown spike ave <0.3mm/s
Note on D18: Hanlon, Dave: Position 5 ave <0.2mm/s
Note on E18: Hanlon, Dave: Position 8 shutdown spike ave <0.2mm/s
Note on F18: Hanlon, Dave: Position 10 ave <0.4mm/s
Note on G18: Hanlon, Dave: Position 14 shutdown spike ave <0.3mm/s
Note on B20: Hanlon, Dave: Position 1
Note on C20: Hanlon, Dave: Position 3
Note on D20: Hanlon, Dave: Position 5
Note on E20: Hanlon, Dave: Position 8
Note on F20: Hanlon, Dave: Position 10
Note on G20: Hanlon, Dave: Position 13
Note on B21: Hanlon, Dave: Position 1
Note on C21: Hanlon, Dave: Position 3
Note on D21: Hanlon, Dave: Position 5
Note on E21: Hanlon, Dave: Position 8
Note on F21: Hanlon, Dave: Position 10
Note on G21: Hanlon, Dave: Position 13
Note on B22: Hanlon, Dave: Position 1 shutdown spike ave<0.1mm/s
Note on C22: Hanlon, Dave: Position 3
Note on D22: Hanlon, Dave: Position 5
Note on E22: Hanlon, Dave: Position 8
Note on F22: Hanlon, Dave: Position 10
Note on G22: Hanlon, Dave: Position 14
Note on B23: Hanlon, Dave: Position 1
Note on C23: Hanlon, Dave: Position 3 shutdown spike ave<0.1mm/s
Note on D23: Hanlon, Dave: Position 5
Note on E23: Hanlon, Dave: Position 8
Note on F23: Hanlon, Dave: Position 10 shutdown spike ave<0.1mm/s
Note on G23: Hanlon, Dave: Position 14
Note on B24: Hanlon, Dave: Position 1
Note on C24: Hanlon, Dave: Position 3 closedown spike ave<0.1mm/s
Note on D24: Hanlon, Dave: Position 5
Note on E24: Hanlon, Dave: Position 8
Note on F24: Hanlon, Dave:Position 10
Note on G24: Hanlon, Dave: Position 13 shutdown spike ave<0.1mm/s
Note on B26: Hanlon, Dave: Position 1
Note on C26: Hanlon, Dave: Position 3
Note on D26: Hanlon, Dave: Position 5
Note on E26: Hanlon, Dave: Position 8
Note on F26: Hanlon, Dave: Position 10
Note on G26: Hanlon, Dave: Position 14 shutdown spike ave<0.1mm/s
Note on B27: Hanlon, Dave: Position 1 shutdown spike ave<0.1mm/s
Note on C27: Hanlon, Dave: Position 3 shutdown spike ave<0.02mm/s
Note on D27: Hanlon, Dave: Position 5
Note on E27: Hanlon, Dave: Position 8
Note on F27: Hanlon, Dave: Position 10 shutdown spike ave<0.02mm/s
Note on G27: Hanlon, Dave: Position 14 shutdown spike ave<0.05mm/s
Note on B28: Hanlon, Dave: Position 1 shutdown spike ave<0.5mm/s
Note on C28: Hanlon, Dave: Position 3 shutdown spike ave<0.5mm/s
Note on D28: Hanlon, Dave: Position 5 set-up spike ave <0.3mm/s
Note on E28: Hanlon, Dave: Position 8 shutdown spike ave<0.4mm/s
Note on F28: Hanlon, Dave: Position 10 single spike unknown incident ave<0.5mm/s
Note on B29: Hanlon, Dave: Position 1 shutdown spike ave<0.5mm/s
Note on C29: Hanlon, Dave: Position 3 shutdown spike ave<0.3mm/s
Note on D29: Hanlon, Dave: Position 5 start up spike ave<0.3mm/s
Note on E29: Hanlon, Dave: Position 8 spike at 9.30am ave<0.4mm/s
Note on F29: Hanlon, Dave: Position10 spike at 12.02pm ave<0.7mm/s
Note on G29: Hanlon, Dave: Position 14 shutdown spike ave<0.5mm/s
Note on B30: Hanlon, Dave: Position 1 shutdown spike ave <0.2mm/s
Note on C30: Hanlon, Dave: Positin 3 shutdown spike ave <0.5mm/s
Note on D30: Hanlon, Dave: Position 5 start-up spike ave <0.2mm/s
Note on E30: Hanlon, Dave: Position 8 start-up spike ave<0.5mm/s
Note on F30: Hanlon, Dave: Position 10 single spike ave<0.5mm/s
Note on B32: Hanlon, Dave: Position 1 start-up spike ave<0.4mm/s
Note on C32: Hanlon, Dave: Position 3 shutdown spike ave<0.5mm/s
Note on D32: Hanlon, Dave: Position 5 start-up spike ave<0.254mm/s
Note on E32: Hanlon, Dave: Position 8 shutdown spike ave<0.254mm/s
Note on F32: Hanlon, Dave: Position 10 shutdown spike ave<0.5mm/s
Note on B33: Hanlon, Dave: Position 1 shutdown spike ave<0.2mm/s
Note on C33: Hanlon, Dave: Position 6 shutdown spike ave<0.3mm/s
Note on D33: Hanlon, Dave: Position 5 start-up spike ave<0.2mm/s
Note on E33: Hanlon, Dave: Position 8 shutdown spike ave<0.3mm/s
Note on F33: Hanlon, Dave: Position 10 ave<0.4mm/s
Note on G33: Hanlon, Dave: Position 13 shutdown spike ave<0.5mm/s
Note on B34: Hanlon, Dave: Position 1
Note on C34: Hanlon, Dave: Position 3
Note on D34: Hanlon, Dave: Position 5
Note on E34: Hanlon, Dave: Position 8
Note on F34: Hanlon, Dave: Position 10
Note on G34: Hanlon, Dave: Position 13
Note on B35: Hanlon, Dave: Position 1
Note on C35: Hanlon, Dave: Position 3
Note on D35: Hanlon, Dave: Position 5
Note on E35: Hanlon, Dave: Position 8
Note on F35: Hanlon, Dave: Position 10
Note on G35: Hanlon, Dave: Position 13
Note on B36: Hanlon, Dave: Position 1
Note on C36: Hanlon, Dave: Position 3
Note on D36: Hanlon, Dave: Position 5
Note on E36: Hanlon, Dave: Position 8
Note on F36: Hanlon, Dave: Position 10
Note on G36: Hanlon, Dave: Position 13
Note on B38: Hanlon, Dave: Position 1 shutdown spike ave<0.2mm/s
Note on C38: Hanlon, Dave: Position 3 shutdown spike ave<0.3mm/s
Note on D38: Hanlon, Dave: Position 5 start-up spike ave<0.2mm/s
Note on E38: Hanlon, Dave: Position 8 shutdown spike ave<0.4mm/s
Note on F38: Hanlon, Dave: Position 10 shutdown spike ave<0.4mm/s
Note on G38: Hanlon, Dave: Position 13 shutdown spike ave<0.4mm/s
Note on B39: Hanlon, Dave: Position 5 set-up spike ave<0.3mm/s
Note on C39: Hanlon, Dave: Position 7 shutdown spike ave<0.5mm/s
Note on D39: Hanlon, Dave: Position 8 start-up spike ave<0.3mm/s
Note on E39: Hanlon, Dave: Position 10 shutdown spike ave<0.5mm/s
Note on F39: Hanlon, Dave: Position 10 start-up spike ave<0.3mm/s
Note on G39: Hanlon, Dave: Position 14 singular spike ave<0.4mm/s
Note on B40: Hanlon, Dave: Position 5
Note on C40: Hanlon, Dave: Position 7
Note on D40: Hanlon, Dave: Position 8
Note on E40: Hanlon, Dave: Position 10
Note on F40: Hanlon, Dave: Position 11
Note on G40: Hanlon, Dave: Position 14
Note on B41: Hanlon, Dave: Position 5
Note on C41: Hanlon, Dave: Position 7
Note on D41: Hanlon, Dave: Position 8
Note on E41: Hanlon, Dave: Position 10
Note on F41: Hanlon, Dave: Position 11
Note on G41: Hanlon, Dave: Position 14
Note on B42: Hanlon, Dave: Position 7
Note on C42: Hanlon, Dave: Position 8
Note on D42: Hanlon, Dave: Position 10
Note on E42: Hanlon, Dave: Position 11
Note on F42: Hanlon, Dave: Position 14
Note on B44: Williams J. Greg: Position 5
Note on C44: Hanlon, Dave: Position 7
Note on D44: Hanlon, Dave: Position 10
Note on E44: Hanlon, Dave: Position 11
Note on F44: Hanlon, Dave: Position 10 shutdown spike ave<0.4mm/s
Note on G44: Hanlon, Dave: Position 14
Note on B45: Hanlon, Dave: Position 5
Note on C45: Hanlon, Dave: Position 7
Note on D45: Hanlon, Dave: Position 8
Note on E45: Hanlon, Dave: Position 10
Note on F45: Hanlon, Dave: Position 11
Note on G45: Williams J. Greg: Position 14
Note on B46: Hanlon, Dave: Position 5
Note on C46: Hanlon, Dave: Position 7
Note on D46: Hanlon, Dave: Position 8
Note on E46: Hanlon, Dave: Position 10
Note on F46: Hanlon, Dave: Position 11
Note on G46: Hanlon, Dave: Position 14
Note on B47: Hanlon, Dave: Position 5
Note on C47: Hanlon, Dave: Position 7
Note on D47: Hanlon, Dave: Position 8
Note on E47: Hanlon, Dave: Position 10
Note on F47: Hanlon, Dave: Position 11
Note on G47: Hanlon, Dave: Position 14
Note on B48: Hanlon, Dave: Position 5
Note on C48: Hanlon, Dave: Position 7
Note on D48: Hanlon, Dave: Position 8
Note on E48: Hanlon, Dave: Position 10
Note on F48: Hanlon, Dave: Position 11
Note on G48: Williams J. Greg: Position 14
Note on B50: Williams J. Greg: Position 5 setup/shutdown spike ave<1.6mm/s
Note on C50: Hanlon, Dave: Position 7 setup/shutdown spike ave<1.0mm/s
Note on D50: Hanlon, Dave: Position 8 shutdown spike ave<0.9mm/s
Note on E50: Hanlon, Dave: Position 10 shutdown spike ave<1.0mm/s
Note on F50: Hanlon, Dave: Position 11 shutdown spike ave<1.1mm/s
Note on G50: Hanlon, Dave: Position 14 shutdown spike ave<1.5mm/s
Note on B51: Hanlon, Dave: Position 5
Note on C51: Hanlon, Dave: Position 7 setup/shutdown spike ave<0.6mm/s
Note on D51: Hanlon, Dave: Position 8 setup/shutdown spike ave<1.0mm/s
Note on E51: Hanlon, Dave: Position 10 setup/shutdown spike ave<0.6mm/s
Note on F51: Hanlon, Dave: Position 11 setup/shutdown spike ave<1.3mm/s
Note on G51: Williams J. Greg: Position 14 setup/shutdown spike ave<0.3mm/s
Note on B52: Hanlon, Dave: Position 5 setup/shutdown spike. ave<0.6mm/s
Note on C52: Hanlon, Dave: Position 7. setup/shutdown spike. ave<1.0mm/s
Note on D52: Hanlon, Dave: Position 8 setup/shutdown spike. ave<1.4mm/s
Note on E52: Hanlon, Dave: Position 10 setup/shutdown spike. ave<0.6mm/s
Note on F52: Hanlon, Dave: Position 11
Note on G52: Hanlon, Dave: Position 14 setup/shutdown spike. ave<2.0mm/s
Note on B53: Hanlon, Dave: Position 5 setup/shutdown spike. ave<0.55mm/s
Note on C53: Hanlon, Dave: Position 7 setup/shutdown spike. ave<1.5mm/s
Note on D53: Hanlon, Dave: Position 8 setup/shutdown spike. ave<0.4mm/s
Note on E53: Hanlon, Dave: Position 10 setup/shutdown spike. ave<1.0mm/s
Note on F53: Hanlon, Dave: Position 11 setup/shutdown spike. ave<0.4mm/s
Note on G53: Hanlon, Dave: Position 14 setup/shutdown spike. ave<0.9mm/s
Note on B54: Hanlon, Dave: Position 5 setup/shutdown spike. ave<0.4mm/s
Note on C54: Hanlon, Dave: Position 7 setup/shutdown spike. ave<0.5mm/s
Note on D54: Hanlon, Dave: Position 8 setup/shutdown spike. ave<0.55mm/s
Note on E54: Hanlon, Dave: Position 10 setup/shutdown spike. ave<0.7mm/s
Note on F54: Hanlon, Dave: Position 11 setup/shutdown spike. ave<1.1mm/s
Note on G54: Williams J. Greg: Position 14 setup/shutdown spike. ave<0.5mm/s
Note on B99: Hanlon, Dave: Position 5
Note on C99: Hanlon, Dave: Position 6 setup/shutdown spike. ave<2mm/s
Note on B100: Hanlon, Dave: Position 5
Note on C100: Hanlon, Dave: Position 6
Note on B101: Hanlon, Dave: Position 5
Note on C101: Hanlon, Dave: Position 7
Note on B102: Hanlon, Dave: Position 5
Note on C102: Hanlon, Dave: Position 7
Note on B105: Hanlon, Dave: Position 5
Note on C105: Hanlon, Dave: Position 7 setup/shutdown spike. ave<2mm/s
Note on B106: Hanlon, Dave: Position 5 single spike. Readings avg. <1mm/s
Note on C106: Hanlon, Dave: Position 7 short spikes, readings avg.<1mm/s
Note on B107: Hanlon, Dave: Position 5 issues with unit, unable to obtain data
Note on C107: Hanlon, Dave: Position 7
Note on B108: Hanlon, Dave: Position 7 single spike. Readings avg. <1.5mm/s
Note on C108: Hanlon, Dave: Position 11
Note on B110: Hanlon, Dave: Position 7 single spike. Readings avg. <1.5mm/s
Note on C110: Hanlon, Dave: Position 11