## Newton Street
8-16 Newton Street |  |  | 11/2020 |  |  | NO? - Non-original? | PC - Poor Condition |  |  | .
[6 empty] | GC - Good Condition | NA - No Access
Newton Street Elevation
|  |  | A Thorough survey of the external windows was conducted and the findings are contained within this report which will be submitted to the Local Authority for information. The survey has identified the following repairs required, and categorised as: |  |  | To be read in conjunction with the NBS External works repair schedule and elevation drawings
|  |  | 1 - Broken glazing |  |  | 5 - Damaged or rotten timbers (small section)
|  |  | 2 - Missing glazing / services penetrating glazing |  |  | 6 - Damaged or rotten timbers (large section)
|  |  | 3 - Putty to be replaced |  |  | 7 - Window is extensively damaged and deemed beyond repair
|  |  | 4 - Broken sliding sash mechanism |  |  | 8 - Window has been previously removed and is non-original
WINDOW CONDITION SCHEDULE |  |  | Phase 1
Ref No |  | GLAZING | STONE SIL | TIMBER SIL | FRAME | SASHES | SASH SLIDING MECHANISM | BEADS ( PARTING BEADS ETC ) | SIGNAGE | COMMENTS | REPAIR CATEGORY
1 - | 120 | CURVED GC | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 119 | CURVED GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | GARSTANGS BESPOKE SHIRTMAKERS | SPLIT LINTEL | 4 - 3
| 118 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 117 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 116 | GC - BOTTOM SASH VENT NO? | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2
| 115 | BOTTOM SASH VENT NO? + BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | GARSTANGS BESPOKE SHIRTMAKERS |  | 4 - 3 - 1 - 2 -5
| 114 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 113 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 112 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 111 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
2 - | 220 | CURVED GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3
| 219 | CURVED GC | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3 - 5
| 218 | GC | REPAIR REQUIRED | LIGHT REPAIR | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 217 | GC | REPAIR REQUIRED | LIGHT REPAIR - NO STEEL BRACE? | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 216 | GC | REPAIR REQUIRED | LIGHT REPAIR - NO STEEL BRACE? | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 215 | GC | REPAIR REQUIRED | LIGHT REPAIR - NO STEEL BRACE? | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 214 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 213 | TOP VENT NO? | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2 - 5
| 212 | BOTTOM SASH BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | TOP SASH - LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 211 | TOP SASH MISSING PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2 - 5
3 - | 320 | CURVED TOP SASH BROKEN | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 319 | CURVED GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 318 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 317 | BOTTOM SASH BROKEN PANE | REPAIR REQUIRED | GC - NO CABLES ACROSS SIL | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 316 | GC | REPAIR REQUIRED | GC - NO CABLES ACROSS SIL | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5 - 6
| 315 | GC | REPAIR REQUIRED | GC - NO CABLES ACROSS SIL | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 314 | GC | REPAIR REQUIRED | GC - NO CABLES ACROSS SIL | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | YOUNG IMAGE |  | 4 - 3
| 313 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | YOUNG IMAGE |  | 4 - 3
| 312 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 311 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
4 - | 405 | PC | n/a | PC | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6
| 404 | PC - MISSING LOWER PANES | n/a | MISSING? | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6
| 403 | BOARDED ACROSS TOP PANES | n/a | MISSING? | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6
| 402 | NA - BOARDED EXTERNALLY - NO GLAZING | n/a | PC | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6
| 401 | NA - BOARDED EXTERNALLY - NO GLAZING | n/a | PC | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6

## Dale Street
8-16 Newton Street |  |  | 11/2020 |  |  | NO? - Non-original? | PC - Poor Condition |  |  | .
[6 empty] | GC - Good Condition | NA - No Access
Dale Street Elevation
|  |  | A Thorough survey of the external windows was conducted and the findings are contained within this report which will be submitted to the Local Authority for information. The survey has identified the following repairs required, and categorised as: |  |  | To be read in conjunction with the NBS External works repair schedule and elevation drawings
|  |  | 1 - Broken glazing |  |  | 5 - Damaged or rotten timbers (small section)
|  |  | 2 - Missing glazing / services penetrating glazing |  |  | 6 - Damaged or rotten timbers (large section)
|  |  | 3 - Putty to be replaced |  |  | 7 - Window is extensively damaged and deemed beyond repair
|  |  | 4 - Broken sliding sash mechanism |  |  | 8 - Window has been previously removed and is non-original
WINDOW CONDITION SCHEDULE |  |  | Phase 1
Ref No |  | GLAZING | STONE SIL | TIMBER SIL | FRAME | SASHES | SASH SLIDING MECHANISM | BEADS ( PARTING BEADS ETC ) | SIGNAGE | COMMENTS | REPAIR CATEGORY
1 - | 132 | TOP + BOTTOM SASHES SPLIT - OPENERS NO? | REPAIR REQUIRED | GC | LIGHT REPAIR | NO - RETURN TO SASHES? | NEW PULLEY, CORD, WEIGHT | NO? - REPLACEMENT | ¦ |  | 4 - 3
| 131 | GC | REPAIR REQUIRED | LIGHT REPAIR | GC | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 130 | TOP + BOTTOM SASH BROKEN PANES | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | BESPOKE TAILORS' ' SHORT MAKERS' |  | 4 - 3 - 1 - 5
| 129 | BOTTOM SASH BROKEN PANE | SIL SPLIT | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 128 | BOTTOM SASH BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | BESPOKE TAILORS' ' SHORT MAKERS' |  | 4 - 3 - 1
| 127 | BOTTOM SASH MISSING | REPAIR REQUIRED | GC | MODERATE REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2 - 5
| 126 | SASHES REMOVED - 4 PANE FIXED NO? | REPAIR REQUIRED | GC | GC | NO - RETURN TO SASHES? | NEW PULLEY, CORD, WEIGHT | NO? - REPLACEMENT | ¦ |  | 4 - 3
| 125 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | JOSHUA ARKWRIGHT' 'PURVEYOUR OF SHODDY' 'DEALER IN WASTE PRODUCTS' |  | 4 - 3
| 124 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 123 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3
| 122 | CURVED GC | GC | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 121 | CURVED GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
2 - | 232 | TOP SASH SPLIT FOR VENT - NO? | REPAIR REQUIRED | GC | LIGHT REPAIR | NO - SPLIT FOR VENT | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2 - 5
| 231 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 230 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 229 | GC | REPAIR REQUIRED | MISSING INTERNAL SIL | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 228 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 227 | BOTTOM SASH BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 226 | GC | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 225 | TOP SASH BROKEN PANE | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 224 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 223 | BOTTOM SASH BROKEN PANE | REPAIR REQUIRED | GC - NO CABLES ACROSS SIL | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 222 | CURVED GC | REPAIR REQUIRED | GC - NO CABLES ACROSS SIL | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 221 | CURVED GC | GC | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 -3
3 - | 332 | BOTTOM PANE OBSCURED, TOP SASH SPLIT NO? | GC | GC | GC | NO - TOP SPLIT SASH | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3
| 331 | GC | GC | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 330 | BOTTOM PANE BROKEN | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 329 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 328 | TOP BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 327 | TOP BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 326 | GC | REPAIR REQUIRED | LIGHT REPAIR | LIGHT REPAIR | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 325 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3
| 324 | GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3
| 323 | TOP + BOTTOM BROKEN PANE | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3 - 1 - 5
| 322 | CURVED BOTTOM BROKEN PANE | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1
| 321 | CURVED GC | REPAIR REQUIRED | GC | GC | GC | NEW PULLEY, CORD, WEIGHT | GC | ¦ |  | 4 - 3
4 - | 408 | CENTRE TOP + BOTTOM PANES MISSING | n/a | MISSING SIL? | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6
| 407 | MISSING PANES - REPLACEMENT | n/a | MISSING SIL? | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6
| 406 | CENTRE PANE MISSING - TOP PANES MISSING | n/a | MISSING SIL? | MODERATE REPAIR | PC - FIXED - REPLACEMENT | n/a | REPLACEMENT | ¦ | HEAVILY WATER DAMAGED | 3 - 2 - 5 - 6

## Mangle Street
8-16 Newton Street |  |  | 11/2020 |  |  | NO? - Non-original? | PC - Poor Condition |  |  | .
[6 empty] | GC - Good Condition | NA - No Access
Mangle Street Elevation
|  |  | A Thorough survey of the external windows was conducted and the findings are contained within this report which will be submitted to the Local Authority for information. The survey has identified the following repairs required, and categorised as: |  |  | To be read in conjunction with the NBS External works repair schedule and elevation drawings
|  |  | 1 - Broken glazing |  |  | 5 - Damaged or rotten timbers (small section)
|  |  | 2 - Missing glazing / services penetrating glazing |  |  | 6 - Damaged or rotten timbers (large section)
|  |  | 3 - Putty to be replaced |  |  | 7 - Window is extensively damaged and deemed beyond repair
|  |  | 4 - Broken sliding sash mechanism |  |  | 8 - Window has been previously removed and is non-original
WINDOW CONDITION SCHEDULE |  |  | Phase 1
Ref No |  | GLAZING | STONE SIL | TIMBER SIL | FRAME | SASHES | SASH SLIDING MECHANISM | BEADS ( PARTING BEADS ETC ) | SIGNAGE | COMMENTS | REPAIR CATEGORY
1 - | 140 | NO? TOP OPENER - BOTTOM OBSCURED | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 139 | TOP LEFT BROKEN PANE | REPAIR REQUIRED | LIGHT REPAIR | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 138 | GC | GC | GC | MODERATE REPAIR | TOP SASH PC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 137 | BOTTOM SASH SPLIT NO? T+B OBSCURED | GC | GC | MODERATE REPAIR | TOP SASH PC | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 136 | BOTTOM LEFT BROKEN PANE | GC | LIGHT REPAIR | LIGHT REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2 - 5
| 135 | OBSCURED GLAZING T+B - NO? | REPAIR REQUIRED | GC | LIGHT REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 134 | OBSCURED BOTTOM GLAZING & LOUVRE - NO? | GC | GC | LIGHT REPAIR | FIXED NO? | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ | TIMBER LINTEL | 3 - 5
| 133 | BOTTOM PANE BROKEN | REPAIR REQUIRED | LIGHT REPAIR | MODERATE REPAIR | NO OPENER | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 3 - 1 - 5
2 - | 240 | TOP PANE MISSING | GC | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 2
| 239 | BOTTOM BROKEN PANE | GC | LIGHT REPAIR | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 238 | BOTTOM BROKEN PANE | GC | LIGHT REPAIR | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 237 | GC - OBSCURED PANE | GC | GC | MODERATE REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 236 | GC - OBSCURED PANE | GC | LIGHT REPAIR | EXTENSIVE REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 4 - 3 - 5 - 6
| 235 | GC | GC | LIGHT REPAIR | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 234 | TOP + BOTTOM BROKEN PANES | REPAIR REQUIRED | GC | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 1 - 5
| 233 | TOP LOUVRE - BOTTOM OBSCURED | n/a | LIGHT REPAIR | MODERATE REPAIR | FIXED | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 3 - 5 - 6
3 - | 340 | GC | GC | LIGHT REPAIR | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 339 | GC | GC | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 338 | BOTTOM BROKEN PANE | GC | MODERATE REPAIR | MODERATE REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 4 - 3 - 1 - 5
| 337 | GC | GC | MODERATE REPAIR | MODERATE REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 4 - 3 - 5
| 336 | GC - BOTTOM RHS OBSCURED | GC | MODERATE REPAIR | MODERATE REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 4 - 3 - 5
| 335 | GC - TOP RHS MISSING | GC | MODERATE REPAIR | MODERATE REPAIR | MODERATE REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 4 - 3 - 2 - 5
| 334 | GC - OBSCURED | REPAIR REQUIRED | GC | LIGHT REPAIR | LIGHT REPAIR | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 4 - 3 - 5
| 333 | BOTTOM OBSCURED - TOP LOUVRE - NO? | GC | LIGHT REPAIR | LIGHT REPAIR | FIXED | NEW PULLEY, CORD, WEIGHT | MINOR REPAIR / REPLACEMENT | ¦ |  | 3 - 5
4 - | 415 | MISSING PANES | n/a | MISSING? | EXTENSIVE REPAIR | n/a | n/a | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 2 - 5 - 6
| 414 | MISSING PANES | n/a | MISSING? | EXTENSIVE REPAIR | n/a | n/a | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 2 - 5 - 6
| 413 | OBSCURED PANE NO? TOP LOUVRE | n/a | MODERATE REPAIR | MODERATE REPAIR | n/a | n/a | MINOR REPAIR / REPLACEMENT | ¦ | WATER DAMAGED | 2 - 5 - 6
| 411 | LOUVRE | GC | n/a | LIGHT REPAIR | n/a | n/a | MINOR REPAIR / REPLACEMENT | ¦ |  | ¦