CDN 25 0727 68-70 Oldham Street M4 1LF Manchester

CONTEXT:

This is in regard to the discharge of condition 5 (CMP) pursuant to planning permission 134953/FO/2022 as amended by 143316/NMC/2025.

Further to the previous Highways request for clarification on three matters.  The matters were:

- Compound locations where relevant;

- Routing strategy and swept path analysis;

- Parking of construction vehicles and staff;

Further information was presented that allowed for a better understanding of the proposed development of the site.

Items 1 & 3 are concluded satisfactorily.  For item 2 the applicant has submitted a route that they expect to use.  This route is however currently subject to a temporary closure that will be in place until 2027. If the intention is to commence works after 2027 then the route offered can be used.  However starting onsite before that date will require the applicant to consider and present an alternative route.

Highways require that a suitable alternative route is presented that encompasses the closure in place.  Unless the applicant states that no works will commence until the temporary road closure on Spear Street is removed.

Highways cannot recommend the discharge of Condition 5 until the above matter is answered.