Ohme Home Pro EV Charger

Power output/max current: 7.4kW/32A

Nominal supply: 230V AC, 50 HZ

170mm(H) x 200mm (W) x 100mm (D)

4kg