## Sheet1
WATERHOUSE GARDENS
PROJECT REF: P1981
DATE: 13/03/2025
SCHEDULE OF EXTERNAL PLANT
REF | DESCRIPTION | LOCATION
GROUND FLOOR
ASHP 1-4 | 4 No Air Source heat pump to serve Block C, basment swimming pool | Block C extenal podium
VRF 1-3 | 3 No VRF Air Conditioning Units to heat/ cool gym, amenity areas in ground floor block C and D | Ground Floor Block D
BLOCK A ROOF
PV/A/01 | Roof mounted PV Panels to serve Block A for Part L and MCC Energy Complaince | Roof Block A
SF/A/01-02 | Block A smoke Clearance fans | Roof Block A
BLOCK B ROOF
PV/B/01 | Roof mounted PV Panels to serve Block B for Part L and MCC Energy Complaince | Roof Block B
SF/B/01-02 | Block B smoke Clearance fans | Roof Block B
BLOCK C ROOF
PV/C/01 | Roof mounted PV Panels to serve Block C for Part L and MCC Energy Complaince | Roof Block C
SF/C/01-02 | Block C Smoke Clearance fans | Roof Block C
BLOCK D ROOF
PV/A/01 | Roof mounted PV Panels to serve Block D for Part L and MCC Energy Complaince | Roof Block D
SF/A/01 | Block D Smoke Clearance fans | Roof Block D
BLOCK E ROOF
PV/A/01 | Roof mounted PV Panels to serve Block E for Part L and MCC Energy Complaince | Roof Block E
SF/A/01 | Block E Smoke Clearance fans | Roof Block E
BLOCK F
No external plant