CDN/23/0178

Discharge of listed building condition 5 (a) (intrusive investigations) and (c) (strip out works) attached to listed building consent 127882/LO/2020 as amended by 136966/JO/2023

LLFA Comments 19 September 2023

The following information has been considered:

- The below email containing RBM-WHL-XX-XX-FN-S-0052_P01 - River Tib.pdf

From: Angela Leckie <angela.leckie@manchester.gov.uk> 
Sent: Tuesday, July 25, 2023 11:46 AM
To: Laura Peacock <laura.peacock@manchester.gov.uk>
Subject: Urgent for this week please : Rylands - CDN/23/0193 & CDN/23/0178

- Upload to CDN/23/0193 06 Sep 2023: “TEMPORARY WORKS GROUND CONDITIONS”

We have no further comment and recommend that Conditions 5a) and 5d) could be discharged.

Please can the following be uploaded to CDN/23/0178 for future reference:

RBM-WHL-XX-XX-FN-S-0052_P01 - River Tib.pdf – received by email 25 July (above ref)

“TEMPORARY WORKS GROUND CONDITIONS” – currently uploaded to CDN/23/0193 06 Sep 2023

We recommend the following Informative is included in the Decision Notice:

Informative:

MCC records highlight that the underground River Tib is located within close proximity to the site. The applicant submitted investigations, which conclude the asset is offsite and has been considered in the construction management. We would request that the applicant informs the onsite contractor to remain observant and to take the appropriate safety precautions during works. If any major unknown drainage assets are found beneath the site, then further investigation works should take place to identify the asset and MCC should be contacted immediately.