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	Q17
	HANDOVER CERTIFICATE


	CONTRACT
	CITY LABS 
	NO.
	239

	TO
	Cain Williams
	
	GMI

	FROM
	Ryan Atherton
	DATE
	23.03.24


	THE FOLLOWING SECTION OF WORK HAS BEEN COMPLETED IN ACCORDANCE WITH ALL RELEVANT DRAWINGS AND SPECIFICATIONS AND IS BEING OFFERED FOR HANDOVER

	DESCRIPTION OF WORK
	Handover of gridlines 5-9

	
	Drainage installation – As-built issued

	
	Service pit installation – As-built issued

	
	Insulation installation – QA Issued

	
	Mesh installation – QA Issued

	
	Services installed – As-built issued

	LOCATION OF WORK
	

	
	Grid lines 5-9/ A-E

	
	

	
	

	THE WORK AREA HAS BEEN LEFT IN A SAFE CONDITION
	(

	THE WORKS OFFERED ARE ACCEPTED
	(

	THE WORKS OFFERED ARE ACCEPTED SUBJECT TO THE SNAGGING ITEMS
	

	THE WORKS OFFERED ARE NOT ACCEPTED FOR THE REASONS LISTED
	

	COMMENTS / SNAGGING

	Fitting of all lids and gullies required

	Upstand installation where GMI instructed to leave out for access

	

	

	


	INSPECTED BY NAME
	SIGNED
	DATE

	
	
	

	FOR AND ON BEHALF OF ADANA CONSTRUCTION


	INSPECTED BY NAME
	SIGNED
	DATE

	
	
	

	FOR AND ON BEHALF OF
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