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In summary the following measures are incorporated:

6no. 400 Watt PV Panels per house.
36kW high efficiency gas combi boiler with time and zone temperature control
Decentralised Mechanical Extract Ventilation (dMEV)
Smart Meters
Waste water heat recovery
LED Lighting 

High levels of airtightness to achieve no more than 4m3 at 50pa
High levels of insulation with fabric U-Values of 0.12W/m2K on the floor, 0.17W/m2K on the walls, 0.11W/m2K on the roof and 1.3W/m2K on doors and windows

The SAP rating is 93 and band A

The Dwelling Emission Rate is between 8.86 and 8.9 this is lower than Building Regulations New Build Home Target Emission Rate which is 9.46-9.51

