## Sheet1
Pitsford Road NDSS
| Tailor |  | Tenterer |  | Scriviner |  | Salter |  | Cartwright |  | Mason |  | Lymner
| Proposed | Compliance | Proposed | Compliance | Proposed | Compliance | Proposed | Compliance | Proposed | Compliance | Proposed | Compliance | Proposed | Compliance
Total floor area | 87 | 87 (3B4P) | 91.8 | 87 (3B4P) | 112.7 | 100(4b5p) | 71 | 70 (2B3P) | 116 | 106 (4B5P) | 98 | 87 (3b4p) | 91.5 | 87 (3b4p)
Percentage above compliance | 100% |  | 105.5% |  | 112.7% |  | 102% |  | 110% |  | 113% |  | 105%
Built in robes min double | 1.59 | 0.72 | 1.08 | 0.72 | 0.72 | 0.72 | 1.949 | 0.72 | 1.95 | 0.72 | 0.78 | 0.72 | 0.84 | 0.72
Built in robes min single | 0.78 | 0.36 | 1.98 | 0.36 | 2.82 | 0.36 | 0.84 | 0.36 | 1.32 | 0.36 | 1.2 | 0.36 | 2.1 | 0.36
Bedroom 1
Area | 13.5 | 11.5 | 11.5 | 11.5 | 12.8 | 11.5 | 13.2 | 11.5 | 15.1 | 11.5 | 11.85 | 11.5 | 11.5 | 11.5
Width | 3.604 | 2.75 | 2.794 | 2.75 | 2.947 | 2.75 | 3.249 | 2.75 | 3.059 | 2.75 | 3.206 | 2.75 | 2.794 | 2.75
Built in Robes | 2 |  | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Bedroom 2
Area | 7.5 | 7.5 | 9.5 | 7.5 | 9.6 | 7.5 | 11.5 | 7.5 | 7.9 | 7.5 | 10.6 | 7.5 | 8.7 | 7.5
Width | 2.548 | 2.15 | 2.817 | 2.15 | 2.799 | 2.15 | 3.025 | 2.15 | 2.339 | 2.15 | 3.318 | 2.15 | 3.099 | 2.15
Built in Robes | 1 |  | 1 |  | 1 |  | 1 |  | 0 |  | 1 |  | 1
Bedroom 3
Area | 5.44 | 7.5 | 8 | 7.5 | 7.5 | 7.5 |  | 7.5 | 13.1 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5
Width | 2.17 | 2.15 | 3.05 | 2.15 | 2.347 | 2.15 |  | 2.15 | 2.287 | 2.15 | 2.761 | 2.15 | 2.513 | 2.15
Built in Robes | 0 |  | 1 |  | 1 |  |  |  | 1 |  | 1 |  | 1
Bedroom 4
Area |  |  |  |  | 7.7 | 7.5 |  | 7.5 | 7.5 | 7.5
Width |  |  |  |  | 3.1 | 2.15 |  | 2.15 | 2.39 | 2.15
Built in Robes |  |  |  |  | 1 |  |  |  | 0
Bedroom 5
Area
Width
Built in Robes
built In storage | 2.5 | 2.5 | 2.5 | 2.5 | 3.5 | 3 | 3.6 | 2 | 4.8 | 3 | 2.5 | 2.5 | 2.5 | 2.5
wardrobe storage | 3 |  | 3 |  | 4 |  | 2 |  | 2 |  | 3 |  | 3
75% of ceiling height 2.3 or greater |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes
Total Bedroom Space | 26.44 | 26.5 | 29 | 26.5 | 37.6 | 34 | 24.7 | 19 | 43.6 | 34 | 29.95 | 26.5 | 27.7 | 26.5
Total Bedroom Space against Guidance | 99.6% |  | 109.5% |  | 111% |  | 130% |  | 128% |  | 114% |  | 104%