Risk Assessment

| Contract Name |  | Xaverian College |  | Contract Number |  |  | S1880 |  |  |  |  |  |  |  | Likelihood; Severity. 1; Low; 2; Slight; 3; Moderate; 4; Major; 5; Fatality. 1; Remote; 1; 2; 3; 4; 5. 2; Unlikely; 2; 4; 6; 8; 10. 3; Possible; 3; 6; 9; 12; 15. 4; Likely; 4; 8; 12; 16; 20. 5; Certain; 5; 10; 15; 20; 25. Acceptable risk. No further action or control measures required. Monitor existing controls.. Risks need to be reviewed and further actions or controls required to reduce them.. Suspend activity immediately. Risks are not adequately controlled urgent action required.. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Assessed by |  | Steve Johnson |  | Date issued |  |  | 07-02-2024 |  |  |  |  | Rev. no. |  | A |  |  |  |  |  |  |
| Type of Work |  | Site Fire Risk Assessment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location of Work |  | Sunbury Building and Site Office |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| N. | Hazard |  | H&S Risks |  | People at Risk Employee = E Contractor = C Visitor = V Public = P |  |  | Risk Before Controls |  |  |  |  | Control measures |  |  | Residual Risk |  |  |  |  |
|  |  |  |  |  |  |  |  | S | L | R |  |  |  |  |  | S |  | L | R |  |
| 1 | Heating and Cooking in the welfare area |  | Electrical appliances, Burns / damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 3 | 3 |  | 9 |  | Electrical appliances to be PAT tested every 12 months and visually inspected before use. No cookers or other naked flame / hot plate type appliances to be used. Heaters to be switched off if not required and at the end of the working day. Use heating and cooking appliances to be used in accordance with manufacturer’s guidelines. Materials / items are not to be stacked in front of or on top heaters. |  |  |  | 3 | 1 | 3 |  |
| 2 | Smoking Areas |  | Rubbish or build-up of other combustible materials in the smoking areas. Flammable gases Paints or flammable substances Unsuitable disposal of smoking materials. Burns / Damage to property |  |  | Site personnel & staff, site visitors, clients. |  | 3 | 3 |  | 9 |  | No smoking anywhere on site except in the designated smoking area. Smoking area to be kept clear of all rubbish or other potential combustible materials. No storage of flammable substances anywhere near the smoking area. Suitable fire extinguisher to be situated near the smoking area. All smoking materials to be disposed of appropriately in smoking bin provided. Skips to be located away from smoking area |  |  |  | 3 | 1 | 3 |  |
| 3 | Temporary Emergency Lighting |  | Build-up of rubbish near the lights. Storage of materials or flammable substances near the lights. Unsuitable, inappropriate or unserviceable lighting. Flammable atmosphere Incorrect voltage used Incorrect use of lights Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 3 | 3 |  | 9 |  | Lights to be fit for purpose, in good condition and free from any defects. Lights to be regularly inspected for serviceability and suitability. Specific Risk assessments required for suitability of lights before installation. Lights to be suitably tested in line with current legislation. Lights to be properly fitted so that the cables do not become trip hazards or there is potential for them to be accidently damaged or severed. If sub-contractors are to provide “task lighting” suitable control measures must be included in the contractors own RAMS. Suitable and sufficient fire points to be provided near the lights. Lighting to be used in accordance with manufacturers guidelines. 110v lighting to be used. Only qualified and competent persons to install temporary emergency lighting |  |  |  | 3 | 1 | 3 |  |
| 4 | Hot Works |  | Steel Cutting Grinding Lack of means to extinguish fire Burns / Damage to property |  |  | Site personnel & staff, site visitors, clients. |  | 3 | 3 |  | 9 |  | Where possible reduce or eliminate need for hot works by using push fit fixings or similar. Where unavoidable- All hot works are to be controlled using a specific Permit to work. The risks associated with Hot works is to be assessed by individual contractor RAMS and control measures implemented A suitable fire extinguisher must be provided near all hot works. The area where any hot works is to be undertaken is to be assessed to ensure that; - It is clear of debris and other combustible materials - There is safe access and egress - There is adequate ventilation - There are adequate access and egress points - There is a suitable fire point close by. All hot works equipment to be used in accordance with manufacturers guidelines. A signed Hot works permit is to be obtained from the appointed person. Ensure the Hot works area is checked 1hour after the work has been completed to check for unintended ignition. |  |  |  | 3 | 1 | 3 |  |
| 5 | Security Measures / Prevention of Arson |  | Children or others getting onto site / into buildings and starting fires with either malicious intent or by accident Flammable materials or substances not being suitably stored. Combustible waste materials placed too close to security fence/boundary. Combustible building materials stacked too close to security fence/boundary Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 3 |  | 12 |  | All flammable substances to be stored safely in compliance with product data sheet / COSHH assessment requirements. Ensure Good housekeeping. Adequate site security – including secure fencing and the need to lock/secure buildings and stores when the site is closed. Waste skips containing combustible materials are not to be placed within 3m proximity to security fence Combustible building materials are not to be stored within close to the security fence |  |  |  | 4 | 1 | 4 |  |
| 6 | Temporary Electricity Maintenance |  | Temporary Electrics to site accommodation Burns / Damage to property |  |  | Site personnel & staff, site visitors, clients. |  | 3 | 2 |  | 6 |  | Temporary electrics to be installed by a competent electrician in line with statutory requirements. Temporary electrics to be inspected and appropriate documentation issued as required in line with statutory requirements. All extension leads and junction boxes to be PAT tested in date (every 12 months). All temporary distribution boxes to be kept locked. Ensure all new services are shown on the service drawings. Maintenance to temporary services may only be undertaken by trained, competent and authorised personnel |  |  |  | 3 | 1 | 3 |  |
| 7 | Plant / equipment |  | Fires caused by faulty plant or machinery. Refuelling of plant and equipment Not using the correct plant for the task Burns / Damage to property |  |  | Site personnel & staff, |  | 3 | 2 |  | 3 |  | All plant and equipment is to be fit for purpose, in good condition and free from patent defect. Plant and equipment is only to be operated by suitably trained, authorised and competent personnel. Plant and equipment is to be inspected at regular intervals in compliance with statutory requirements. Plant and equipment shall be controlled as necessary by permits to work. Re-fuelling of plant and equipment will only take place in designated areas. Firefighting equipment and appropriate spill kit including drip tray to be in close proximity to the refuelling point. Refuelling to take place in accordance with manufacturer’s instructions. Ensure only the correct / appropriate piece of plant / equipment is used for the task. |  |  |  | 3 | 1 | 3 |  |
| 8 | Flammable Liquids and LPG |  | Diesel for plant Petrol for generators, sthil saws, pumps and other hand-held plant Gas bottles Paints Oils Explosion / Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 2 |  | 8 |  | Fuel to be stored in safe containers that are suitably signed Sub contractors to undertake their own RA’s. Gas bottles to be stored in a bespoke gas cage that is in a suitable location stored away from buildings or other flammable materials or potential ignition sources – that are signed in compliance with statutory duty. Other substances to be stored in a suitable container that is properly signed and ventilated. Any combustible substance spills are to be cleaned up immediately and disposed of appropriately. Diesel for plant is to be stored in double bunded containers and kept locked when not in use. Ensure all COSHH items are stored in accordance with manufacturer’s instructions |  |  |  | 4 | 1 | 4 |  |
| 9 | Combustible Materials Storage |  | Timber Polystyrene Poor storage of combustible materials Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 3 |  | 12 |  | Where possible timber is to be stored in suitable storage racks Only amounts needed to be distributed around sites are to be kept on site. Combustible materials to be stored in accordance with manufacturer’s instructions / COSHH sheets. |  |  |  | 4 | 1 | 4 |  |
| 10 | Waste Material Management |  | Rubbish in Skips General rubbish Old pallets Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 2 |  | 16 |  | Pallets are to be stored in a safe location away from ignition sources and removed from site as soon as reasonably practicable. Skips are to be segregated and stored 3m away from buildings. Skips are to be regularly inspected to ensure that they are not over filled Site housekeeping is to be maintained to a high standard Waste skips are not to be stored close to site boundary (if this is not possible covered, lockable skips must be used). Good housekeeping, Site to be free from combustible rubbish / litter. |  |  |  | 4 | 1 | 4 |  |
| 11 | Temporary Buildings / Accommodation (include location, fire protection, construction and maintenance) |  | Site Cabins – welfare and office Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 4 |  | 16 |  | All site cabins are to be in good condition, fit for purpose and free from patent defect. All site cabins should have working smoke detectors/alarms which should be checked on a weekly basis and recorded. Site cabins are to be kept clean and free from build-up of rubbish. Materials or plant are not to be stored in site cabins. Electrical connections to site cabins must be undertaken by a suitably qualified electrician and relevant documentation issued. Fire points are to be available in / next to site cabins. Any electrical equipment in a site cabin must be PAT tested every 12 months. Site cabins should be inspected as part of the weekly workplace inspection regime. All equipment should be switched off at the end of the working day |  |  |  | 4 | 1 | 4 |  |
| 12 | Fire Escape Routes |  | Exits from site cabin, site office and site blocked Insufficient escape routes Becoming trapped Burns |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 4 |  | 16 |  | Ensure that exits and pedestrian walkways are kept clear at all times. Fire exits from buildings are not to be blocked during working hours. Ensure maximum fire travel distances are adhered to. Fire exits and fire escape routes are to be clearly marked via the shortest distance. Where applicable a minimum of 2 x emergency escape routes will be provided from scaffold and buildings. Minimum with of fire routes 750mm (or 900mm for wheelchair users) |  |  |  | 4 | 1 | 4 |  |
| 13 | Preventing / reducing Fire & Smoke Spread |  | Insufficient means of stopping the spread of smoke and fire Fire doors left open Ineffective fire alarms Ineffective fire extinguishers Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 4 |  | 16 |  | Ensure fitting of fire doors including frames have a fire rating for a minimum of 30minutes. Ensure all fire doors are fitted with a self-closing device. Ensure fire doors are not wedged open. Ensure fire doors are inspected for correct operation on a weekly basis and recorded. During construction an appropriate method of raising the alarm must be in place: - Air horn in open Low risk structures, Interconnected Wifi for High Risk projects. Check fire extinguishers are in the correct positions and are fully charged weekly, and serviced every 12 months. Fire point to be placed near places of work. Instruction on the actions to take in the event of fire is to be briefed to all site personnel during induction. |  |  |  | 4 | 1 | 4 |  |
| 14 | Fire Extinguishers & Fire Points |  | Fire in site cabins or newly built buildings Out of date/Inoperable firefighting equipment Incorrect equipment at fire points. Burns / Damage to property |  |  | Site personnel & staff, site visitors, clients |  | 4 | 3 |  | 12 |  | Fire points to be available in appropriate positions around the site including in the site cabins and compound. All fire extinguishers to be serviced annually and inspected weekly. Fire points to be inspected formally at least once every seven days and recorded. On larger sites, fire alarm system should be interlinked Each fire point must contain:- 2 x fire extinguishers (appropriate for the likely type of fire). 1 x Fire Action Notice. 1 x Fire Escape route map. 1 x Fire point notice. A means of raising the alarm |  |  |  | 4 | 1 | 4 |  |
| 15 | Training / Instruction / Communication |  | Unclear / unreadable fire signage Operative unsure of correct procedure Poor evacuation times, Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 3 |  | 12 |  | All Site staff to have specific fire marshal training. All operatives are to be given instruction during induction on appropriate procedures in the event of a fire. All fire signage to be kept legible and checked every 7 days. Fire drills to take place every month or when there is a major change to the build e.g. when structure is enclosed / escape routes changed / work force numbers increase significantly etc. Fire drill to be recorded including the number of participants and the evacuation time site to achieve (3 to 5 minutes on small projects and 6 to 9 minutes on large projects). Fire plans are to include positions of fire hydrants etc for use by the emergency services. |  |  |  | 4 | 1 | 4 |  |
| 16 | Plans, Liaison with Emergency Services & Access for Emergency Vehicles |  | Emergency vehicles being unable to locate or gain access to site Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 4 |  | 16 |  | Site Emergency notice to be displayed on the site notice board. Emergency procedures to be discussed at site induction. Fire drills to be undertaken every month or as the project progresses and the risk increases. Site access to be kept clear at all times. On calling out the Fire service – an operative is to be located at the site entrance to direct them to the exact location of the incident Fire hydrants to be clearly marked and accessible |  |  |  | 4 | 1 | 4 |  |
| 17 | Monitoring – Tests & Drills |  | Uncharged fire extinguishers Operative unaware of correct action to take in the event of a fire drill Fire / Smoke alarms not working Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 4 |  | 16 |  | All fire extinguishers to be serviced every 12 months. During induction all operatives are to be given instruction on appropriate procedures in the event of a fire All fire signage and fire points including extinguishers to be inspected every 7 days. Fire drills to take place every month or when there is a major change to the build e.g. when structure is enclosed / escape routes changed / work force numbers increase significantly etc. Fire drill to be recorded including the number of participants and the evacuation time. Fire controls to be included in the monthly Pro Evaluate inspection |  |  |  | 4 | 1 | 4 |  |
| 18 | Fire Spread by radiant heat on site |  | Fire spreading from building to building/ floor to floor Burns / Damage to property |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. |  | 4 | 4 |  | 16 |  | Reducing the risk of the spread of fire by radiant heat is incorporated within the building design and fire-retardant materials used. Only flame-retardant sheeting / debris netting to be used on scaffolding. Elements of work required for fire protection will be built into the design programme at an early stage. Where necessary temporary fire doors with a minimum rating of 30 minutes will be used during construction to reduce the spread of fire floor to floor. Temporary buildings will be sited a minimum of 6 meters from adjacent properties 20m if Timber Frame (or fire rated for a minimum of 30 minutes and comply with the requirements of BS 476). |  |  |  | 4 | 1 | 4 |  |
| 19 | Fire Spread by radiant heat to adjacent properties |  | Fire spreading from building to building/ floor to floor Fire spread from temporary buildings |  |  | Site personnel & staff, site visitors, trespassers unauthorised persons, clients. Local residents |  | 4 | 4 |  | 16 |  | Reducing the risk of the spread of fire by radiant heat is incorporated within the building design and fire-retardant materials used. Only flame-retardant sheeting / debris netting to be used on scaffolding. Elements of work required for fire protection will be built into the design programme at an early stage, where necessary temporary fire doors will be used during construction. Temporary buildings will be sited a minimum of 6 meters from adjacent properties (or fire rated for a minimum of 30 minutes and comply with the requirements of BS 476). |  |  |  | 4 | 1 | 4 |  |
| If for any reason this risk assessment doesn’t cover any part of your work, then you must inform your manager immediately so this can be added and a safe system put in place. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

The results of the risk assessment should be communicated to the operatives prior to the start of work. Evidence of this briefing should be gathered using the Record of Instruction form (SAF-FOR-135) or below.

| RISK ASSESSMENT BRIEFING REGISTER |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| As an employee I have been made aware of the Risk Assessment and have been provided with adequate opportunity and time to review the content, present any questions to the manager and have received adequate answers that I understand. Therefore I understand and will agree to adhere to the contents of this Risk Assessment:- |  |  |  |  |  |  |
| Name (Print) |  | Trade / Company |  |  | Signature | Date |