Draft Scaffolding Method Statement Addendum

6th June 2024

This is a draft note setting out the site constraints and best-practice methodology, which the scaffold contractor will use to update their drawings and Construction Phase Plan (CPP) in order to discharge the relevant condition at the Rutherford building.

Fixings and mortar mixes

On-site preliminary pull tests have indicated the suitability of using 8mm fixings into mortar joints for the scaffold at Rutherford building. We can confirm that this is how the scaffold will be fixed to the building for the duration of the works.

The scaffold would be raised and fixings made as it goes up. On striking the scaffold, the mortar holes, and any identified damage to the brickwork stonework or detailing, would be made good on a like-for-like basis as each level is taken down. We expect the mortar mix can be agreed by condition with MCC prior to use.

Safeguards to stonework and detailing

Any decorative stonework or detailing should be protected as part of the works, using the following methods:

- Inclusion of an internal hand and mid rail to the internal standard as scaffold is erected with access gates on each scaffold lift controlled by permit. This is shown on scaffold drawings. This would allow us to control the works and protect the faced as the scaffold was erected.

- End caps and timber sole plates to scaffold poles if they rest on any external surface

Prelim tests

Preliminary pull tests were carried out on 7th December 2023 at the Rutherford building and 8mm fixings into mortar joints were found to be acceptable, rather than the earlier proposal for 12mm fixings:

| Test No. | Anchor Location | Drill Diameter (mm) | Depth (mm) | Required Load (kn) | Applied Load (kn) | Pass/Fail | Type Of Fixing Used |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Front Elevation | 8mm | 75mm | N/A | 10kN | N/A | Hex Bolt |
| 2 | Front Elevation | 8mm | 75mm | N/A | 10kN | N/A | Hex Bolt |
| Preliminary test only. 2 no. tests requested only at this time to determine suitability of 8mm tie diameter. |  |  |  |  |  |  |  |
| Base Material: (Concrete, Brickwork etc.) |  |  | Mortar joints |  |  |  |  |
| Report Prepared By: |  | Lee Watson IBN Scaffold Access Limited |  |  |  | Date: | 07/12/2023 |
| Position: |  | Contracts Manager Office 1.16 Hollinwood Business Centre Albert Street Hollinwood Oldham OL8 3QL |  |  |  |  |  |

Prior to testing

8mm Hex bolt in position

Result