## Sheet1
The Cut & Craft 38-42 Mosley St, Manchester M2 3AZ
SCHEDULE OF WORKS
To be read in conjunction with drawings: AC 23 P10- Ground Floor Entrances General Works AC 23 P11- Ground Floor General Works AC 23 P12- Lower Ground Floor General Works
REF (NO. ON DRAWING) | AREA (ON PLAN) | IMAGE (EXISTING) | DESCRIPTION OF WORKS | FIXING DETAILS
Numbers identitied on Drawing- AC 23 P10A- Ground Floor Entrances General Works
1 | Main Entrance Lobby |  | EXISTING CRITTALL & GLAZED PARTITION SCREEN IN RECEPTION AREA (WORKS COMPLETED IN 2022 BY LANDLORD) TO BE ADAPTED TO ALLOW ADDITIONAL ENTRANCE DOORS | HIDDEN FIXINGS INTO MODERN CRITTALL DOORS FIXINGS TO PLASTERBOARDED CEILING AND PORCELAIN TILED FLOOR
3 | Main Entrance Lobby/ Banking Hall Entrance | #VALUE! | RETAIN EXISTING BRONZE AND GLAZED ENTRANCE DOORS TO BANKING HALL (NEW ADDITION COMPLETED IN 2022 BY LANDLORD) | N/A
6 | York Street Side Entrance |  | DECORATE EXISTING ENTRANCE DOOR IN HERTIAGE BREATHABLE PAINT (COLOUR AND PAINT MANUFACTURER TO BE AGREED WITH COUNCILS CONSERVATION OFFICER | APPLIED PAINT FINISH
7&8 | York Street Side Entrance- Back of House Areas | #VALUE! | NEW HARDWOOD BESPOKE DOORS THROUGHOUT WITH NEW DOOR LININGS NEW PORCELAIN FLOOR TILES TO EXISTING 1960S/70S CONCRETE FLOOR | DOOR LININGS FIXED TO EXISTING WALLS USING SUITABLE COUNTERSUNK HEAD CONCRETE SCREWS WITH CASINGS OR STUDWORK SCREWS (WALL TYPE DEPENDANT). ALL FLOORS FIXED TO NEW SUBFLOORS (SCREED/ PLYWOOD) ON EXISTING 1960S/1970S CONCRETE FLOORING
Numbers identitied on Drawing- AC 23 P11A- Ground Floor General Works
1 | Entrance into Banking Hall | #VALUE! | NEW FREE STANDING DISPLAY UNITS TO SIT EITHER SIDE OF EXISTING COLUMNS AT ENTRANCE DOORS IN NARROW OPENINGS | FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS
9 | Banking Hall- Left of Entrance | #VALUE! | FORM NEW TIMBER CONSTRUCTION RAISED DINING SPACE, FREESTANDING WITHIN BANKING HALL. ANTIQUE BRASS NOSING TO STEPS | FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS AND SEALED AROUND EXISTING WALL PANELLING TO FINISH GAP BETWEEN.
12 | Banking Hall (Raised Dining Area) | #VALUE! | FORM 3NO. NEW CURVED BOOTHS (DINING HEIGHT) WITH CURVED END UNITS | FIXED INTO NEW RAISED TIMBER FLOORING LEVEL AND SECURED ONTO BACK OF NEW JOINERY INSERTS (SEE POINT 13). CAPPING OF BOOTHS TO BE SCRIBED AROUND MOULDINGS ON WALL. NO DEMOLITION/ INVASIVE WORKS TO HISTORIC BUILDING FABRIC
13 | Banking Hall (Raised Dining Area) | #VALUE! | EXISTING RECESSED ARCHWAYS TO RECEIVE BRONZE MIRROR FINISH TO REAR AND SUSPENDED ARTWORK FEATURE- SEE DRAWING | PLY BACKING FIXED TO REAR WALL USING SUITABLE MINIMAL CONCRETE SCREWS. MIRRORS TO BE ADHERRD TO PLY BACK BOARDS USING SUITABLE ADHESIVE. SUSPENDED ARTWORK FIXED TO NEW LINING OF OPENING (LINING FIXED USING HIDDEN COUNTERSUNK CONCRETE SCREWS AND PLUGS, WAXED AND FILLED TO SUIT JOINERY STAIN)
14 | Banking Hall (Raised Dining Area) | #VALUE! | NEW BUILT IN WINE DISPLAY CABINET TO EXISTING FULL HEIGHT ARCHED RECESSES. RETAIN ALL EXISTING HISTORIC MOULDINGS. | NEW JOINERY UNITS TO 'SLOT' INTO ARCHED OPENINGS (FIXED USING HIDDEN COUNTERSUNK CONCRETE SCREWS AND PLUGS, WAXED AND FILLED TO SUIT JOINERY STAIN). NO FABRIC OF HISTORIC MOULDINGS/ OPENING TO BE AFFECTED
16 | Banking Hall- Right of Entrance | #VALUE! | FORM NEW TIMBER CONSTRUCTION RAISED DINING SPACE, FREESTANDING WITHIN BANKING HALL. ANTIQUE BRASS NOSING TO STEPS | FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS AND SEALED AROUND EXISTING WALL PANELLING TO FINISH GAP BETWEEN. NB: ORIGINAL PANELING TO BE RE-INSTATED AS LOOSE ON SITE
23-29 | Centre of Banking Hall | #VALUE! | NEW OVAL SHAPED BAR TO BE POSITIONED CENTRALLY TO FLOOR AS INDICATED | NEW BAR TO BE FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS. ALL DRAINING/ WIRING TO BAR TO BE THROUGH FLOORING
32 & 33 | Centre of Banking Hall/ Bar Drinking | #VALUE! | NEW MID HEIGHT GLOWING TABLES IN BAR DRINKNING- FIXED TO FLOOR. NEW PLANTER TABLES NEAR WINDOWS (FIXED TO FLOOR ONLY NOT WALLS ) | NEW TABLES TO BE FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS. ALL WIRING FOR POWER TO TABLES TO BE THROUGH FLOORING
34 & 35 | Centre of Banking Hall/ Bar Drinking | #VALUE! | 2NO. NEW MATCHING BANQUETTE SEATING UNITS (MID- HEIGHT) WITH BRASS FOOT RAIL AND SCREEN DETAIL TO CAPPING. DJ UNIT TO CENTRE | NEW FIXED SEATING TO BE FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING AND SECURED ONTO NEW RAISED FLOOR & LOW SCREEN TO REAR- SEE DETAILED DRAWINGS. FIXINGS USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS. ALL POWER FOR DJ UNIT TO BE RAN THROUGH FLOORING VOID OF RAISED AREA
36- 43 | Centre of Banking Hall/ Bar Drinking | #VALUE! | FORM NEW WINE ROOM INFRONT OF KITCHEN 'BOX'. REMOVAL OF EXISTING 1960/1970'S CONCTRETE LIFT SHAFT REQUIRED. SEE DRAWING FOR DETAILS OF FINISHED OF WINE ROOM | NEW WINE ROOM WITH GLAZED FRONT SECURELY FIXED ONTO CONCRETE FLOORING AND WALLS OF NEW FREESTANDING KITCHEN 'BOX'
44 | Rear of Banking Hall/ VIP Space | #VALUE! | FORM NEW TIMBER CONSTRUCTION RAISED DINING SPACE, FREESTANDING WITHIN BANKING HALL. ANTIQUE BRASS NOSING TO STEPS | FIXED TO EXISTING 1960S/1970S CONCRETE FLOORING USING SUITABLE HIDDEN COUNTERSUNK SCREWS AND PLUGS AND SEALED AROUND EXISTING WALL PANELLING TO FINISH GAP BETWEEN. NB: ORIGINAL PANELING TO BE RE-INSTATED AS LOOSE ON SITE
47 | Rear of Banking Hall/ VIP Space | #VALUE! | FORM 3NO. NEW CURVED BOOTHS (DINING HEIGHT) WITH CURVED END UNITS | FIXED INTO NEW RAISED TIMBER FLOORING LEVEL ONLY. CAPPING OF BOOTHS TO BE SCRIBED AROUND EXISTING MOULDINGS ON WALL. NO DEMOLITION/ INVASIVE WORKS TO HISTORIC BUILDING FABRIC/ ORIGINAL PANELING
48 | All windows | #VALUE! | NEW DRESS CURTAINS TO ALL WINDOWS | NEW ANTIQUE BRASS DECORATIVE CURTAIN POLES TO BE FIXED ONTO EXTERNAL WALLS (NOT TOUCHING ORIGINAL MOULDINGS/ TIMBER WORK). SCREWS AND PLUGS TO BE FIXED INTO PLASTERWORK ONLY.
49 | Rear of Banking Hall/ VIP Space | #VALUE! | NEW 3D DISPLAY CABINET WITH SUSPENDED ARTWORK AND WAITER STATION UNIT | NEW JOINERY PIECE TO BE FIXED ONTO NEW RAISED TIMBER FLOOR LEVEL (RAISED FLOOR FIXED TO EXISTING 1960'/ 1970'S CONCRETE FLOOR USING SUITABLE CONCRETE SCREWS/ PLUGS). JOINERY PIECE TO SIT OFF THE WALL SLIGHTLY AT HIGH LEVEL TO ENSURE WALL PANELING IN RETAINED UNTOUCHED. JOINERY PIECE AT LOW LEVEL TO BE SCRIBED AROUND PANELLING USING TIMBER FILLER PIECE. SEE DETAIL DRAWING
50-56 | Curved Area | #VALUE! | NEW KITCHEN 'BOX' TO BE FORMED WITHIN BUILDING AND TO RECEIVE TINTED MIRROR TO CREATE SCUPLTURAL/ FUTURISTIC BOX IN HISTORIC SPACE | KITCHEN 'BOX' TO BE FORMED AS PER STRUCTURAL ENGINEER'S DRAWINGS. ALL FIXINGS INTO EXISTING 1960'S/ 1970'S CONCRETE FLOOR. BOX TO BE SET OFF 50MM FROM OUTER WALL FABRIC.
57 & 59 | Curved Area | #VALUE! | NEW STAIRCASE TO LOWER GROUND FLOOR TO BE FORMED AROUND CURVE OF BUILDING. | EXISTING 1960'S/ 1970'S CONCRETE FLOOR TO BE REMOVED- SEE STRUCURAL ENGINEER'S DRAWING FOR DETAILS.
58 | Curved Area | #VALUE! | REMOVAL OF EXISTING LIFT SHAFT | EXISTING 1960'S/ 1970'S CONCRETE LIFT SHAFT TO BE REMOVED AND MADE GOOD FLOORING. NEW FLOORING INFIL AS PER STRUCTURAL ENGINEERS DETAILS.
Numbers identitied on Drawing- AC 23 P12A- Lower Ground Floor General Works
1 | Staircase | #VALUE! | NEW STAIRCASE TO BE FOMRED BETWEEN GROUND AND LOWER GROUND FLOOR. CUTTING OUT EXISTING CONCRETE FLOOR SLAB | EXISTING 1960'S/ 1970'S CONCRETE FLOOR TO BE REMOVED- SEE STRUCURAL ENGINEER'S DRAWING FOR DETAILS. NEW FLOATING STAIRCASE DESIGN FIXED INTO EXISTING CONCRETE FLOOR AT LGF LEVEL USING SUITABLE STRUCURAL POST SUPPORTS- SEE DETAILS.
2 | Under Staircase | #VALUE! | NEW MARBLE EFFECT PORCELAIN FLOOR TILES | ALL NEW FLOORING INCLUDING NEW CONCRETE SCREEDING TO APPLIED TO EXISTING CONCRETE FLOOR.
4 | Under Staircase | #VALUE! | NEW STONE SLIP WALL CLADDING UNDER STAIRCASE AND IN NEW WINE ROOMS | STUDWORK WALL TO BE FORMED ON INNER FACE OF EXISTING WINDOW FIXED TO CONCRETE WINDOW HEAD AND CONCRETE REVEALS ONLY (NO WORKS TO EXISTING WINDOW, FRAME OR SILL).STUDWORK TO BE FIXED USING CONCRETE SCREWS AND PLUGS. NEW STUDWALL TO RECEIVE STONE SLIP TO INNER FACE (CUSTOMER SIDE)- FULL HEIGHT. SEE DRAWING
5, 6,7 & 8 | Under Staircase | #VALUE! | NEW CURVED TIMBER SHELVING, CUPBOARDS WITH LED IILLUMINATION FOR WINE DISPLAY AND PANELLING | ALL NEW JOINERY TO BE FIXED TO EXISTING 1960'S/ 1970'S CONCRETE FLOOR AND SECURELY FIXED ONTO NEW STONE SLIP WALL USING CONCRETE SCREWS AND PLUGS
10 | Lobby/ Gossip Room | #VALUE! | NEW RAISED AND FIELD PANELING TO ALL WALLS | ALL NEW PANELING TO WALLS TO BE FIXED ONTO CONCRETE WALLS OR NEW MF & PLASTERBOARDED WALLS. ALL NEW MF AND PLASTERBOARDED WALLS TO BE FIXED INTO CONCRETE CEILING AND FLOOR USING CONCRETE SCREWS AND PLUGS
15 | Private Dining Room/ Vault Room | #VALUE! | EXISTING VAULT DOOR TO BE WRAPED IN VINYL BRONZE | VINYL WRAP APPLIED TO EXISTING VAULT ROOM DOOR- BRONZE FINISH. NO FIXING WORKS REQUIRED (ADHESIVE ONLY)
16-19 | Private Dining Room/ Vault Room | #VALUE! | NEW SMALL BAR & JOINERY TO PRIVATE DINING ROOM | ALL NEW JOINERY TO BE FIXED TO EXISTING CONCRETE FLOOR AND/OR CONCRETE WALLS USING CONCRETE SCREWS AND PLUGS. NO DEMOLITIONS WORKS REQUIRED TO FABRIC OF BUILDING
20 | Private Dining Room/ Vault Room | #VALUE! | NEW CEILING IN PDR | NEW MF AND PLASTERBOARD CEILING IN PDR TO CONCEAL ALL VENTILATION DUCTWORK/ WIRING ABOVE. MF CEILING TO BE FIXED TO EXISTING CONCRETE CEILING USING CONCRETE SCREWS AND PLUGS NO DEMOLITIONS WORKS REQUIRED TO FABRIC OF BUILDING
29 | Immersieve Corridor Ceiling | #VALUE! | NEW CEILING IN TOILET CORRIDOR | NEW MF AND PLASTERBOARD CEILING IN CORRIDOR TO CONCEAL ALL VENTILATION DUCTWORK/ WIRING ABOVE. DECORATIVE CHAIN DETAIL TO BE FIXED TO NEW PB CEILING MF CEILING TO BE FIXED TO EXISTING CONCRETE CEILING USING CONCRETE SCREWS AND PLUGS
37 | Gents WC's | #VALUE! | NEW PARTIITON WALLS TO FORM GENTS WC CUBICLES AND WALLS. NEW PB CEILING | NEW MF AND PLASTERBOARD CEILING AND WALLS IN GENTS TO CONCEAL ALL VENTILATION DUCTWORK/ WIRING AND SPACE PLANNING. MF AND PLASTERBOARD PARTITIONS AND CEILING TO BE FIXED TO EXISTING CONCRETE USING CONCRETE SCREWS AND PLUGS. NO DEMOLITIONS WORKS REQUIRED TO FABRIC OF BUILDING
32-34 | Gents WC's | #VALUE! | NEW JOINERY PIECES TO FORM VANITY AREAS/ URINALS | ALL NEW JOINERY TO BE FIXED TO EXISTING CONCRETE FLOOR AND/OR CONCRETE WALLS USING CONCRETE SCREWS AND PLUGS NO DEMOLITIONS WORKS REQUIRED TO FABRIC OF BUILDING
51 | Ladies WC's | #VALUE! | NEW PARTIITON WALLS TO FORM LADIES WC CUBICLES AND WALLS. NEW PB CEILING | NEW MF AND PLASTERBOARD CEILING AND WALLS IN LADIES TO CONCEAL ALL VENTILATION DUCTWORK/ WIRING AND SPACE PLANNING. MF AND PLASTERBOARD PARTITIONS AND CEILING TO BE FIXED TO EXISTING CONCRETE USING CONCRETE SCREWS AND PLUGS NO DEMOLITIONS WORKS REQUIRED TO FABRIC OF BUILDING
41-50 | Ladies WC's | #VALUE! | ALL NEW DETAILS / FIT-OUT ELEMENTS WITHIN LADIES WCS | ALL NEW JOINERY TO BE FIXED TO EXISTING CONCRETE FLOOR USING CONCRETE SCREWS AND PLUGS , OR FIXED ONTO NEW MF & PLASTERBOARD WALLS AND CEILINGS. NO DEMOLITIONS WORKS REQUIRED TO FABRIC OF BUILDING
56 | Landing of Staircase | #VALUE! | WIDEN EXISTING OPENING WITHIN MODERN STOCK BRICK WALL AND INSTALL NEW STRUCTRUAL LINTEL- SEE STRUCURAL ENGINEER'S DETAILS. | WIDEN EXISTING OPENING USING SUITABLE PROPS/SUPPORT PRIOR TO OPENING UP, AND INSTALL NEW CONCRETE LINTEL AS PER STRUCURUAL ENGINEERS DETAILS. REMOVAL OF MODERN STOCK-BRICK TO BE DONE USING DIAMOND DRILL. FORM NEW MF WALLS AROUND OPENING ALL TO RECIEIVE JOINERY/ NEW FINISH.
57 | Lift Shaft | #VALUE! | REMOVAL OF EXISTING LIFT SHAFT AND INSTALL NEW FLOORING TO VOID | EXISTING 1960'S/ 1970'S CONCRETE LIFT SHAFT TO BE REMOVED AND MADE GOOD FLOORING WITH FLOATING FLOOR SYSTEM- SEE STRUCURAL ENGINEERS DETAILS.
58 | Back of House Area: Dry Goods/ Cold Fridge Storage Area | #VALUE! | NEW OPENING TO BACK OF HOUSE AREA. OPENING INVOLVES WORK TO THE ORIGINAL FABRIC OF BUILDING | REMOVE SECTION OF EXISTING CONCRETE WALL TO FORM NEW DOOR OPENING USING DIAMOND CORE DRILL AND INSTALLING NEW LINTEL ABOVE- SEE STRUCUTRAL ENGINEER'S DETAILS. FORM NEW MF WALLS AROUND OPENING FIXED INTO CONCRETE WALLS AND CEILING USING CONCRETE SCREWS AND PLUGS- MF WALLS TO RECIEIVE PLASTERBOARD AND CLAD FINISH.
REPAIRS/ MAINTAINANCE/ DILAPIDATION WORKS
GROUND FLOOR | External Walls | #VALUE! | MOISTURE/ DAMP ON HISTORIC FABRIC WALLS WHERE WRONG PLASTER HAS BEEN INSTALLED/ PATCHED | CAREFUL REMOVAL OF FLAKING PLASTERBOARD AND RE-SKIMMING OF NEW PLASTER READ FOR DECORATION. NO WORKS TO MOULDINGS ON WALLS. PLASTER TO BE LIME MORTAR SKIM ONLY. MORTAR ANALYSIS TO BE UNDERTAKEN IF NESSCESSARY
GROUND FLOOR | Ceilings | #VALUE! | FLAKING PAINTWORK ON CEILING | CAREFUL REMOVAL OF FLAKING PLASTERBOARD/PAINT AND RE-SKIMMING OF NEW PLASTER READ FOR DECORATION. NO WORKS TO TIMBER MOUDINGS/ CORNCIING PLASTER TO BE LIME MORTAR SKIM ONLY. MORTAR ANALYSIS TO BE UNDERTAKEN IF NESSCESSARY
GROUND FLOOR | Existing paneling | #VALUE! | GENERAL REPAIR WORKS TO DADO HEIGHT PANELLING AROUND ROOM WHERE DAMAGED/ REMOVED. | TIMBER PANELING TO BE SECURELY FIXED BACK ONTO WALLS USING COUNTERSUNK TIMBER SCREWS. FILLED AND WAXED TO SUIT. DECORATED IN BREATHABLE PAINT. PAINT SPECIFICATION TO BE APPROVED WITH CASE OFFICER
GROUND FLOOR | Pre cast concrete bases of columns | #VALUE! | REMOVAL OF EXISTING ELECTRICAL BOXES TO WALLS AND COLUMN BASES | REMOVAL OF ALL REDUNDANT POWER BOXES/ SOCKETS AND MAKING GOOD WITH LIME MORTAR SKIM WHERE PLASTER/CONCRETE FINISH. BOTTOM OF COUMNS TO BE OVERCLAD WITH PANELING TO MATCH EXISTING PANELING- AS PER DRAWING
GROUND FLOOR | Walls Throughout | #VALUE! | AS ABOVE | AS ABOVE
LOWER GROUND FLOOR | Original Sash Window | #VALUE! | NO WORKS | NO WORKS TO EXISTING DAMAGED SASH WINDOW. WINDOW SITS IN BACK OF HOUSE AREA. DECORATION WORKS ONLY USING SUITABLE BREATHABLE PAINT