P A U L   C A R R   D E S I G N   Ltd

3 8   A L B E R T   R O A D     H A L E     C H E S H I R E     W A 1 5   9 A J     0 7 7 7 1   7 5 6   8 1 2     paul.carr@paulcarrdesign.com

19.007 – Great Jones Street, Manchester

Consent ref 136412/FO/2023

Consent dated 27th April 2023

Statement on conditions to support application to discharge.

Condition 1

The development will be started prior to 27th April 2026

Condition 2

The development will be carried out in accordance to approved drawings and documentation.

Condition 3

External materials proposed to be as follows.

Roof coverings

Cembrit Jutland Fibre Cement Roof Slates

https://www.jjroofingsupplies.co.uk/cembrit-jutland-fibre-cement-roof-slate

Rainwater goods

Black upvc gutters and downpipes

White upvc soffits and fascias

https://otpsupplies.co.uk/product-category/rainwater-gutter/

Windows – upvc

Doors – upvc composite front doors, upvc rear patio doors

http://www.newlifepanels.uk/

Facing brickwork

Main body – Radcliffe red brick or Manchester common dual sided

https://brickiesmanchester.co.uk/facing-bricks-49-c.asp

Feature heads etc as above, or

https://www.brickfab.com/product/prefabricated-arches

Condition 4(a)

Below links to Remediation strategy by IGE Consulting Ltd, prepared following intrusive site investigation.

Phase 1 Report:

https://www.dropbox.com/scl/fi/h8cfnwt7775nlw81rf9vp/4015-01-Great-Jones-St-Mcr-Phase-1-Geo-Environmental-Report.pdf?rlkey=7euyboma12qa6kg4mzspy2dkf&dl=0

Phase  2 GI Report:

https://www.dropbox.com/scl/fi/bwo0597iygkliahjn60ii/4015-02-Great-Jones-St-Mcr-Phase-2-Geo-Environmental-GI-Report.pdf?rlkey=qx3iawudh1nryw2ncngyl9ald&dl=0

Condition 4(b)

Construction will be undertaken in accordance with the recommendations of the IGE report above.

A completion/verification report shall be submitted prior to occupation.

Condition 5

The development shall be undertaken in accordance with the recommendations of the approved RSAcoustics report referred to.

Prior to occupation a verification report shall be submitted to the LPA for approval.

Condition 6

Construction management plan (CMP) as attached with this application.

Condition 7

Proposals for segregated waste and waste management during the development included within the CMP referred to above.

Condition 8

Environmental Standards Statement as below

The dwellings shall be constructed in accordance with the Building Regulations. This includes a “fabric first” approach to ensure acceptable levels of insulation within the walls, floors and roof of the superstructure.

The building regulations, with completion certification issued by the approved inspector, will ensure that all current regulations are met in terms of a residential development of this nature in connection with heating systems, water use, ventilation, mechanical and electrical installations.

The tight nature of the site and development of just two dwellings does not allow for the inclusion of alternative methods of renewable energy provision.

Condition 9(a)

The scheme will be delivered in accordance with the approved drawing indicating secure bicycle parking for each dwelling.

Condition 9(b)

Lockable bike storage units to be provided

Bike Locker for storing 2 bikes | metal bike lockers & shelters from Asgard (asgardsss.co.uk)

Condition 10

Dwellings shall be used as the consent as Class 3(c) dwelling houses.

Condition 11

No other openings shall be included other than those approved under the consent.

Condition 12

Surface water drainage as attached proposals by STLConsulting Ltd.

Any queries please just contact Paul Carr

Tel : 	07771756812

Email : 	paul.carr@paulcarrdesign.com

P A U L   C A R R   D E S I G N   Ltd