| PROJECT | 77-79 Mosley St | DATE | July 2024 |
| --- | --- | --- | --- |
| PROJECT REF. | 1995 |  |  |

Condition no. 3

Material samples shall be submitted for agreement in accordance with the Finishes and by Atelier MB stamped as received on 30-11-23

The client has confirmed that they have been able to reuse the existing slates and ridge tiles. Therefore, new or reclaimed slates/tiles are not required to carry out this consent.

The data sheet for the new lead accompanies this report. A sample can be delivered to your offices if required.

Condition no. 4

Notwithstanding the details as set out in condition 2 above for each of the following items no works shall commence unless and until final details (including where appropriate specification and method statement) of the following have been submitted to and approved in writing by the City Council as Local Planning Authority:

- Final details of the finishes to the affected windows to be based on analysis of historic paint finishes;

The window frames will be painted in a mid Brunswick Green. Ref. BS.381C  226.

Please see accompanying documentation with regards to the paint analysis and the proposals.

- Alteration to and finishes to gutters; and

The client has confirmed that no alterations have been made to the gutters themselves other than to repair/reline with lead to match existing as per the application.

A programme for the implementation of the approved works shall be submitted to support each item and the works shall be carried out and completed in accordance with that programme.

The roof repair works are scheduled to be complete in October 2024.