## VISUAL DATA SHEET
SURFACE
ITEM | NOTES | IMAGE
IN-SITU DIAMONDCRETE RA - 200MM DEPTH | NATURAL CONCRETE WITH BRUSHED FINISH
HARDIPAVE
REINSTATED PAVING | RECONDITIONED AND REINSTALLED
BLISTER CONCRETE PAVING | MARSHALLS CHARCOAL
TACTILE HAZARD WARNING | MARSHALLS CHARCOAL
CONCRETE PAVERS | HARDSCAPE BRECCIA TAGENTA E
EDGING
ITEM | NOTES | IMAGE
CONCSERVATION X KERB | MARSHALLS SILVER GREY. TO MATCH EXISTING S278 WORKS ON WATER ST.
FLUSH CHANNEL SQUARE CONCRETE KERB | MARSHALLS NATURAL. TO MATCH MGY
RIVER WALL BALUSTRADE | POWDER COATED STEEL - RAL9005 BLACK. TO MATCH FACTORY
HANDRAIL | POWDER COATED STEEL - RAL9005 BLACK
BALLUSTRADE EDGE PROTECTION | POWDER COATED STEEL - RAL9005 BLACK & TOUGHENED GLASS
PROPOSED LOW WALL EXTENDED FROM RETAINING WALL WITH RED BRICK FACING AND METAL BALUSTRADE TO TOP | HARDSCAPE FIGUEIREDO GRANITE COPING STONE. VANDERSANDEN GALA CLAY FACING BRICK. BALUSTRADE: POWDER COATED STEEL - RAL9005 BLACK
PROPOSED METAL RAILING TO EDGE OF SUSPENDED METAL STAIRCASE | POWDER COATED STEEL - RAL9005 BLACK
PROPOSED HIGH CONTAINMENT KERB IN GRANITE | HARDSCAPE FIGUEIREDO GRANITE
PROPOSED WALL EXTENDED FROM RETAINING WALL WITH RED BRICK FACING AND METAL BALUSTRADE TO TOP | HARDSCAPE FIGUEIREDO GRANITE COPING STONE. VANDERSANDEN GALA CLAY FACING BRICK. BALUSTRADE: POWDER COATED STEEL - RAL9005 BLACK
FURNITURE
ITEM | NOTES | IMAGE
AUTOMATIC BOLLARD | BLACK
QUICK BOLLARD | TO MATCH T1. POWDER COATED STEEL - RAL9005 BLACK
DOOR BARRIER | TO MATCH T1. POWDER COATED STEEL - RAL9005 BLACK