May 2023

Planning, licensing and Building control

Growth and development Directorate

Manchester City Council

PO Box 532

Manchester

M60 2LA

For the attention of Mr Robert Griffin

Re: Planning Permission -135235/FO/2022 Vacant Site Bounded by the Boulevard, The Avenue, Didsbury High School.

Dear Robert,

Further to our meeting and subsequent email exchanges concerning the discharge of various planning conditions we can confirm the following:-

Condition 8

We can confirm as requested that the verification of any remediation measures employed on the scheme which have been currently identified within the Remedial Specification Ref GRO-20064-4035 dated 2nd December 2022 as being clean cover to landscaped areas will be verified and validated in accordance with the Manchester City Council Planning & Contaminated Land Technical Guidance dated February 2021 and not YALPAG as stated in the Remedial Specification.

With regards the EHO concern of the extent of Ground gas monitoring undertaken within the zone of made ground. We can confirm the following:-

- The majority of the made ground will be removed to facilitate the installation of the piling mat.

- The site will be turned over to remove any obstructions and/or buried vegetation prior to installation of the piling mat.

We have undertaken additional trial piting on site to satisfy ourselves of the validity of the information we have received at tender stage none of which identified and areas of concern.

We trust the information above is acceptable to yourself.

Yours sincerely,

David Hardman

Preconstruction  Director