## November 2022
Unique Number | Sub Region | MCR/TCR Number | 2022 info | Day | Date | Week | Duration | Property DCM Sites | Product | Supplier | Task RED = MEDIUM RISK | HOT/COZ COS restriction times 14:00 – 17.30 hrs | NWG, UB or RBSI Facility Manager | Regional Coordinator | ISS Manager or Supervisor | Status | Reason for Non-Completion 1. NWG Cancellation 2. NWG Access 3. In House Contractor 4. In House Other 5. In House No Feedback | Rescheduled | Rescheduled Status | Comments | Month
1019 | England | MCR1083727/ TCR1083755 |  | Thu | 2023-01-05 | 1 | 3 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | In House | GMQ | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | January
1388 | England | MCR1083727 / TCR1083817 |  | Thu | 2023-03-09 | 10 | 2 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | AVK | GMA | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | March
1502 | England | MCR1083727 / TCR1083817 |  | Wed | 2023-04-12 | 15 | 3 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | In House | GL | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | April
1760 | England | MCR1083727 / TCR1083817 |  | Thu | 2023-06-22 | 25 | 5 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | In House | GMQ | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | June
1852 | England | MCR1083727 / TCR1083817 |  | Wed | 2023-07-19 | 29 | 3 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | In House | GL6 | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | July
2208 | England | MCR1083727 / TCR1083817 |  | Tue | 2023-09-19 | 38 | 2 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | AVK | GM | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | September
2281 | England | MCR1083727 / TCR1083817 |  | Tue | 2023-10-10 | 41 | 3 Days | 8392 MANCHESTER Spinningfields | LARGE OFFICE | In House | GL | HOT/COZ | Mike Rampling | Sandra.High@uk.issworld.com | Christian.Boland@uk.issworld.com David.tulip@uk.issworld.com | [5 empty] | October
|  | GMQ | Generator Quartley , Minor service, Off Load Run
|  | GMA | Generator Annual , Major Service, Off load run
|  | GL | Generator Load Run 30 Min, Site powered by generator
|  | GMQ | Generator Quartley , Minor service |  |  | , Off load run
|  | GL6 | Generator Load Run 6 Hours, Site powered by generator
Notes
• ISS will complete weekly testing of generators on a Friday between 11:00 -12:00, generator offload run will be 10-15 minuets duration.
• As above a weekly generator offload run will be 10-15 minuets carried out on a Friday.
• A generator building load run is required to take place 6 monthly and 12 monthly for a duration of 30 minutes.
• A six hour building load run is to be carried out during normal business hours once a year, dates are forecast above
• NatWest/ISS will inform the Spinningfields Estate and local receptors in advance of any generator testing being carried out.