Condition 9a – Ground Validation

Manchester City Council Commentary – DEX / LK Group Responses

The following points should be addressed:

- The results of the additional intrusive investigation in the SE area should be submitted when available together with an updated risk assessment and Remediation Strategy (RS).

The South East area of the site is currently occupied by housing (please see attached demolition plan); we are unable to undertake a site/intrusive investigation until dwellings have been vacated and demolished.

- The imported material sampling proposals are not in accordance with MCC’s guidance and should be updated accordingly –

We have issued updates reports via We Transfer

- LKC 20 1120 Collyhurst Village Phase 2 SI Report R1 (originally Oct 20, updated plan Jan21).

- LKC 20 1120 Collyhurst Village Remediation Strategy R1 (originally Oct 20, updated plan Jan21).

- It is understood that the SE occupied site identified in the report to be Parkland is also proposed as a community orchard; the human health risk assessment should be updated accordingly with this potential pathway –

As outlined above, an intrusive investigation needs to be undertaken on this area before the human health risk assessment can be updated to ensure that it is representational of the ground condition in this area

- An Asbestos Management Strategy is required – Please find attached

- Confirmation should be provided in due course of whether an MMP is required – Please find attached