Crown Street Phase 02	Planning Condition 121 – Air Quality	

Introduction

As part of the Crown St development, a previous application to discharge condition 121 was made (CDN/23/0218). This application was rejected on the basis that the air quality report refers to 10% EVC’s where MCC have stated that this is insufficient and 20% should be provided (see extract below).
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Number of EVC’s in planning documents and approval

It should be noted that Condition 130 for this development is related specifically to EVC’s and states that we need to provide the quantities set out in the drawings and documents. See wording of Condition 130 below.
 
“The electric vehicle charging (EVC) infrastructure (including appropriate cable provision and provision for charging points) set out in the drawings and documents hereby approved shall be put in place before the car park use within Phase D commences and shall be retained thereafter.”
 
The document submitted at planning stage that referred to EVC’s, was the Design and Access statement. Below is an extract from the Design and Access Statement which states that we should provide 10% EVC’s.
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Correspondence after Decision Notice
 
This fact was later checked with the planning officer and the following response was received. 
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Following receipt of the above e-mail, the application to discharge Condition 121 is being re-submitted with the same Air Quality Report and accompanied by this note.
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Condition 121 cannot be discharged at this time due to insufficient Electric Vehicle
Charging Points (EVCPs). 20% of parking spaces are required to have EVCPs (if
resident parking spaces are to be provided as part of Phase D, there should be 20% of
EVCP provision for the resident parking spaces and 20% provision for the public
spaces). Cable runs should be provided to all spaces so that they can be updated as
the demand increases.

Condition 121 is not formally discharged.
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Total Car Parking Spaces 389
Electric Vehicle Charging  10% 7kw (5% of these to be 22kW)
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To James Daycock Mon 26/06/2023 12:23
Cc James Sidlow
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Hi James

Further to your email below, 20% EVCs is the Council's standard so it would be great if you could achieve this. However, | accept that condition 130
allows 10% EVCs based on the approved documents. We would expect though that cable runs be provided to all spaces should demand increase in
the future and this should be specified in your submission to discharge the condition. As the decision on CDN/23/218 has been issued, this can't be
amended and you will need to apply again to discharge condition 121. In your submission, | should advise you to refer to the fact that the provision of
10% EVCs is in line with condition 130 and the approved documents.
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