## 01_Car Parking
1. CAR PARKING
Item | DFA2 Standard | Proposal Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Proposal Not Compliant with DFA2 | Notes
1.1.0 | On-Street Parking | N/A | N/A | N/A
1.1.1
1.1.2
1.1.3
1.1.4
1.1.5
1.1.6
1.1.7
1.2.0 | Off Street Parking
1.2.1
1.2.2
1.2.3
1.2.4
1.2.5
1.2.6
1.2.7
1.2.8
1.2.9
1.2.10
1.3.0 | Multi-Storey Car Parks
1.3.1
1.3.2
1.3.3
1.3.4
1.4.0 | Garages, Secure and Enclosed Parking
1.4.1
1.4.2
1.4.3
1.5.0 | Taxi Ranks
1.5.1
1.5.2
1.5.3
1.5.4

## 02 _Pedestrian Crossings, Dr...
2. Pedestrian Crossings, Dropped Kerbs and Tactile Surfaces
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
2.1.1 |  | OPEN - Tactile Paving has been designed to MCC standard or in a contrasting colour
2.1.2
2.1.3
2.1.4
2.1.5
2.2.0 | Controlled Crossings
2.2.1
2.2.2
2.2.3
2.2.4
2.3.0 | Refuge Islands
2.3.1
2.3.2
2.3.3
2.4.0 | Raised Crossings
2.4.1
2.4.2
2.4.3
2.4.4
2.4.5
2.5.0 | Metrolink Crossings
2.5.1
2.6.0 | Dropped Kerbs
2.6.1
2.6.2
2.6.3
2.6.4
2.7.0 | Tactile Surfaces
2.7.1 |  | OPEN - hazard warning paving shown on Newcastle Street
2.7.2
2.7.3 |  | OPEN - hazard warning paving shown at steps and circulation route junctions
2.7.4 |  | OPEN - details provided

## 03 _Footways, Pathways and ....
3. Footways, Pathways and Access Routes
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
3.1.0 | Access Routes
3.1.1 |  | OPEN - roposed access routes have a firm and smooth surface
3.1.2 |  | OPEN - Public access routes are level where possible or have shallow gradient where levels vary. (No access routes have a gradient steeper than 1:21)
3.1.3 |  | OPEN - Paved external areas are compliant.
3.1.4 |  | OPEN - Paved external areas compliant.
3.1.5
3.1.6 |  |  | OPEN - Kerbs have a 100 - 125mm upstand to allow for drainage and meeting existing conditions
3.1.7 |  |  |  | OPEN - Crossfall gradient exceed 1:50 to meet FFLs in specific areas.
3.1.8 |  | OPEN - Access Routes to main entrance and around the site are unobstructed and have a width larger than 2000mm
3.1.9 |  | OPEN - Main entrance areas have minimum unobstructed widths larger than 1800mm where close to an obstruction
3.1.10
3.1.11
3.1.12 |  |  | OPEN - Compliant with Part M
3.1.13
3.1.14 |  | OPEN - Entrance and Exit doors compliant
3.1.15 |  | OPEN - No projection of buildings onto footways on ground floor. Projection of blocks A and B are above 2500mm accessible podium roof.
3.1.16
3.1.17
3.2.1
3.2.2
3.2.3

## 04_Street Furniture
4. Street Furniture
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
4.1.1
4.1.2
4.1.3
4.1.4
4.1.5 |  | OPEN - All columns / posts located to comply.
4.1.6
4.1.7 |  | OPEN - All proposed street furniture is of a colour contrasting from the surrounding paving.
4.1.8 |  |  |  | OPEN - Festoon Post at this point does not have viability strip if required this can be developed.
4.1.9 |  | OPEN - Proposed bollards are compliant
4.1.10 |  | OPEN - Tree grilles are proposed around in-ground tree planting within the public realm.
4.1.11
4.1.12 |  | OPEN - All external stair, ramps and steps comply.

## 05_Seating
5. Seating
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
5.1.1 |  | OPEN - Regularly seating opportunities are provided at suitable intervals within the public realm.
5.1.2 |  | OPEN - All seating is located in areas which are overlooked and visible from ground floor entrance lobbys and amenity areas.
5.1.3 |  | OPEN - Seating is located off the main footway around the perimeter of the site.
5.1.4 |  | OPEN - The detailed design of proposed seating areas ensures accessible space for wheelchairs are incorporated.
5.1.5 |  | OPEN - Majority of seating is within this height range.
5.1.6 |  | OPEN - A range of seating opportunities are proposed within the public realm and will include benches with back rests and arm rests.
5.1.7 |  | OPEN - Proposed seating will contrast in colour with the adjacent paving.
5.1.8 |  | OPEN - No metal or plastic seating is proposed for seating surfaces. Benches will have hardwood timber slats.
5.1.9

## 06_Ramps
6. Ramps
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
6.1.1
6.1.2 |  |  |  |  | OPEN - No gradient exceeds a 1:20 therefore is defined as a slope and have a minium width of 2000mm
6.1.3 |  | OPEN - No stepped ramps proposed
6.1.4 |  | OPEN - All external gradients are shallower than 1 in 20.
6.1.5 |  | OPEN - No ramp exceeds 10m with a 0.5m rise.
6.1.6 |  |  |  |  | OPEN - No external ramps (i.e.1 in 20 or steeper) are proposed.
6.1.7 |  |  |  |  | OPEN - No external ramps (i.e.1 in 20 or steeper) are proposed.
6.1.8 |  |  |  |  | OPEN - No external ramps (i.e.1 in 20 or steeper) are proposed.
6.1.9 |  | OPEN - Compliant external landings clear or the door swing are proposed.
6.1.10
6.1.11
6.1.12
6.1.13
6.1.14
6.1.15
6.1.16

## 07_Footbridges
7. Footbridges
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
7.1.1
7.1.2
7.1.3
7.1.4

## 08_External Steps
8. External Steps
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
8.1.1 |  |  |  |  | OPEN - Wilmott St has external ramp and steps . This is the second entrance to Buildings A & B. Steps on Hulme St.
8.1.2
8.1.3
8.1.4
8.1.5 |  | OPEN - External steps along Hulme Street and Wilmot Street comply with the minimum width.
8.1.6 |  | OPEN - All flights of external steps do not exceed 1200mm rise.
8.1.7 |  | OPEN - All external steps have a rise as close as possible to 150mm.
8.1.8 |  |  | OPEN - All external steps have a uniform tread of 300mm. All surfacing will be slip resistant.
8.1.9 |  | OPEN - No overlapping of external steps is required.
8.1.10 |  | OPEN - All external steps incorporate contrasting nosings.
8.1.11 |  |  | OPEN - Min 1200 x 1200mm Landings have been provided
8.1.12 |  | OPEN - Contrasting corduroy tactile paving will be incorpporated at the top and bottom of each flight of steps.
8.1.13 |  | OPEN - Proposals are compliant.
8.1.14 |  | OPEN - Proposals are compliant.
8.1.15 |  | OPEN - Compliant handrails are proposed for each flight of external steps.
8.1.16
8.1.17 |  | OPEN - Additional handrails are proposed, where required.
8.1.18 |  | OPEN - All external steps will be lit appropriately.
8.1.19 |  |  | OPEN - 1200mm x 1200mm min landings have been allowed for

## 09_Handrails (Ramps, Stairs...
9. Handrails (Ramps, Stairs and Steps)
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part K Requirements | Not Compliant with DFA2 | Notes
9.1.1
9.1.2
9.1.3 |  |  | OPEN - Proposals meet part M and Part K
9.1.4 |  | OPEN - Escape stairs and ramp to be compliant
9.1.5 |  |  | OPEN - Escape Stair extends a minimum of 300mm
9.1.6 |  | OPEN - Escape stairs and ramp to be compliant
9.1.7 |  | OPEN - Escape stairs and ramp to be compliant
9.1.8 |  | OPEN - Escape stairs and ramp to be compliant
9.1.9 |  | OPEN - Escape stairs and ramp to be compliant
9.1.10 |  | OPEN - Escape stairs and ramp to be compliant
9.1.11

## 10_Doors
10. Doors
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
10.1.1
10.1.2
10.1.3
10.1.4
10.1.5
10.1.6
10.1.7
10.1.8
10.2.0 | Internal Doors
10.2.1
10.2.2
10.2.3

## 11_Design and Fitting of Doo...
11. Design and Fitting of Doors and Entry System
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
11.1.1
11.1.2
11.1.3
11.1.4
11.1.5
11.1.6
11.1.7
11.1.8
11.1.9
11.1.10
11.1.11
11.1.12
11.1.13
11.1.14
11.1.15
11.1.16
11.1.17

## 12_Door and Window Furniture
12. Door and Window Furniture
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
12.1.1
12.1.2
12.1.3
12.1.4
12.1.5
12.1.6
12.1.7
12.1.8
12.1.9
12.1.10
12.1.11

## 13_Reception and Refreshment...
13. Reception and Refreshment Areas
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
13.1.1
13.1.2
13.1.3
13.1.4
13.1.5
13.1.6
13.1.7
13.1.8
13.1.9
13.1.10
13.1.11
13.1.12
13.1.13
13.1.14
13.1.15

## 14_Lobbies, Corridors and In...
14. Lobbies, Corridors and Internal Spaces
Item | DFA2 Standard
14.1.0 | Lobbies
14.1.1
14.1.2
14.1.3
14.1.4
14.1.5
14.1.6
14.2.0 | Corridors and Internal Spaces
14.2.1
14.2.2
14.2.3
14.2.4
14.2.5
14.2.6 | Provide recessed seating in all corridors longer than 50 metres.
14.2.7
14.2.8

## 15_Internal Stairs
15. Internal Stairs
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
15.1.1
15.1.2
15.1.3
15.1.4
15.1.5
15.1.6
15.1.7
15.1.8
15.1.9
15.1.10
15.1.11
15.1.12
15.1.13
15.1.14

## 16_Lifts
16. Lifts
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
16.1.0 | Passenger Lifts
16.1.1
16.1.2
16.1.3
16.1.4
16.1.5
16.1.6
16.1.7
16.1.8
16.1.9
16.1.10
16.1.11
16.1.12
16.1.13
16.1.14
16.1.15
16.1.16
16.1.17
16.1.18
16.1.19
16.2.0 | Platform Lifts
16.2.1
16.2.2
16.2.3
16.2.4
16.2.5
16.2.6
16.2.7
16.2.8
16.2.9
16.2.10
16.2.11
16.2.12
16.2.13

## 17_Toilets
17. Toilets
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
17.1.1
17.1.2
17.1.3
17.1.4
17.1.5
17.1.6
17.1.7
17.1.8
17.1.9
17.1.10
17.1.11
17.1.12
17.1.13
17.1.14
17.1.15
17.1.16
17.1.17
17.1.18
17.1.19
17.1.20
17.1.21
17.1.22
17.1.23
17.1.24
17.1.25
17.1.26
17.1.27
17.1.28
17.1.29

## 18_Baby Changing Facilities
18. Baby Changing Facilities
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
18.1.1
18.1.2
18.1.3
18.1.4
18.1.5
18.1.6
18.1.7
18.1.8
18.1.9
18.1.10
18.1.11
18.1.12
18.1.13

## 19_Showers and Bathrooms
19. Showers and Bathrooms
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
19.1.1
19.1.2
19.1.3
19.1.4
19.1.5
19.1.6
19.1.7
19.1.8
19.1.10
19.1.11
19.1.12
19.1.13
In addition a shower room should have
19.1.14
19.1.15
19.1.16
19.1.17
19.1.18
19.1.19
19.1.20
19.1.21
19.1.22
19.1.23
19.1.24
19.1.25
In addition a bathroom should have
19.1.26
19.1.27
19.1.28

## 20_Kitchens
20. Kitchens
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
20.1.1
20.1.2
20.1.3
20.1.4
20.1.5
20.1.6
20.1.7
20.1.8
20.1.9
20.1.10
20.1.11
20.1.12
20.1.13

## 21_Dwellings
21_Dwellings
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
21.1.0 | Dwellings
21.1.1
21.1.2
21.1.3
21.1.4
21.1.5
21.1.6
21.1.7
21.1.8
21.1.9
21.1.10
21.1.11
21.1.12
21.1.13
21.2.0 | Provision for Adaptation
21.2.1
21.2.2
21.2.3
21.2.4
21.2.5
21.2.6
21.2.7
21.2.8
21.2.9
21.2.10
21.2.11
21.2.12
21.2.13
21.2.14
21.2.15
21.2.16
21.2.17

## 22_Surfaces and Finishes
22. Surfaces and Finishes
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
22.1.1
22.1.2
22.1.3
22.1.4
22.1.5
22.1.6
22.1.7
22.1.8
22.1.9
22.1.10
22.1.11

## 23_Communication Systems
23. Communication Systems
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
23.1.1
23.1.2
23.1.3
23.1.4
23.1.5
23.1.6
23.1.7
23.1.8
23.1.9
23.1.10

## 24_Signs and Wayfinding
24. Signs and Wayfinding
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
24.1.1
24.1.2
24.1.3
24.1.4
24.1.5
24.1.6
24.1.7
24.1.8
24.1.9
24.1.10
24.1.11
24.1.12

## 25_Lighting
25. Lighting
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
25.1.1
25.1.2
25.1.3
25.1.4
25.1.5
25.1.6
25.1.7
25.1.8

## 26_Sound
26. Sound
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
26.1.1
26.1.2
26.1.3
26.1.4
26.1.5
26.1.6

## 27_Management and Maintenance
27. Management and Maintenance
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
27.1.1
27.1.2
27.1.3
27.1.4
27.1.5
27.1.6
27.1.7
27.1.8
27.1.9
27.1.10
27.1.11
27.1.12
27.1.13
27.1.14
27.1.15
27.1.16
27.1.17
27.1.18

## 28_Listed Buildings
28. Listed Buildings
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
28.1.1
28.1.2

## 29_Playgrounds
29. Playgrounds
Item | DFA2 Standard | Compliant with DFA2 | Not Compliant with DFA2 but exceeds Part M Requirements | Not Compliant with DFA2 | Notes
29.1.1 |  | n/a | n/a | n/a
29.1.2 |  | n/a | n/a | n/a
29.1.3 |  | n/a | n/a | n/a
29.1.4 |  | n/a | n/a | n/a
29.1.5 |  | n/a | n/a | n/a
29.1.6 |  | n/a | n/a | n/a
29.1.7 |  | n/a | n/a | n/a
29.1.8 |  | n/a | n/a | n/a
29.1.9 |  | n/a | n/a | n/a
29.1.10 |  | n/a | n/a | n/a
29.1.11 |  | n/a | n/a | n/a
29.1.12 |  | n/a | n/a | n/a
29.1.13 |  | n/a | n/a | n/a
29.1.14 |  | n/a | n/a | n/a
29.1.15 |  | n/a | n/a | n/a
29.1.16 |  | n/a | n/a | n/a