7th February 2023

Rob Griffin

Principal Planner

Development Management South

Planning, Licensing and Building Control

Growth and Development Directorate

Manchester City Council

PO Box 532

Manchester

M60 2LA

Dear Rob,

Discharge of condition 7 of planning permission 131147/FO/2021

Manchester College, Northenden Campus, Sale Road, Northenden, M23 0DD

Following the planning approval at Manchester College, Northenden, Pegasus Group has been instructed on behalf of their client, Miller Homes North West, to submit a discharge of condition application following minor changes in relation to the drainage strategy. This relates to condition 7 of planning permission 131147/FO/2021, which states:

“7) The greenfield areas of Phase 1 of the development (plots 90-125 & 146-218), as shown on approved Drawing Reference: 40-01 P1, shall be carried out in accordance with the parameters and drainage strategy set out in Drainage Technical Note 882187 LLFA L02 and the Flood Risk Assessment 882187-R1(02)-FRA hereby approved. Prior to the commencement of any above ground works for the greenfield areas of Phase 1 (plots 90-125 & 146-218), full details and locations of the soakaway plots shall be submitted to and approved in writing by the Local Planning Authority. This shall include:

- Detailed design drainage layout.

- Hydraulic calculation of the soakaways, which shall conform to the non-technical standards for SuDS, include evidence that the drainage system has been designed (unless an area is designated to hold and/or convey water as part of the design) so that flooding does not occur during a 1 in 100 year rainfall event with allowance for 40% climate change in any part of a building.

- Where flooding is predicted by hydraulic calculation during a 1 in 100 year rainfall event with allowance for 40% climate change, evidence of how the volume will be managed onsite.

- Assessment of overland flow routes for extreme events that is diverted away from buildings (including basements). Overland flow routes need to be designed to convey the flood water in a safe manner in the event of a blockage or exceedance of the proposed drainage system capacity including inlet structures. A layout with overland flow routes needs to be presented with appreciation of these overland flow routes with regards to the properties on site and adjacent properties off site.

The approved scheme shall be implemented prior to the first occupation of any greenfield areas in Phase 1 (plots 90-125 & 146-218).”

As you will recall, condition 7 was formally discharged on 21st March 2022, however, there is now a need to re-discharge this condition following minor changes in the drainage strategy.

This application is the resubmission of the previously application - CDN/22/0754 following refusal due to insufficient information. On your email dated 07.12.2022, the following was stated:

"As the submitted documents indicate the strategy has been revised since the CDN/21/0980 and CDN/21/0981 approvals, please submit full details to meet the wording of Condition 7 in 131147/FO/2021.

Refer to the Decision Notice for details.

The submission will need to include full details of both the piped and the soakaway systems, and details of any revisions to accommodate the changes and where these have been made.

A technical memo summarising the currently presented drainage strategy is required.

Latest details of the adopting authority for the sewerage."

To address these comments, the following information has been submitted to discharge the condition:

- 40-01 Adoptable Drainage Layout

- 40-24 Private Soakaways-Sheet 1 P3

- 2023-02-03-RSK Technical Memo Con 7

- Soakaway Testing Locations Rev A

- Northenden - Infiltration Testing - July 22

The changes to the amended plans have been made to the soakaways for plots 146-147 & 214-217 which were removed due to poor testing results. Soakaways for the remainder of the site have also been repositioned or made deeper to comply with building regulations, previously they were too close to adjacent plot boundaries.

In reviewing the information detailed above, I trust you have all the information that you require to validate this application and approve the updated details associated with condition 7 pursuant to planning permission 131147/FO/2021. We also trust that the application can be promptly determined following the submission of the additional information requested on your email dated 07.12.2022.

I look forward to receiving confirmation of validation of this application in due course, however; should you have any queries in the meantime please do not hesitate to contact me on the details provided below.

Yours sincerely

Kayleigh Healey

Planner

kayleigh.healey@pegasusgroup.co.uk

dd. 0161 393 3339