## Sheet1
SimpsonHaugh
Victoria House
Sample Schedule
10122-SHP-Z0-A-G251-SC-XX-0002
28.07.2022 | Rev 02 - DOMIS ISSUE TO SHA Final Review
Sample Number | Description/Specification | Location | Plannning Drawing Reference | Proposed Sample/Specification Info Submission Date
1 | VMU - Brick Slip, Perforated Panel and Window Sample [All Elevations] Ref: Bryden Wood Drawing (220117-BWT-ZZ-DR-Y-0070), Lancashire Double Glazing (Dwg Ref VIC LDG XX XX DR 3100 C02) Alsecco Ecomin 400 External Thermal Insulation Composite System comprising mineral wool insulation and finished with Meldorfer flat-facing lightweight brick slips ) in stretcher bond and stacked header bond - Alsecco Fugenmortel A Alt-Stuhr Nr 13.5 in reduced recessed bucket handle joint - Full height rapid vent & clear glazed window with PPC IGP-HWF Classic 5903 Bright Clay finish Perforated Panel - Full height clear glazed window - Technal FY65 | All Elevations, levels 02 to 23 IGP-HWF Classic 5903 Bright Clay finish also applies to all external metalwork - louvres, cappings, trims, cills, curtain walling, copings, level 23 metal infill panels and level 24 penthouse balustrades | 10122-A-B5D9-G200-E-NE-003 10122-A-B5D9-G200-E-NW-003 10122-A-B5D9-G200-E-SE-003 10122-A-B5D9-G200-E-SW-003 | 11th August
2 | Capless Clear Glazed Curtain Walling [Ground - First Floor All Elevations] Ref: Technal MX Toggle CW System (VIC LDG XX XX DR 3102 P01) - 6/8mm clear low e toughened glass acoustically laminated - Black Silicone. Black Packer - IGP-HWF Classic 5903 Bright Clay finish | All Elevations, GF to level 01 | 10122-A-B5D9-G200-E-NE-003 10122-A-B5D9-G200-E-NW-003 10122-A-B5D9-G200-E-SE-003 10122-A-B5D9-G200-E-SW-003 | 11th August
3 | Capped Clear Glazed Curtain Walling [Level 24 All Elevations] Ref: Lancashire Double Glazing (VIC LDG XX XX DR 3105 P01) - 6/8mm clear low e toughened glass acoustically laminated - IGP-HWF Classic 5903 Bright Clay finish | All Elevations, level 24 penthouse façade only | 10109-A-B5D8-G200-E-N-100 | 11th August
4 | Substation Door Sample - Double Steel Door Set - IGP-HWF Classic 5903 Bright Clay finish | North West Elevation - GF | 10122-A-B5D9-G200-E-NW-003 | 11th August
5 | External Louvres - Louvred Doors and Curtain Wall Louvre Panels [Ground - First Floor All Elevations] Ref: Lancashire Double Glazing VIC-LDG-XX-XX-DR-X-3104-PO1 - IGP-HWF Classic 5903 Bright Clay finish | All Elevations, GF to level 01 | 10122-A-B5D9-G200-E-NE-003 10122-A-B5D9-G200-E-NW-003 10122-A-B5D9-G200-E-SE-003 10122-A-B5D9-G200-E-SW-003 10122-A-B5D9-G251-D-TY5-003 10122-A-B5D9-G251-D-TY7-003 | 11th August
6 | Roof Terrace Door [Second and Level 24] Ref: Lancashire Double Glazing VIC-LDG-XX-XX-DR-X-3105-PO1 - Aluminium framed glazed hinged doorset - IGP-HWF Classic 5903 Bright Clay finish | South East Elevation, Level 02 North West Elevation, Level 24 | 10122-A-B5D9-G200-E-NE-003 10122-A-B5D9-G200-E-NW-003 10122-A-B5D9-G200-E-SE-003 10122-A-B5D9-G200-E-SW-003 | 11th August
7 | Perforated Panel - Rapid Vents, Roof Terrace Crown and Panel Infill [Second Level & Level 23 All Elevations] Ref: Bryden Wood Drawing (2201 - PPC IGP-HWF Classic 5903 Bright Clay finish Perforated Panel | All Elevations, level 02 roof terrace and level 23 above windows | 10122-A-B5D9-G200-E-NE-003 10122-A-B5D9-G200-E-NW-003 10122-A-B5D9-G200-E-SE-003 10122-A-B5D9-G200-E-SW-003 | 11th August
8 | Opaque Glazed Separation Screen [Level 24] Ref: SHA Drawing 10122-SHP-Z0-A-G240-DE-24-0001 - Opaque glazed screen. - 10MM toughned frosted glass with raduis corners. - 60mm x 30mm box section steel support posts powder coated IGP-HWF Classic 5903 Bright Clay finish. | Level 24 Penthouse Terraces | N/A | 11th August
9 | External Metal Balustrade [Level 24] Ref: SHA Drawing 10122-SHP-Z0-A-G240-DE-24-0001 - Metal Balustrade - IGP-HWF Classic 5903 Bright Clay finish | Level 24 Penthouse Terraces | N/A | 11th August
10 | Façade Quality Control Management Plan - DOMIS Document (July 2022) | All elevations - Alsecco system & Curtain walling | N/A | 11th August
11 | Brick Slip Best Practice Manual -Quality Control Management | All elevations - Alsecco system | N/A