## Report Cover 23-01619
Interim Report
Report No.: | 23-01619-0
Initial Date of Issue:
Client | Zak Rees Barrington
Client Address: | 1 Farrington Avenue Withington Manchester M20 1ER
Contact(s): | Zak Rees Barrington
Project | Garage Area
Quotation No.: | Q22-29417 | Date Received: | 2023-01-19
Order No.: |  | Date Instructed: | 2023-01-19
No. of Samples: | 2
Turnaround (Wkdays): | 10 | Results Due: | 2023-02-01
Date Approved: |  | Subcon Results Due: | 2023-02-09
Approved By:
Details:
Please note that the interim data available has passed our Quality Control Criteria but has not been verified by an approved signatory and may be subject to amendment on approval. Chemtest cannot therefore be held responsible for decisions made on interim data sets but only for the data submitted on a final report containing an approval date and signature.

## Gas
Project: Garage Area
Client: Zak Rees Barrington | Chemtest Job No.: |  |  |  | 23-01619
Quotation No.: Q22-29417 | Chemtest Sample ID.: |  |  |  | 1576421
| Client Sample ID.: |  |  |  | Sample 1
| Sample Location: |  |  |  | Garage Area
| Sample Type: |  |  |  | GAS
| Date Sampled: |  |  |  | 2023-01-12
| Time Sampled: |  |  |  | 1215
Determinand | Accred. | SOP | Units | LOD
Methane | S |  | % v/v | 0.50 | To Follow
Carbon Dioxide | S |  | % v/v | 0.50 | To Follow

## Soil
Project: Garage Area
Client: Zak Rees Barrington | Chemtest Job No.: |  |  |  | 23-01619
Quotation No.: Q22-29417 | Chemtest Sample ID.: |  |  |  | 1576420
| Client Sample ID.: |  |  |  | Sample 1
| Sample Location: |  |  |  | Garage Area
| Sample Type: |  |  |  | SOIL
| Date Sampled: |  |  |  | 2023-01-12
| Time Sampled: |  |  |  | 1210
| Asbestos Lab: |  |  |  | DURHAM
Determinand | Accred. | SOP | Units | LOD
ACM Type | U | 2192 |  | N/A | -
Asbestos Identification | U | 2192 |  | N/A | No Asbestos Detected
Asbestos by Gravimetry | U | 2192 | % | 0.001 | -
Total Asbestos | U | 2192 | % | 0.001 | -
Moisture | N | 2030 | % | 0.020 | 13
Acidity | N | N/A | mg CaCO3/l | 1.0 | < 1.0
Alkali Reserve | N | 2105 | g NaOH eq | 0.010 | < 0.010
Chromatogram (TPH) | N |  |  | N/A | See Attached
pH | U | 2010 |  | 4.0 | 6.3
Sulphate (2:1 Water Soluble) as SO4 | U | 2120 | g/l | 0.010 | < 0.010
Chloride (Water Soluble) | U | 2220 | g/l | 0.010 | < 0.010
Cyanide (Complex) | U | 2300 | mg/kg | 0.50 | < 0.50
Cyanide (Free) | U | 2300 | mg/kg | 0.50 | < 0.50
Cyanide (Total) | U | 2300 | mg/kg | 0.50 | < 0.50
Thiocyanate | U | 2300 | mg/kg | 5.0 | < 5.0
Sulphide (Easily Liberatable) | N | 2325 | mg/kg | 0.50 | 1.2
Ammoniacal Nitrogen | U | 2425 | mg/kg | 0.50 | 15
Iron (Total) | N | 2430 | mg/kg | 100 | 8600
Sulphate (Total) | U | 2430 | mg/kg | 100 | < 100
Sulphate (Acid Soluble) | U | 2430 | % | 0.010 | 0.046
Arsenic | U | 2455 | mg/kg | 0.5 | 10
Barium | U | 2455 | mg/kg | 0 | 55
Cadmium | U | 2455 | mg/kg | 0.10 | 0.18
Molybdenum | U | 2455 | mg/kg | 0.5 | 1.5
Antimony | N | 2455 | mg/kg | 2.0 | < 2.0
Copper | U | 2455 | mg/kg | 0.50 | 24
Mercury | U | 2455 | mg/kg | 0.05 | 0.19
Nickel | U | 2455 | mg/kg | 0.50 | 9
Lead | U | 2455 | mg/kg | 0.50 | 84
Selenium | U | 2455 | mg/kg | 0.25 | 0.41
Vanadium | U | 2455 | mg/kg | 0.5 | 12
Zinc | U | 2455 | mg/kg | 0.50 | 55
Aliphatic VPH >C5-C6 | U | 2780 | mg/kg | 0.05 | < 0.05
Aliphatic VPH >C6-C7 | U | 2780 | mg/kg | 0.05 | < 0.05
Aliphatic VPH >C7-C8 | U | 2780 | mg/kg | 0.05 | < 0.05
Aliphatic VPH >C8-C10 | U | 2780 | mg/kg | 0.05 | < 0.05
Total Aliphatic VPH >C5-C10 | U | 2780 | mg/kg | 0.25 | < 0.25
Aliphatic EPH >C10-C12 | U | 2690 | mg/kg | 2.00 | 2.5
Aliphatic EPH >C12-C16 | U | 2690 | mg/kg | 1.00 | 6.7
Aliphatic EPH >C16-C21 | U | 2690 | mg/kg | 2.00 | 4.5
Aliphatic EPH >C21-C35 | U | 2690 | mg/kg | 3.00 | 6.5
Aliphatic EPH >C35-C40 | N | 2690 | mg/kg | 1.00 | < 1.0
Total Aliphatic EPH >C10-C35 | U | 2690 | mg/kg | 5.00 | 20
Total Aliphatic EPH >C10-C40 | N | 2690 | mg/kg | 10.00 | 20.29
Aromatic VPH >C5-C7 | U | 2780 | mg/kg | 0.05 | < 0.05
Aromatic VPH >C7-C8 | U | 2780 | mg/kg | 0.05 | < 0.05
Aromatic VPH >C8-C10 | U | 2780 | mg/kg | 0.05 | < 0.05
Total Aromatic VPH >C5-C10 | U | 2780 | mg/kg | 0.25 | < 0.25
Aromatic EPH >C10-C12 | U | 2690 | mg/kg | 1.00 | < 1.0
Aromatic EPH >C12-C16 | U | 2690 | mg/kg | 1.00 | 4.1
Aromatic EPH >C16-C21 | N | 2690 | mg/kg | 2.00 | 21
Aromatic EPH >C21-C35 | U | 2690 | mg/kg | 2.00 | 37
Aromatic EPH >C35-C40 | N | 2690 | mg/kg | 1.00 | 3.5
Total Aromatic EPH >C10-C35 | U | 2690 | mg/kg | 5.00 | 63
Total Aromatic EPH >C10-C40 | N | 2690 | mg/kg | 10.00 | 65.61
Total VPH >C5-C10 | U | 2780 | mg/kg | 0.50 | < 0.50
Total EPH >C10-C35 | U | 2690 | mg/kg | 10.00 | 83
Total EPH >C10-C40 | N | 2690 | mg/kg | 10.00 | 85.9
Total TPH >C6-C40 | U | 2670 | mg/kg | 10 | 74
Dichlorodifluoromethane | U | 2760 | µg/kg | 1.0 | < 1.0
Chloromethane | U | 2760 | µg/kg | 1.0 | < 1.0
Vinyl Chloride | U | 2760 | µg/kg | 1.0 | < 1.0
Bromomethane | U | 2760 | µg/kg | 20 | < 20
Chloroethane | U | 2760 | µg/kg | 2.0 | < 2.0
Trichlorofluoromethane | U | 2760 | µg/kg | 1.0 | < 1.0
1,1-Dichloroethene | U | 2760 | µg/kg | 1.0 | < 1.0
Trans 1,2-Dichloroethene | U | 2760 | µg/kg | 1.0 | < 1.0
1,1-Dichloroethane | U | 2760 | µg/kg | 1.0 | < 1.0
cis 1,2-Dichloroethene | U | 2760 | µg/kg | 1.0 | < 1.0
Bromochloromethane | U | 2760 | µg/kg | 5.0 | < 5.0
Trichloromethane | U | 2760 | µg/kg | 1.0 | < 1.0
1,1,1-Trichloroethane | U | 2760 | µg/kg | 1.0 | < 1.0
Tetrachloromethane | U | 2760 | µg/kg | 1.0 | < 1.0
1,1-Dichloropropene | U | 2760 | µg/kg | 1.0 | < 1.0
Benzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,2-Dichloroethane | U | 2760 | µg/kg | 2.0 | < 2.0
Trichloroethene | N | 2760 | µg/kg | 1.0 | < 1.0
1,2-Dichloropropane | U | 2760 | µg/kg | 1.0 | < 1.0
Dibromomethane | U | 2760 | µg/kg | 1.0 | < 1.0
Bromodichloromethane | U | 2760 | µg/kg | 5.0 | < 5.0
cis-1,3-Dichloropropene | N | 2760 | µg/kg | 10 | < 10
Toluene | U | 2760 | µg/kg | 1.0 | < 1.0
Trans-1,3-Dichloropropene | N | 2760 | µg/kg | 10 | < 10
1,1,2-Trichloroethane | U | 2760 | µg/kg | 10 | < 10
Tetrachloroethene | U | 2760 | µg/kg | 1.0 | < 1.0
1,3-Dichloropropane | U | 2760 | µg/kg | 2.0 | < 2.0
Dibromochloromethane | U | 2760 | µg/kg | 10 | < 10
1,2-Dibromoethane | U | 2760 | µg/kg | 5.0 | < 5.0
Chlorobenzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,1,1,2-Tetrachloroethane | U | 2760 | µg/kg | 2.0 | < 2.0
Ethylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
m & p-Xylene | U | 2760 | µg/kg | 1.0 | < 1.0
o-Xylene | U | 2760 | µg/kg | 1.0 | < 1.0
Styrene | U | 2760 | µg/kg | 1.0 | < 1.0
Tribromomethane | U | 2760 | µg/kg | 1.0 | < 1.0
Isopropylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
Bromobenzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,2,3-Trichloropropane | N | 2760 | µg/kg | 50 | < 50
N-Propylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
2-Chlorotoluene | U | 2760 | µg/kg | 1.0 | < 1.0
1,3,5-Trimethylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
4-Chlorotoluene | U | 2760 | µg/kg | 1.0 | < 1.0
Tert-Butylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,2,4-Trimethylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
Sec-Butylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,3-Dichlorobenzene | U | 2760 | µg/kg | 1.0 | < 1.0
4-Isopropyltoluene | U | 2760 | µg/kg | 1.0 | < 1.0
1,4-Dichlorobenzene | U | 2760 | µg/kg | 1.0 | < 1.0
N-Butylbenzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,2-Dichlorobenzene | U | 2760 | µg/kg | 1.0 | < 1.0
1,2-Dibromo-3-Chloropropane | U | 2760 | µg/kg | 50 | < 50
1,2,4-Trichlorobenzene | U | 2760 | µg/kg | 1.0 | < 1.0
Hexachlorobutadiene | N | 2760 | µg/kg | 1.0 | < 1.0
1,2,3-Trichlorobenzene | U | 2760 | µg/kg | 2.0 | < 2.0
Methyl Tert-Butyl Ether | U | 2760 | µg/kg | 1.0 | < 1.0
Naphthalene | U | 2800 | mg/kg | 0.10 | 0.18
Acenaphthylene | N | 2800 | mg/kg | 0.10 | 0.16
Acenaphthene | U | 2800 | mg/kg | 0.10 | 0.17
Fluorene | U | 2800 | mg/kg | 0.10 | 0.17
Phenanthrene | U | 2800 | mg/kg | 0.10 | 2
Anthracene | U | 2800 | mg/kg | 0.10 | 0.47
Fluoranthene | U | 2800 | mg/kg | 0.10 | 3.6
Pyrene | U | 2800 | mg/kg | 0.10 | 2.8
Benzo[a]anthracene | U | 2800 | mg/kg | 0.10 | 1.6
Chrysene | U | 2800 | mg/kg | 0.10 | 1.6
Benzo[b]fluoranthene | U | 2800 | mg/kg | 0.10 | 2.1
Benzo[k]fluoranthene | U | 2800 | mg/kg | 0.10 | 0.9
Benzo[a]pyrene | U | 2800 | mg/kg | 0.10 | 1.3
Indeno(1,2,3-c,d)Pyrene | U | 2800 | mg/kg | 0.10 | 1.1
Dibenz(a,h)Anthracene | N | 2800 | mg/kg | 0.10 | < 0.10
Benzo[g,h,i]perylene | U | 2800 | mg/kg | 0.10 | 1.1
Total Of 16 PAH's | N | 2800 | mg/kg | 2.0 | 19

## 1576420-Soil TPH Chrom
TPH Chromatogram on Soil Sample: 1576420

## TPH Fuel Type
Job | Sample | Matrix | Location | Sample Ref | Sample ID | Sample Depth (m) | Gasoline / Diesel Present | TPH Interpretation
23-01619 | 1576420 | S | Garage Area |  | Sample 1 |  |  | N/A

## SOPs
SOP | Title | Parameters included | Method summary
2010 | pH Value of Soils | pH | pH Meter
2030 | Moisture and Stone Content of Soils(Requirement of MCERTS) | Moisture content | Determination of moisture content of soil as a percentage of its as received mass obtained at <37°C.
2040 | Soil Description(Requirement of MCERTS) | Soil description | As received soil is described based upon BS5930
2105 | Alkali Reserve | Alkali Reserve | Titration
2120 | Water Soluble Boron, Sulphate, Magnesium & Chromium | Boron; Sulphate; Magnesium; Chromium | Aqueous extraction / ICP-OES
2192 | Asbestos | Asbestos | Polarised light microscopy / Gravimetry
2220 | Water soluble Chloride in Soils | Chloride | Aqueous extraction and measuremernt by ‘Aquakem 600’ Discrete Analyser using ferric nitrate / mercuric thiocyanate.
2300 | Cyanides & Thiocyanate in Soils | Free (or easy liberatable) Cyanide; total Cyanide; complex Cyanide; Thiocyanate | Allkaline extraction followed by colorimetric determination using Automated Flow Injection Analyser.
2325 | Sulphide in Soils | Sulphide | Steam distillation with sulphuric acid / analysis by ‘Aquakem 600’ Discrete Analyser, using N,N–dimethyl-p-phenylenediamine.
2425 | Extractable Ammonium in soils | Ammonium | Extraction with potassium chloride solution / analysis by ‘Aquakem 600’ Discrete Analyser using sodium salicylate and sodium dichloroisocyanurate.
2430 | Total Sulphate in soils | Total Sulphate | Acid digestion followed by determination of sulphate in extract by ICP-OES.
2455 | Acid Soluble Metals in Soils | Metals, including: Arsenic; Barium; Beryllium; Cadmium; Chromium; Cobalt; Copper; Lead; Manganese; Mercury; Molybdenum; Nickel; Selenium; Vanadium; Zinc | Acid digestion followed by determination of metals in extract by ICP-MS.
2670 | Total Petroleum Hydrocarbons (TPH) in Soils by GC-FID | TPH (C6–C40); optional carbon banding, e.g. 3-band – GRO, DRO & LRO*TPH C8–C40 | Dichloromethane extraction / GC-FID
2690 | EPH A/A Split | Aliphatics: >C10–C12, >C12–C16, >C16–C21, >C21– C35, >C35– C40 Aromatics: >C10–C12, >C12–C16, >C16– C21, >C21– C35, >C35– C40 | Acetone/Heptane extraction / GCxGC FID detection
2760 | Volatile Organic Compounds (VOCs) in Soils by Headspace GC-MS | Volatile organic compounds, including BTEX and halogenated Aliphatic/Aromatics.(cf. USEPA Method 8260)*please refer to UKAS schedule | Automated headspace gas chromatographic (GC) analysis of a soil sample, as received, with mass spectrometric (MS) detection of volatile organic compounds.
2780 | VPH A/A Split | Aliphatics: >C5–C6, >C6–C7,>C7–C8,>C8-C10 Aromatics: >C5–C7,>C7-C8,>C8–C10 | Water extraction / Headspace GCxGC FID detection
2800 | Speciated Polynuclear Aromatic Hydrocarbons (PAH) in Soil by GC-MS | Acenaphthene*; Acenaphthylene; Anthracene*; Benzo[a]Anthracene*; Benzo[a]Pyrene*; Benzo[b]Fluoranthene*; Benzo[ghi]Perylene*; Benzo[k]Fluoranthene; Chrysene*; Dibenz[ah]Anthracene; Fluoranthene*; Fluorene*; Indeno[123cd]Pyrene*; Naphthalene*; Phenanthrene*; Pyrene* | Dichloromethane extraction / GC-MS

## Information
Key
U | UKAS accredited
M | MCERTS and UKAS accredited
N | Unaccredited
S | This analysis has been subcontracted to a UKAS accredited laboratory that is accredited for this analysis
SN | This analysis has been subcontracted to a UKAS accredited laboratory that is not accredited for this analysis
T | This analysis has been subcontracted to an unaccredited laboratory
I/S | Insufficient Sample
U/S | Unsuitable Sample
N/E | not evaluated
< | "less than"
> | "greater than"
SOP | Standard operating procedure
LOD | Limit of detection
Comments or interpretations are beyond the scope of UKAS accreditation
The results relate only to the items tested
Uncertainty of measurement for the determinands tested are available upon request
None of the results in this report have been recovery corrected
All results are expressed on a dry weight basis
The following tests were analysed on samples as received and the results subsequently corrected to a dry weight basis TPH, BTEX, VOCs, SVOCs, PCBs, Phenols
For all other tests the samples were dried at < 37°C prior to analysis
All Asbestos testing is performed at the indicated laboratory
Issue numbers are sequential starting with 1 all subsequent reports are incremented by 1
Sample Deviation Codes
A - Date of sampling not supplied
B - Sample age exceeds stability time (sampling to extraction)
C - Sample not received in appropriate containers
D - Broken Container
E - Insufficient Sample (Applies to LOI in Trommel Fines Only)
Sample Retention and Disposal
All soil samples will be retained for a period of 30 days from the date of receipt
All water samples will be retained for 14 days from the date of receipt
Charges may apply to extended sample storage
If you require extended retention of samples, please email your requirements to:
customerservices@chemtest.com