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	Application details:
	144872/FH/2026|Erection of single-storey extension with elevation alterations.|33 Burlington Road Manchester M20 4QA



LLFA Comments 22/01/2026
The following Information has been considered:
	Planning Portal uploads:
	06/01/2026-19/01/2026


	Further submission emails:
	

	Pre-Application Advice:
	




	Any LLFA Comments to LPA

	
Approval recommended with no further condition required.



Informative:
Culvert:
MCC records highlight that the underground culvert is located within close proximity to the site (approximately  40m to the north of the site), while our records are frequently updated to ensure the highest level of accuracy, the records cannot guarantee 100% accuracy for all culverted assets. Therefore, we would request that the applicant informs the onsite contractor to remain observant and to take the appropriate safety precautions during excavation works. If any major unknown drainage assets are found beneath the site, then further investigation works should take place to identify the asset and MCC Lead Local Flood Authority (LLFA) should be contacted immediately. Any alterations to an ordinary watercourse will require consent from MCC LLFA under Land Drainage Act 1991. The developer can apply for land drainage consent (if required) via the following link: https://manchester.portal.uk.empro.verintcloudservices.com/site/myaccount/request/pr_watercourse_land. 
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