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                           Environmental Health

                              Internal Memorandum

To

Head of Planning



FAO: Sam Elliott
From

Head of Compliance, Enforcement and Community Safety
Contact Officer:  Laura Miller


Our Ref: PR202601-1719898

Date: 
27 January 2026                    Telephone: 31742
Consultation on Planning Application

Application No: 144667/FO/2025
Description: Installation of replacement rooftop plant and associated plant enclosure.
Location:  Manchester Travel Inn Metro 112 - 114 Portland Street Manchester M1 4WB
I write in response to your memorandum of the 7 January 2026 regarding the above application and to inform you that I have considered the application and recommend that the following conditions are attached to any approval.

NSE6*
a) Externally mounted ancillary plant, equipment and servicing shall be selected and/or acoustically treated in accordance with a scheme designed so as to achieve a rating level of 5dB (LAeq) below the typical background (LA90) level at the nearest noise sensitive location. Prior to commencement of the use hereby approved the scheme shall be submitted to and approved in writing by the City Council as local planning authority in order to secure a reduction in the level of noise emanating from the site. The scheme shall be implemented in full before the use commences or as otherwise agreed in writing by the City Council as local planning authority.
b)  Prior to the operation of the scheme a verification report shall be submitted to and approved in writing by the City Council as local planning authority to validate that the work undertaken throughout the development conforms to the recommendations and requirements in the approved acoustic report. The report shall also undertake post completion testing to confirm that the noise criteria have been met. Any instances of non-conformity with the recommendations in the verification report shall be detailed along with any measures required to be undertaken prior to operation of the scheme to ensure compliance with the agreed noise criteria.
Reason - To minimise the impact of the development and to prevent a general increase in pre-existing background noise levels around the site.
*We have considered the submitted acoustic report (Scotch Partners, 6 June 2025). Whilst the report does not account for the proposed acoustic screen the plant has been shown to meet the predicted noise levels at the nearest noise sensitive receptors without it, so the noise will only be reduced further with the screen in place.  The report is accepted for part a) of this condition and we will await a verification report once the replacement plant and enclosure have been installed. 

Information for Developers guidance documents can be downloaded using the
following link: 
http://www.manchester.gov.uk/info/500207/planning_and_regeneration/1962/additional_planning_guidance/3
Should you wish to discuss this matter further please contact Laura Miller
Samantha Stabler
Head of Compliance, Enforcement and Community Safety
