## Cases
ActivityID | OpenedDate | ClosedDate | ActivityCategoryDescription | UnitDescription | OfficerDescription | LARef | PremisesName | Premises Address | WardDescription | SRequestText
498121 | 2015-01-28 | 2015-01-28 | C Land Int Plng 21 Consultation | SPECIALIST - CONTAMINATED LAND | Tim Birch (DO NOT USE) | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall
499949 | 2015-02-26 | 2015-02-27 | Plan - Additional Information 14 | NS City Wide Support | Erica Corbett | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 26/ 2/2015 15:58 JG4 Jennifer Atkinson 26/02/2015 14:40 Fw: Charminster Drive - 107259 Erica Sorry to chase, the applicant wants to avoid a pre commencement condition on this and is prepared to produced the information now. They need clarification on your requirements. Can you take a look at the below and let me know? Thanks Jen _____________________________________________ Jennifer Atkinson Acting Senior Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 26/02/2015 14:38 ----- Jennifer Atkinson/Chief.Executives/MCC 17/02/2015 11:07 To Erica Webb/Neighbourhood.Services/MCC cc Subject Fw: Charminster Drive - 107259 Erica Further to your email of the 5 February, please can you let me have any comments on the attached? Thanks Jennifer _____________________________________________ Jennifer Atkinson Acting Senior Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 17/02/2015 11:06 ----- Garry Griffiths <garry@hna-architects.co.uk> 10/02/2015 10:23 To "j.atkinson@manchester.gov.uk" <j.atkinson@manchester.gov.uk>, "d.jones5@manchester.gov.uk" <d.jones5@manchester.gov.uk> cc Ken Waddington <ken@hna-architects.co.uk>, Phil Wiggett <Phil@wiggett.co.uk>, Mark Sexton <MSexton@wiggett.co.uk> Subject RE: Charminster Drive - 107259 Attention of Derek Jones. Following the email below from Jennifer (who is on leave this week) requesting an Acoustic report be carried out at the above project, we have forwarded the requirements from the Environmental Health Department to two of our sound engineers for quotations, and have both come back to say that the requirements stated refer to a previous BS 1999 Reference, and have some queries on what is being requested by EH as highlighted below; “There is some ambiguity in the wording of the draft planning condition as it refers on the one hand to “noise from North Manchester Hospital” and then refers to traffic noise, requiring measurements “during early morning rush hour periods”. The condition also refers to an outdated Standard, BS8233:1999, which has since been superseded by BS8233:2014, although the criteria are essentially the same.” “The comments from Manchester City council do, on the face of it, appear to be fairly standard. The internal noise levels they refer to do appear to have been extracted from the 1999 version of BS8233, not the current 2014 version of the standard though. They do however make specific reference to noise from the North Manchester hospital, in which case the City Council may feel that an assessment of this using the principles of BS 4142:2014 may be appropriate.” We would therefore be grateful if you could forward our email to the Environment Agency Officer dealing with the applications, and request that they contact us to review the requirements. As discussed with Jennifer, we are hoping to submit the necessary Acoustic report within the Planning Timeframe, to avoid a pre-commencement condition, and would therefore appreciate your earliest response. We trust the above to be in order, and should you need to discuss any of the above please feel free to tontact us Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 06 February 2015 11:33 To: Garry Griffiths Cc: Ken Waddington; Phil Wiggett Subject: Re: Charminster Drive - 107259 Garry Thanks for the email. I have now had a response from EH regarding there proposed conditions. They have requested that the following condition be imposed on the consent. As such, if you wish to avoid this you will need to provide the relevant information. Before the development commences a scheme for acoustically insulating the proposed residential accommodation against noise from North Manchester Hospital shall be submitted to and approved in writing by the City Council as local planning authority. There may be other actual or potential sources of noise which require consideration on or near the site, including any local commercial/industrial premises. The approved noise insulation scheme shall be completed before any of the dwelling units are occupied. Noise survey data must include measurements taken during early morning rush-hour periods and night time to determine the appropriate sound insulation measures necessary. The internal noise criterion are as follows: Bedrooms (night time - 23.00 - 07.00) 30 dB LAeq Individual noise events should not normally exceed 45 dB LAmax (BS 8233:1999) Living Rooms (daytime - 07.00 - 23.00) 40 dB L Aeq Gardens and terraces (daytime) 55 dB L Aeq Reason: To secure a reduction in noise from traffic or other sources in order to protect future residents from noise disturbance. I have taken a look at the layout and it is much improved and is in line with our discussion. I would be grateful if you could progress an amended plan on this basis which I can then formally consider. I would also be interested to see the specification of the front boundary treatment and gates. Thanks Jen _____________________________________________ Jennifer Atkinson Acting Senior Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA Garry Griffiths <garry@hna-archit ects.co.uk> To "j.atkinson@manchester.gov.uk" 06/02/2015 10:49 <j.atkinson@manchester.gov.uk> cc Ken Waddington <ken@hna-architects.co.uk>, Phil Subject Charminster Drive - 107259 you, and the meeting was very informative and beneficial. As discussed, we have re-addressed the scheme layout (in draft) curtilage as requested for your comments/approval. Also attached within the PDF (page 2) are the boundary proposals which show proposed frontage boundaries and gates to driveways, together with plot and site boundaries as previously discussed (Detail 1 & 4 are as our current hard landscaping drawing, and the site boundary to the public footpath will be as the previously outline approved application) Could you send over the Document for the storage and recycle waste material, and we will complete the form and submit. We trust the above to be in order, and look forward to your initial comments in due course. In the meantime we will collate the additional information ie Ecology Report/Drainage Layouts etc. Any queries, please don’t hesitate to contact us. Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. (See attached file: 1072 - Sketch Scheme 4.pdf) ********************************************************************** This email and any files transmitted with it are confidential and intended solely for the use of the individual or entity to whom they are addressed. If you have received this email in error please notify the system manager. The full text of the Council's email disclaimer is available at http://www.manchester.gov.uk/emaildisclaimer. This footnote also confirms that this email message has been swept for the presence of computer viruses. Please contact internet.administrators@manchester.gov.uk with any queries. **********************************************************************
501099 | 2015-03-18 | 2015-04-08 01:00 | Site Investigation/Risk Assessment 21 | NS City Wide Support | Laura Miller | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 19/ 3/2015 9:40 JG4 Jennifer Atkinson 18/03/2015 13:54 Fw: 107259 - Land at Charminster drive Laura Please find attached updated land contamination information in relation to the attached. If there are any further comments please could you let me know. Many thanks Jen _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 18/03/2015 13:52 ----- Garry Griffiths <garry@hna-architects.co.uk> 18/03/2015 10:57 To "j.atkinson@manchester.gov.uk" <j.atkinson@manchester.gov.uk> cc Dave Higgins <Dave@wiggett.co.uk>, Ken Waddington <ken@hna-architects.co.uk>, Mark Sexton <MSexton@wiggett.co.uk>, Phil Wiggett <Phil@wiggett.co.uk>, Sarah Griggs <Sarah.Griggs@bvconsulting.co.uk>, "Tom Riggall" <tom@hna-architects.co.uk> Subject RE: 107259 - Land at Charminster drive Hi Jennifer, With regards to the above project, please find attached the phase 2 site investigation report carried out by Build Vision, received yesterday for your information. Also, did you managed to look at the draft report and proposed planning conditions? We still have the Acoustic report to sort out, and would request if this can be attached to the Decision Notice as a condition, but worded in a way that enables work to start on site? If we had it worded along the lines of Approval of Acoustic report is to be achieved prior to building above DPC level, this would give us plenty of time to have the survey carried out and approved by Environmental Health. We trust the above to be in order, however should you wish to discuss any of the above, or require any further information please don’t hesitate to contact us? Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 09 March 2015 15:41 To: Garry Griffiths Cc: Dave Higgins; Ken Waddington; Mark Sexton; Phil Wiggett; Sarah Griggs; Tom Riggall Subject: RE: 107259 - Land at Charminster drive Thanks Gary What I will now start to do is draft the report and planning conditions. Hopefully the S106 and additional reports will be agreed in due course to avoid any additional pre-commencement conditions. Thanks Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA Garry Griffiths <garry@hna-archit ects.co.uk> To "j.atkinson@manchester.gov.uk" 09/03/2015 15:35 <j.atkinson@manchester.gov.uk> cc Phil Wiggett <Phil@wiggett.co.uk>, Dave Higgins "Mark Sexton" <MSexton@wiggett.co.uk>, Sarah Griggs <Sarah.Griggs@bvconsulting.co.uk>, Ken Waddington <ken@hna-architects.co.uk>, Tom Riggall <tom@hna-architects.co.uk> Subject Charminster drive Hi Jennifer, Further to your email below, please find attached the amended site amendments as discussed previously. We can also confirm that an your requested extension of time of April 2015 is acceptable. Also, we have forwarded the flood risk/drainage comments to our Engineer (Build Vision) who are looking to provide the requested information at the earliest opportunity. We are still dealing with the Acoustic Report and are hopeful to have this with you within the next couple of weeks. We trust the above to be acceptable, however should you require any further information please do not hesitate to contact us. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 09 March 2015 09:36 To: Garry Griffiths Subject: Fw: 107259 - Land at Charminster drive Are you able to now send over that revised layout showing the amendments to the boundary treatment? _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 09/03/2015 09:35 ----- Jennifer Atkinson/Chief.Ex ecutives/MCC To Garry Griffiths 05/03/2015 14:22 <garry@hna-architects.co.uk> cc Subject RE: 107259 - Land at Charminster drive(Document link: Jennifer Atkinson) Garry ecology report to GMEU. I am still waiting for your noise data. If the applicant wants to obtain planning approval without a drainage condition, satisfactory evidence should be provided that details the following: - Surface water drainage layout including proposed overland flow routes for extreme events (up to a 1 in 100 year including climate change allowance). - Details of surface water attenuation that offers a reduction in surface water runoff rate in line with the Manchester Trafford and Salford Strategic Flood Risk Assessment, i.e. at least a 50% reduction in runoff rate compared to the existing rates, as the site is located within Conurbation Core Critical Drainage Area. - Hydraulic calculations to support the drainage proposal. - Details of how the scheme shall be maintained and managed after completion. Given that I am still awaiting the above and still negotiating the S106, I proposed to agree an extension of time with you until 30 April. As detailed before, if we agree all the details it will be possible to determine the application prior to this. I will look forward to hearing from you Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ********************************************************************** This email and any files transmitted with it are confidential and intended solely for the use of the individual or entity to whom they are addressed. If you have received this email in error please notify the system manager. The full text of the Council's email disclaimer is available at http://www.manchester.gov.uk/emaildisclaimer. This footnote also confirms that this email message has been swept for the presence of computer viruses. Please contact internet.administrators@manchester.gov.uk with any queries. ********************************************************************** (See attached file: 1072-004 (rev e) - hard landscaping details.pdf)(See attached file: 1072-002 (rev g) - site layout plan.pdf)
502565 | 2015-04-15 01:00 | 2015-04-27 01:00 | Plan - Additional Information 14 | NS City Wide Support | Erica Corbett | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall
504859 | 2015-05-20 01:00 | 2015-06-09 01:00 | Preliminary Risk Assessment 21 | NS City Wide Support | Laura Miller | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 22/ 5/2015 8:27 JG4 Jennifer Atkinson 20/05/2015 15:33 107259/FO/2014/N1 - Land at charminster drive Further to your recent memo on the above planning application, the following condition was imposed on the planning permission: Notwithstanding site investigation report prepared by build vision Ltd (ref. 1139) stamped as received by the City Council, as Local Planning Authority, on the 30 October 2014, a) Before the development hereby approved commences, a report (the Preliminary Risk Assessment) to identify and evaluate all potential sources and impacts of any ground contamination, groundwater contamination and/or ground gas relevant to the site shall be submitted to and approved in writing by the City Council as local planning authority. The Preliminary Risk Assessment shall conform to City Council's current guidance document (Planning Guidance in Relation to Ground Contamination). In the event of the Preliminary Risk Assessment identifying risks which in the written opinion of the Local Planning Authority require further investigation, the development shall not commence until a scheme for the investigation of the site and the identification of remediation measures (the Site Investigation Proposal) has been submitted to and approved in writing by the City Council as local planning authority. The measures for investigating the site identified in the Site Investigation Proposal shall be carried out, before the development commences and a report prepared outlining what measures, if any, are required to remediate the land (the Site Investigation Report and/or Remediation Strategy) which shall be submitted to and approved in writing by the City Council as local planning authority. b) When the development commences, the development shall be carried out in accordance with the previously agreed Remediation Strategy and a Completion/Verification Report shall be submitted to and approved in writing by the City Council as local planning authority. In the event that ground contamination, groundwater contamination and/or ground gas, not previously identified, are found to be present on the site at any time before the development is occupied, then development shall cease and/or the development shall not be occupied until, a report outlining what measures, if any, are required to remediate the land (the Revised Remediation Strategy) is submitted to and approved in writing by the City Council as local planning authority and the development shall be carried out in accordance with the Revised Remediation Strategy, which shall take precedence over any Remediation Strategy or earlier Revised Remediation Strategy. Reason - To ensure contamination is dealt with at the site pursuant to policy EN18 of the Manchester Core Strategy (2012). The applicant has submitted the attached information. Please can you let me know if these details are acceptable. Kind regards Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA
510028 | 2015-07-31 01:00 | 2015-08-20 01:00 | EP Plan Consult 21 Discharge of Condition/s | NS City Wide Support | Graeme Souter | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 5/ 8/2015 10:27 JG4 Jennifer Atkinson 31/07/2015 12:07 Fw: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 The following condition was imposed on the above planning permission: Within one month of the date of this planning permission, a scheme for acoustically insulating the residential accommodation against noise from the surrounding area shall be submitted to and approved in writing by the City Council as local planning authority. The approved noise insulation scheme shall be completed before any of the dwelling units are occupied. Reason - To secure a reduction in noise from the surrounding area in order to protect future residents from noise nuisance, pursuant to policies SP1, H1 and DM1 of the Core Strategy. The below information has been submitted in respect of this matter. Please can you let me know if the details are acceptable. Thanks Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 31/07/2015 12:05 ----- Garry Griffiths <garry@hna-architects.co.uk> 31/07/2015 10:28 To "j.atkinson@manchester.gov.uk" <j.atkinson@manchester.gov.uk> cc Dave Higgins <Dave@wiggett.co.uk>, Mark Sexton <MSexton@wiggett.co.uk>, Tom Riggall <tom@hna-architects.co.uk> Subject Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Good Morning Jennifer, Further to the above discharge of condition application, please find attached the acoustic report produced by Leema Technologies Ltd in relation to condition 14 of the Planning Decision Notice. Apologies for the delay on this, but the survey could not be carried out until the existing slab was taken out on site, which took longer than expected. We trust the above to be in order, and look forward to your comments/approval in due course. Should you have any queries, please do not hesitate to contact us. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 29 May 2015 16:09 To: Garry Griffiths Cc: Dave Higgins; Mark Sexton Subject: RE: FW: Charminster Drive- Discharge of conditions Thanks that's great. I am working on the conditions so hopefully will get something to you shortly. Can you let me know when you do make a start on site? _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA <garry@hna-archit ects.co.uk> To "j.atkinson@manchester.gov.uk" 29/05/2015 16:04 <j.atkinson@manchester.gov.uk> cc Mark Sexton <MSexton@wiggett.co.uk>, Dave Higgins <Dave@wiggett.co.uk> Subject RE: FW: Charminster Drive- Discharge of conditions Hi Jennifer, I Have just spoken with Wiggett Construction, and they have confirmed the existing concrete slab which you gave approval to on 15th April. anticipated to remove, and should be finished within the next 2 I trust the above to be in order, however should you require any further information please do not hesitate to contact me. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 29 May 2015 15:45 To: Garry Griffiths Subject: Re: FW: Charminster Drive- Discharge of conditions Gary Are you able to confirm if works have started at the site? Thanks Jen _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ********************************************************************* * This email and any files transmitted with it are confidential and intended solely for the use of the individual or entity to whom they are addressed. If you have received this email in error please notify the system manager. The full text of the Council's email disclaimer is available at http://www.manchester.gov.uk/emaildisclaimer. This footnote also confirms that this email message has been swept for the presence of computer viruses. Please contact internet.administrators@manchester.gov.uk with any queries. ********************************************************************* *
512571 | 2015-09-09 01:00 | 2015-09-22 01:00 | EP Plan Consult 21 Discharge of Condition/s | NS City Wide Support | Graeme Souter | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 15/ 9/2015 9:50 JG4 Jennifer Atkinson 09/09/2015 14:38 Subject Charmonster Drive, Crumpsall Graeme Please see below email regarding planning application 107259. This is further to your memo of the 20 Aug. Please can you let me know if the information is acceptable and the condition can be discharged. Thanks Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 09/09/2015 14:36 ----- Rob Smith <robsmith@leematech.co.uk> 04/09/2015 10:35 To <j.atkinson@manchester.gov.uk> cc "'Garry Griffiths'" <garry@hna-architects.co.uk> Subject Charmonster Drive, Crumpsall Dear Jennifer Your Ref: 107259 I write further to your recent letter of the 20th August 2015 to Mr. Garry Griffiths at HNA architects regarding the discharge of planning condition 14. In your letter you state that the results contained within tables 8 – 13 of the report issued by Leema Technologies (ref: DRUK/ACC/RS/WCCDCM/2454, dated the 24th July 2015) suggested that the internal levels will at 43dB LAeq exceed the guide value of 30dB LAeq and therefore the condition would not be discharged. I write to advise you that the last two columns in tables 8 – 13 contained a regrettable typographical error inasmuch as they referred to the calculated LAmax values within the proposed dwellings rather than the LAeq values as stated. Consequently the design target night time should have read 45dB LAmax and the last column should have read: calculated level, night time, dB LAmax. Although this was a genuine typographical error the situation could have been clarified with reference to the calculation tables appended to the report. I do apologise for this error and attach an amended copy of the report (DRUK/ACC/RS/WCCDCM/2454.1) that details the correct parameters as intended. As you will see the calculated daytime LAeq and night time LAmax levels comply with the guidance and as such no additional noise attenuation measures, other than those detailed in the report, will be necessary. I hope the above clarifies the situation, however should you have any queries please don’t hesitate to contact me either via email or on: 07917 727 901. With apologies for any inconvenience this error may have caused. Kind Regards Rob Smith For and on behalf of Leema Technologies Ltd We would also be grateful if you could keep our details on file for use in future projects you have that may require any or all of the following services: · Air tightness testing & consultancy service · Acoustic / sound insulation testing · SAP – Standard Assessment Procedure for domestic dwellings · EPC – Energy Performance Certification · SBEM – Simplified Building Energy Model · Code for sustainable homes · Thermographical Surveys · Energy Statements The Warehouse 1A Stamford Street Leicester LE1 6NL Tel: 0116 2853777 Fax: 0116 2853778 Mob: 07917 727901 email: robsmith@leematech.co.uk
525565 | 2016-03-31 01:00 | 2016-04-22 01:00 | EP Plan Consult 21 Discharge of Condition/s | NS City Wide Support | Graeme Souter | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 4/ 4/2016 11:11 JH3 Fw: Charminster Drive Graeme Can you remember this one? Your memo is attached, I am just trying to establish if the information was ever acceptable. The noise report is attached. Jen _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 31/03/2016 11:29 ----- Rob Smith <robsmith@leematech.co.uk> 06/10/2015 18:48 To <j.atkinson@manchester.gov.uk> cc "'Garry Griffiths'" <garry@hna-architects.co.uk>, "'Mark'" <mark@leematech.co.uk> Subject Charminster Drive Dear Jennifer. I write further to our recent telephone conversation regarding the acoustic report for the above location. As detailed in my earlier email of the 4th September tables 8 – 13 in the original report contained a transposition error in the columns relating to the calculated Lmax levels, this was however addressed in the revised report (reference DRUK/ACC/RS/WCCDCM/2454.1) appended to that email. To assist your colleagues the majority of the report remains the same as the original report (DRUK/ACC/RS/WCCDCM/2454) however tables 8 – 13 on pages 16 – 18 have been revised to include the corrected references to the calculated Lmax levels, all of which are below the guide value of 45dB. Please don’t hesitate to contact me should you have any queries. Kind Regards Rob Smith For and on behalf of Leema Technologies Ltd We would also be grateful if you could keep our details on file for use in future projects you have that may require any or all of the following services: · Air tightness testing & consultancy service · Acoustic / sound insulation testing · SAP – Standard Assessment Procedure for domestic dwellings · EPC – Energy Performance Certification · SBEM – Simplified Building Energy Model · Code for sustainable homes · Thermographical Surveys · Energy Statements The Warehouse 1A Stamford Street Leicester LE1 6NL Tel: 0116 2853777 Fax: 0116 2853778 Mob: 07917 727901
528996 | 2016-05-19 01:00 | 2016-06-07 01:00 | Remediation Strategy 21 | NS City Wide Support | Graeme Souter | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 20/ 5/2016 17:16 JH3 Fw: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Please could you let me know if the attached information meets the outstanding details in respect of ground conditions Thanks Jen _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 19/05/2016 14:37 ----- Sarah Griggs <Sarah.Griggs@bvconsulting.co.uk> 18/05/2016 17:06 To Garry Griffiths <garry@hna-architects.co.uk>, "j.atkinson@manchester.gov.uk" <j.atkinson@manchester.gov.uk> cc Mark Brierley <Mark@wiggett.co.uk>, Mark Sexton <MSexton@wiggett.co.uk>, Tom Riggall <tom@hna-architects.co.uk> Subject RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Hi Garry, The attached response was sent on the 23.06.15 regarding the gas calibration and remediation strategy and the drainage conditions. The drainage strategy and design has since been revised and flows restricted further to meet UU’s requirements for adoption and this has been approved by UU, please find attached the revised drainage, UU S104 Technical Approval and private sewer connection approval. Regards Sarah Sarah Griggs For and on behalf of Build Vision Consulting Engineers Suite1, Westleigh House, Wakefield Road, Denby Dale, Huddersfield. HD8 8QJ. Tel: 01484 868257 DISCLAIMER: This e-mail is submitted by Build Vision Consulting Engineers Ltd. Suite1, Westleigh House, Wakefield Road, Denby Dale, Huddersfield. HD8 8QJ. Reg No In Cardiff 4061398. 7978323 The individual submitting it does so in his/her capacity as an employee, of the Limited Company, for it and on its behalf. This email and its contents are subject to copyright and the information in it is confidential and may be legally privileged. It is intended only for the named recipient(s). Access to this email by anyone else is unauthorised. If you are not the intended recipient, any disclosure, copying, distribution or any action taken or omitted to be taken in reliance on it is prohibited and may be unlawful. If received in error please contact Build Vision quoting the name of the sender and the addressee, then delete it from your system. CONDITIONS OF USE: The copyright in the designs or other information contained in this/these attached file(s) prepared by Build Vision Consulting Engineers (Build Vision) and in any work executed from any documents and/or drawings contained in it/them shall remain the property of Build Vision. A licence is hereby granted to the user to use the said designs only for the purposes connected with its contractual obligations on the project to which the designs relate. No other use is permitted. Breach of the terms of the licence will terminate the licence forthwith whereupon this medium and any copies thereof must be returned to us. Build Vision accept no responsibility for errors caused by its own hardware or software or that of third parties in the production of this/these file(s) or the designs or other information contained on this/these file(s) to the users own hardware or software by whatever means is carried out entirely at the users risk and Build Vision will have no liability for any errors or inaccuracies arising therefrom. The production of amended augmented or updated information by the user is entirely the responsibility of the user and Build Vision shall have no responsibility in respect thereof whatsoever. Build Vision Limited trading as Build Vision Consulting Engineers. A list of the directors and their professional qualifications is available at the registered office. Registered Office: 141 Union Street, Oldham.OL1 1TE Reg.No in England: 7978323 From: Garry Griffiths [mailto:garry@hna-architects.co.uk] Sent: 18 May 2016 16:00 To: j.atkinson@manchester.gov.uk Cc: Mark Brierley; Mark Sexton; Tom Riggall; Sarah Griggs Subject: RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Hi Jennifer, Thanks for this. Look forward to receiving EH Comments in due course. Sarah, Please can you provide myself/Jennifer with the information below when available. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 18 May 2016 15:53 To: Garry Griffiths Cc: Mark Brierley; Mark Sexton; Tom Riggall Subject: RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Gary No I haven't but I will chase. Have you been able to provide the details re. ground conditions? When I wrote to you I was awaiting the following: Provision of the calibration certificate(s) for the gas monitoring equipment to cover the monitoring period. Provision of a detailed remediation strategy to include the specific details with regard to the proposed gas protection measures. After completion of site works, a verification report is required to validate that the work undertaken conforms to the remediation proposals received and agreed by the City Council. _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA Garry Griffiths <garry@hna-archit ects.co.uk> To "j.atkinson@manchester.gov.uk" 18/05/2016 11:36 <j.atkinson@manchester.gov.uk> cc Mark Sexton <MSexton@wiggett.co.uk>, Mark Brierley <Mark@wiggett.co.uk>, Tom Riggall <tom@hna-architects.co.uk> Subject RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Morning Jennifer, Hope you are well. Can you confirm if you had any feedback/approval from Environmental Health? If so, I could do with a confirmation letter stating that all the conditions have now been met, or will be complied with once the development has been completed. Any queries please let me know? Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 25 April 2016 13:21 To: Garry Griffiths Subject: RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Gary Condition 14 looks ok now. I am just seeking clarification from my environmental health colleagues about which document is approved. I hope this is of some assistance. Thanks Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA Garry Griffiths <garry@hna-archit ects.co.uk> To "j.atkinson@manchester.gov.uk" 07/04/2016 10:48 <j.atkinson@manchester.gov.uk> cc Subject RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Thanks Jeniffer, It's much appreciated. Sorry to pester you on this but I keep being asked by the project surveyor about approvals. Look forward to hearing from you. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. -----Original Message----- From: j.atkinson@manchester.gov.uk [mailto:j.atkinson@manchester.gov.uk] Sent: 07 April 2016 10:25 To: Garry Griffiths Cc: Mark Brierley; s.wills@manchester.gov.uk Subject: RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Gary I have chased EH about this because they previously said the repot was not correct but this was clarified so I just want to understand where they think this is up to. I will chase again] Jennifer _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA Garry Griffiths <garry@hna-archit ects.co.uk> To "j.atkinson@manchester.gov.uk" 07/04/2016 10:22 <j.atkinson@manchester.gov.uk> cc "s.wills@manchester.gov.uk" <s.wills@manchester.gov.uk>, Mark Brierley <Mark@wiggett.co.uk> Subject RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Hi Jennifer, Further to my emails below, have you managed to look through the discharge of condition application regarding the above project? I could really do with an update of what conditions (if any) still require any information to be submitted. If you need to discuss any of the above please feel free to contact me. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. From: Garry Griffiths Sent: 30 March 2016 12:20 To: 'j.atkinson@manchester.gov.uk' Cc: 's.wills@manchester.gov.uk'; 'Mark Brierley' Subject: RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Hi Jennifer, Hope you had a good Easter break? Following on from my email below, have you managed to look into the above discharge of condition application for Charminster Drive? I apologise for pushing on this but we have a project surveyor on this project who requires the necessary information to enable funding to the project. If you can get back to me at your earliest opportunity with an update it would be much appreciated. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. From: Garry Griffiths Sent: 22 March 2016 11:46 To: 's.wills@manchester.gov.uk' Cc: 'Mark Sexton'; Tom Riggall; 'planning@manchester.gov.uk'; 'j.atkinson@manchester.gov.uk'; 'Mark Brierley' Subject: RE: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Hi Sue, I believe Jennifer is on leave now until Tuesday, however I was wondering if you could look to see if a more upto date Discharge of Condition Letter has been produced regarding the above project? The last letter we received was dated 10th June 2015 (attached) however since then we have forwarded additional information relating to the comments within the attached letter, and would be grateful if you could check to see if a updated letter was sent out, or if not, when this could be produced? We have a surveying contractor on the project and we need to keep them updated with conditions/approvals etc. I know this is not your project, however any update would be much appreciated. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. From: Garry Griffiths Sent: 26 February 2016 09:48 To: 'j.atkinson@manchester.gov.uk' Cc: 'Mark Sexton'; Tom Riggall; 'planning@manchester.gov.uk' Subject: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Hi Jennifer. With regards to the above project, please find attached the latest letter we have from Manchester City Council regarding the discharge of conditions application. Since then we have submitted the relevant additional information required, and would be grateful if you could provide us with an updated letter which states which of the conditions can formally be discharged, and if what conditions are waiting for any additional information, if any? The developer is seeking funding for this site, and has requested an update as below, and therefore we would be grateful for your earliest response? I trust the above to be in order, however should you need to discuss any of the above please feel free to ring me. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk Web: www.hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. From: Mark Sexton [mailto:MSexton@wiggett.co.uk] Sent: 24 February 2016 11:06 To: Garry Griffiths; Tom Riggall Subject: FW: PLANNING TRACKER - CHARMINSTER DRIVE Garry/Tom Can you look through your planning tracker for Charminster Drive and update. If there are no changes to the situation can you update the date, so we can submit to the Agent administering the funding we have applied for. Thanks Mark Sexton Design and Build Co-ordinator Wiggett Construction Ltd ' 0161 626 3010 7 0161 627 1373 Mobile 0797 246 6248 * MSexton@wiggett.co.uk " www.wiggett.co.uk From: Dave Walker Sent: 23 February 2016 14:34 To: Mark Sexton <MSexton@wiggett.co.uk> Subject: PLANNING TRACKER - CHARMINSTER DRIVE Mark, Wilkinson Cowan have asked for an updated Planning Control Tracker on Charminster Drive. Can you please review and update where appropriate, even if it just the date which needs updating. Kind Regards David Walker Financial Director Wiggett Construction Ltd ' 0161 626 3010 7 0161 627 1373 * davewalker@wiggett.co.uk " www.wiggett.co.uk Visit our website at www.wiggett.co.uk Safety Begins With ME – Think Safety! This message is confidential. You should not copy it or disclose its contents to anyone. You may use and apply the information only for the intended purpose. Internet communications are not secure and therefore Wiggett Construction does not accept legal responsibility for the contents of this message. Any views or opinions presented are only those of the author and not those of Wiggett Construction. If this email has come to you in error please delete it and any attachments. Please note that Wiggett Construction may intercept incoming and outgoing e-mail communications. Registered Address - Wiggett Construction Ltd, Viking House, 449 Middleton, Road, Chadderton, Oldham, Lancs, OL9 9LB. This email has been scanned for viruses by PradoSafe Mail Filter ********************************************************************* * This email and any files transmitted with it are confidential and intended solely for the use of the individual or entity to whom they are addressed. If you have received this email in error please notify the system manager. The full text of the Council's email disclaimer is available at http://www.manchester.gov.uk/emaildisclaimer. This footnote also confirms that this email message has been swept for the presence of computer viruses. Please contact internet.administrators@manchester.gov.uk with any queries. ********************************************************************* * ----- Message from Sarah Griggs <Sarah.Griggs@bvconsulting.co.uk> on Tue, 23 Jun 2015 14:11:46 +0000 ----- To: Garry Griffiths <garry@hna-architects.co.uk>, Mark Sexton <MSexton@wiggett.co.uk> Subject: RE: Charminster Drive - Conditions Hi Gary, With regards to the comments received for condition 5, please find attached the gas monitoring calibration certificate. The BV SI Report includes a detailed remediation strategy which includes gas protection measures, please find attached the preliminary foundation drawings indicating the recommended gas protection measures. Validation can not be provided until the development is complete. In response to the comments received regarding the surface water drainage strategy for condition 18, the drainage strategy attached sent previously confirms that there are two drainage discharges, the private sewer discharge and the S104 drainage discharge limited by flow control. Comparison of pre and post development flows are included in the drainage strategy and a 50% reduction in flows acheived in accordance with the SFRA. Flood Routes and Access and Egress Routes are shown on the Flood route plan attached sent previously. Should you require any further information or if you would like to discuss anything please let me know. Regards Sarah Sarah Griggs For and on behalf of Build Vision Consulting Engineers Suite1, Westleigh House, Wakefield Road, Denby Dale, Huddersfield. HD8 8QJ. Tel: 01484 868257 DISCLAIMER: This e-mail is submitted by Build Vision Consulting Engineers Ltd. Suite1, Westleigh House, Wakefield Road, Denby Dale, Huddersfield. HD8 8QJ. Reg No In Cardiff 4061398. 7978323 The individual submitting it does so in his/her capacity as an employee, of the Limited Company, for it and on its behalf. This email and its contents are subject to copyright and the information in it is confidential and may be legally privileged. It is intended only for the named recipient(s). Access to this email by anyone else is unauthorised. If you are not the intended recipient, any disclosure, copying, distribution or any action taken or omitted to be taken in reliance on it is prohibited and may be unlawful. If received in error please contact Build Vision quoting the name of the sender and the addressee, then delete it from your system. CONDITIONS OF USE: The copyright in the designs or other information contained in this/these attached file(s) prepared by Build Vision Consulting Engineers (Build Vision) and in any work executed from any documents and/or drawings contained in it/them shall remain the property of Build Vision. A licence is hereby granted to the user to use the said designs only for the purposes connected with its contractual obligations on the project to which the designs relate. No other use is permitted. Breach of the terms of the licence will terminate the licence forthwith whereupon this medium and any copies thereof must be returned to us. Build Vision accept no responsibility for errors caused by its own hardware or software or that of third parties in the production of this/these file(s) or the designs or other information contained on this/these file(s) to the users own hardware or software by whatever means is carried out entirely at the users risk and Build Vision will have no liability for any errors or inaccuracies arising therefrom. The production of amended augmented or updated information by the user is entirely the responsibility of the user and Build Vision shall have no responsibility in respect thereof whatsoever. Build Vision Limited trading as Build Vision Consulting Engineers. A list of the directors and their professional qualifications is available at the registered office. Registered Office: 141 Union Street, Oldham.OL1 1TE Reg.No in England: 7978323 From: Garry Griffiths [mailto:garry@hna-architects.co.uk] Sent: 23 June 2015 09:39 To: Mark Sexton Cc: Sarah Griggs Subject: Charminster Drive - Conditions Mark/Sarah Please find attached an update from Manchester City Council regarding the discharge of conditions application as follows; Condition 4 – Landscaping - Wiggett Construction produced the landscape layout which now requires additional information (sizes of trees i.e. girth) (Wiggetts) Condition 5 – Ground Condition – Calibration Certificates/Remediation Statergy Required – (Build Vision) Condition 12 – Construction Management – Discharged Condition 14 – Acoustic Report – No report available - Wiggett to chase up (Wiggetts) Condition 18 – Surface Water – Clarification regarding outfalls/total discharge. United Utility Approval, Flood Water to be managed (Build Vision) We would be grateful if you could provide the relevant information at your earliest convenience to enable the above conditions to be discharged. Kind Regards Garry Griffiths Company Director HNAarchitects Architecture ¦ Planning ¦ Design Tel: 0161 688 1820 E-mail: garry@hna-architects.co.uk The information contained in this e-mail is intended solely for the stated recipient(s) alone. Access to this e-mail by anyone else is unauthorised. If you are not the intended recipient of this e-mail take note that you must not copy, disclose or distribute its contents, as to do so may be deemed unlawful. If you have received this e-mail in error you must notify us immediately by using the reply facility on your e-mail system, or by writing to: HNA Architects Ltd, Hollinwood Business Centre, Albert Street, Oldham, Lancashire, OL8 3QL. HNA Architects Ltd is registered in England & Wales with Company Number 8662846. ----- Message from "Heaton, Daniel" <Daniel.Heaton1@uuplc.co.uk> on Tue, 19 Apr 2016 16:18:28 +0000 ----- To: Sarah Griggs <Sarah.Griggs@bvconsulting.co.uk> cc: SewerAdoptions <SewerAdoptions@uuplc.co.uk>, "Mark Sexton (MSexton@wiggett.co.uk)" <MSexton@wiggett.co.uk>, "DaveWalker@wiggett.co.uk" <DaveWalker@wiggett.co.uk> Subject: CHARMINSTER DRIVE HOUSING DEVELOPMENT, CRUMPSALL, MANCHE STER – UU Ref 4200012482 Good afternoon Sarah, CHARMINSTER DRIVE HOUSING DEVELOPMENT, CRUMPSALL, MANCHESTER – UU Ref 4200012482 I refer to your correspondence dated 19/04/2016 and to the plans enclosed therewith, and would inform you that your submission is now satisfactory for incorporating into a Water Industry Act 1991, Section 104 Agreement, providing that the works can be constructed in full accordance with the acceptable drawings numbered as follows:-. S104 Drainage Layout – Dwg. 1139-901 (Rev P8) 1:20 Manholes Details – Dwg. 1139-905 (Rev P9) Long Sections – Dwg. 1139-904 (Rev P5) A3 Site Plan - Dwg. 1139-703 (Rev P2) United Utilities Typical Details (copy not required) To enable the Section 104 Agreement to be completed, I would be grateful if you could now provide me with the following: · Cheque/payment for the remainder of the S104 fees £1,430 - £1,430 Already received = £0 to pay The Drainage layout plan should be coloured up as follows: - Foul – Brown, Surface Water – Blue, Combined – Red, Site Boundary – Green and Easement areas Yellow. Please do not colour highway drainage, existing sewers or private drainage connections, as they do not form part of this agreement. Should you wish to start on site prior to the S104 Agreement being completed then you must also sign and return the enclosed “Request for approval to commence construction of sewers before signing of agreement form” Full details of this arrangement are in our ‘Developers Guide’ document a copy of which should already have been provided. The Developer or his contractor is responsible for verifying all existing service positions and levels on site, including those of the existing public sewerage system, before work commences. Any costs associated with service diversions required to enable the scheme to be carried in accordance with the acceptable drawings must be borne by the developer. Where connections are to be made to existing public sewer manholes, the costs for rebuilding the manhole to United Utilities requirements, if deemed necessary by U.U. Field Staff, must be borne by the developer. If the works cannot be constructed in accordance with the acceptable plans, the developer must submit revised proposals for appraisal before continuing with the works. The developer must also obtain specific permission to construct any new manhole or make any connections to the public sewerage system. Please visit our web-site where you will find the S106 Sewer Connection Application form. The form is in two parts but only the second part is required for this scheme which is called ‘Request for permission to work on a public sewer’ application form, which the appointed contractor must complete and return to the address on the form. Here is the link to the form: http://www.unitedutilities.com/connecting-public-sewer.aspx I look forward to receiving the drawings and information requested above at your earliest convenience, but should you require any further information in the meantime, please do not hesitate to contact me. Kind regards Danny Heaton Developer Services Engineer Developer Services and Planning Operational Services United Utilities T: 01925 679408 (internal 79408) E: SewerAdoptions@uuplc.co.uk unitedutilities.com
533265 | 2016-06-30 01:00 | 2016-07-08 01:00 | Remediation Strategy 21 | SPECIALIST - ENVIRONMENTAL PROTECTION | Graeme Souter | 107259/FO/2014/N1 | 107259/FO/2014/N1 | Street Record Charminster Drive Manchester | Crumpsall | 5/ 7/2016 16:46 JH3 Fw: Charminster Drive- Discharge of conditions - 107259-FO-2014-N1 Sarah Griggs <Sarah.Griggs@bvconsulting.co.uk> 22/06/2016 16:54 To "L.Miller@manchester.gov.uk" <L.Miller@manchester.gov.uk> cc Subject Charminster Drive- Discharge of conditions - 107259-FO-2014- N1 Hi Laura, The planning officer Jen Atkinson asked the architect for the remediation strategy for the above site and I sent the following response: With regards to the remediation strategy, as stated and submitted previously, the BV SI Report includes a detailed remediation strategy which includes capping layers to gardens and gas protection measures and foundation drawings indicating the recommended gas protection measures were also submitted. Please find attached the latest revisions of the foundation drawings. I would appreciate it if you could confirm if this was considered adequate please. Should you require any further information or if you would like to discuss anything please do not hesitate to contact me. Regards Sarah Sarah Griggs For and on behalf of Build Vision Consulting Engineers Suite1, Westleigh House, Wakefield Road, Denby Dale, Huddersfield. HD8 8QJ. Tel: 01484 868257 DISCLAIMER: This e-mail is submitted by Build Vision Consulting Engineers Ltd. Suite1, Westleigh House, Wakefield Road, Denby Dale, Huddersfield. HD8 8QJ. Reg No In Cardiff 4061398. 7978323 The individual submitting it does so in his/her capacity as an employee, of the Limited Company, for it and on its behalf. This email and its contents are subject to copyright and the information in it is confidential and may be legally privileged. It is intended only for the named recipient(s). Access to this email by anyone else is unauthorised. If you are not the intended recipient, any disclosure, copying, distribution or any action taken or omitted to be taken in reliance on it is prohibited and may be unlawful. If received in error please contact Build Vision quoting the name of the sender and the addressee, then delete it from your system. CONDITIONS OF USE: The copyright in the designs or other information contained in this/these attached file(s) prepared by Build Vision Consulting Engineers (Build Vision) and in any work executed from any documents and/or drawings contained in it/them shall remain the property of Build Vision. A licence is hereby granted to the user to use the said designs only for the purposes connected with its contractual obligations on the project to which the designs relate. No other use is permitted. Breach of the terms of the licence will terminate the licence forthwith whereupon this medium and any copies thereof must be returned to us. Build Vision accept no responsibility for errors caused by its own hardware or software or that of third parties in the production of this/these file(s) or the designs or other information contained on this/these file(s) to the users own hardware or software by whatever means is carried out entirely at the users risk and Build Vision will have no liability for any errors or inaccuracies arising therefrom. The production of amended augmented or updated information by the user is entirely the responsibility of the user and Build Vision shall have no responsibility in respect thereof whatsoever. Build Vision Limited trading as Build Vision Consulting Engineers. A list of the directors and their professional qualifications is available at the registered office. Registered Office: 141 Union Street, Oldham.OL1 1TE

## Actions
ActivityID | ActionDiaryId | ActionDetailId | SeqNo | ActionDetailCode | ActionDetailDescription | OfficerDescription | ScheduledDate | ActualDate | NoOfUnits | FileLocation | LinkedActivityDb | LinkedActivityId | ActionDetailText
498121 | 751354 | 5559003 | 1 | CPA | Planning Memo Condition 1 | Simon Rogers |  | 2015-01-28 | 0 | H:\RegulatoryServices\Document Library\CLand\107259\Comments1.doc
498121 | 751354 | 5566755 | 2 | A96 | Review File / Information / Research | Laura Miller |  | 2015-02-02 | 5
498121 | 751354 | 5566756 | 3 | X05 | Office work completed | Laura Miller |  | 2015-02-02 | 0
499949 | 755380 | 5624412 | 1 | AOR | RFS 1st action referred To Officer By | Erica Corbett | 42061 | 2015-02-27 | 0
499949 | 755380 | 5624413 | 1 |  | Reg and Enf Admin |  |  |  | 0
499949 | 755380 | 5626652 | 2 | EPB | PLAN Assess Comment Reports | Erica Corbett |  | 2015-02-27 | 30
499949 | 755380 | 5626653 | 3 | E11 | Contact Planning | Erica Corbett |  | 2015-02-27 | 20 |  |  |  | 27/ 2/2015 13:53 EW3 Hi Jennifer, In response to the comments below, an old version of our noise condition was put on the application in error. Whilst it refers to an old British Standard, the only thing amended with reference to the 2014 version is that we now ask living rooms to meet 35 dB rather than 40dB (which is in fact more stringent). The reference to rush hour noise is within the condition because that is the most common form of concern. I can confirm that in this instance the noise of concern is the hospital and other existing noise and we would wish to see a report that analyses the current background levels at the site and shows what ventilation would be required to meet our internal criteria. If they have not seen it I would advise referring them to our guidance for developers information (although this has also not been updated since the most recent British Standard was released). http://www.manchester.gov.uk/download/downloads/id/19841/environmental _and_public_protection_information_for_developers_gd03 The amended condition would read: NSE4 Before the development commences a scheme for acoustically insulating the proposed residential accommodation against noise from North Manchester Hospital shall be submitted to and approved in writing by the City Council as local planning authority. There may be other actual or potential sources of noise which require consideration on or near the site, including any local commercial/industrial premises. The approved noise insulation scheme shall be completed before any of the dwelling units are occupied. The internal noise criterion are as follows: Bedrooms (night time - 23.00 - 07.00) 30 dB LAeq Individual noise events should not normally exceed 45 dB LAmax Living Rooms (daytime - 07.00 - 23.00) 35 dB L Aeq Gardens and terraces (daytime)* 55 dB L Aeq Reason: To protect future residents from noise disturbance. I believe it should not be difficult to demonstrate compliance however if the consultants wish to contact me to discuss that is fine, Kind regards, Erica Webb
499949 | 755380 | 5626809 | 4 | AE2 | Email from Jennifer to thank | Erica Corbett |  | 2015-02-27 | 10
499949 | 755380 | 5626810 | 5 | X05 | Office work completed | Erica Corbett |  | 2015-02-27 | 0
501099 | 757910 | 5665361 | 1 | APC | Planning Consultation Referred to | Laura Miller | 42081 | 2015-03-20 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2015\Plans\501099.pdf
501099 | 757910 | 5665362 | 1 |  | Officer |  |  |  | 0
501099 | 757910 | 5665363 | 2 | APR | 1st response required by | Laura Miller | 42102.0417 | 2015-04-08 01:00 | 0
501099 | 757910 | 5668122 | 3 | CP2 | Review Supporting Information | Laura Miller |  | 2015-04-08 01:00 | 30
501099 | 757910 | 5668125 | 4 | CSC | Memo - Supporting information response | Laura Miller |  | 2015-04-08 01:00 | 30 | H:\RegulatoryServices\FLARE\Index\EH\LM2\LM201150.doc
501099 | 757910 | 5700712 | 5 | AE1 | Email to Jennifer Atkinson | Laura Miller |  | 2015-04-08 01:00 | 5 |  |  |  | 8/ 4/2015 16:13 LM2 Laura Miller/Environmental.Health/MCC 08/04/2015 16:12 To Jennifer Atkinson/Chief.Executives/MCC@MCC cc Subject Application No: 107259/FO/2014/N1 - Land at Charminster Drive, Manchester. Hi Jennifer, Please find attached regarding the above Information for developers: http://www.manchester.gov.uk/downloads/file/11878/planning_guidance_in _relation_to_ground_contamination Kind Regards Laura Laura Miller MRes, MA, BSc(Hons) Neighbourhood Officer - Environmental Protection Citywide Support - Environmental Health Growth and Neighbourhoods Directorate Manchester City Council 1 Hammerstone Road Manchester M18 8EQ Tel: 0161 234 5004 (Internal: 801 31742) Fax: 0161 274 7309 Email: l.miller@manchester.gov.uk Web: http://www.manchester.gov.uk Please consider the environment before printing an e-mail The way we register to vote in England and Wales is changing. Individual Electoral Registration makes YOU responsible for registering yourself to vote rather than the head of your household. You can find out more by visiting www.manchester.gov.uk/electoralregister This communication may contain information which is confidential and may also be privileged. It is for exclusive use of the intended recipient. If you are not the intended recipient, please do not read, print, re-transmit, store or act in reliance on it or any attachments. If you have received this communication in error, please notify me by email or by telephone and then permanently delete the email and any copies of it.
501099 | 757910 | 5668124 | 6 | CSA | Site entered on GIS | Laura Miller |  | 2015-04-08 01:00 | 0
501099 | 757910 | 5668123 | 7 | EPX | Planning Response Memo Deadline | Laura Miller | 42102.0417 | 2015-04-08 01:00 | 0
501099 | 757910 | 5668129 | 8 | X05 | Office work completed | Laura Miller |  | 2015-04-08 01:00 | 0
502565 | 761150 | 5715771 | 1 | AE2 | Email from Jen Atkinson | Erica Corbett |  | 2015-04-15 01:00 | 10 |  |  |  | 15/ 4/2015 16:47 EW3 Erica Please let me have any comments on the below. Thanks Jen _____________________________________________ Jennifer Atkinson Principal Planner Development Management North Planning Building Control and Licensing - Growth and Neighbourhoods Directorate Manchester City Council Tel: 0161 234 4517 Email: j.atkinson@manchester.gov.uk www.manchester.gov.uk Location address: Manchester City Council Town Hall Extension Lloyd Street Manchester M2 5DB. Postal Address: Manchester City Council P.O. Box 532 Town Hall Manchester M60 2LA ----- Forwarded by Jennifer Atkinson/Chief.Executives/MCC on 15/04/2015 08:28 ----- Garry Griffiths <garry@hna-architects.co.uk> 14/04/2015 16:17 To "j.atkinson@manchester.gov.uk" <j.atkinson@manchester.gov.uk> cc Mark Sexton <MSexton@wiggett.co.uk> Subject Fw: Charminster Drive - Wiggett Construction Ltd - Hospital delivery hours Hi Jennifer, Hope you are well? With regards to the above project, and in relation to the Acoustic report that is due to be carried out, we would be grateful if you could pass the information below, to the Environmental Health Officer dealing with the application on our behalf. We trust the above to be in order, and look forward to your/EA response in due course. In the meantime if you need to discuss any of the above, or anything further related to the application, please done hesitate to contact us. Kind Regards Garry Griffiths HNA - Architects Ltd 0161 688 1820 From: Mark Sexton <MSexton@wiggett.co.uk> Sent: 13 April 2015 10:11 To: Garry Griffiths Subject: FW: Charminster Drive - Wiggett Construction Ltd - Hospital delivery hours Garry Can you provide the information to the planners below regarding delivery and site traffic with the statement below in relation to the acoustic survey. We have discussed the site location with NHS estates department with reference to the noise from vehicle traffic and deliveries. They have confirmed the following · The boiler house runs all the time 365 days a year but I do not think makes much general noise. · Deliveries to the Stores are from 8.00 am to 4.30 pm Monday to Friday no particular part of the day is busier. · Traffic from staff picks up from about 7.30 am to 5.30 pm Monday to Friday , with a lot less activity over weekends. · In addition to this the site does not border the Accident and Emergency Department and is not located directly on the traffic route to the accident and emergency department. In view of the information above relating to our specific site location we do not think that a 24 hour survey is necessary, and would like to agree an acoustic survey with the Environmental Officer that relates to the peak times of noise. Once I have feedback from you I will get Leematek to contact the Environmental Officer to do the acoustic survey. Regards Mark Sexton Design and Build Co-ordinator Wiggett Construction Ltd
502565 | 761150 | 5715772 | 2 | EPB | PLAN Assess Comment Reports | Erica Corbett | 42114.0417 | 2015-04-20 01:00 | 30
502565 | 761150 | 5721596 | 3 | A96 | Review File -advised still want 24 | Richard Knightley |  | 2015-04-20 01:00 | 10
502565 | 761150 | 5721597 | 3 |  | hours |  |  |  | 0
502565 | 761150 | 5721598 | 4 | AE1 | Email to Jen | Erica Corbett |  | 2015-04-20 01:00 | 10 |  |  |  | 20/ 4/2015 10:11 EW3 Hi Jen, I have discussed this with my collagues, and bearing in mind the location and the area we would still like to see a 24 hour survey to get an accurate picture of the site and ensure that the residents are protected, Kind regards, Erica Webb
502565 | 761150 | 5721599 | 5 | A10 | Check if information received Jen | Erica Corbett | 42115.0417 | 2015-04-21 01:00 | 5
502565 | 761150 | 5723961 | 6 | A10 | Check if information received jen | Erica Corbett | 42117.0417 | 2015-04-23 01:00 | 5
502565 | 761150 | 5730647 | 7 | A10 | Check if information received or close | Erica Corbett | 42121.0417 | 2015-04-27 01:00 | 10
502565 | 761150 | 5737110 | 8 | X09 | Enquiry Only | Erica Corbett |  | 2015-04-27 01:00 | 0
504859 | 765862 | 5789678 | 1 | APC | Planning Consultation Referred to | Laura Miller | 42144.0417 | 2015-05-22 01:00 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2015\Plans\504859.pdf
504859 | 765862 | 5789679 | 1 |  | Officer |  |  |  | 0
504859 | 765862 | 5789680 | 2 | APR | 1st response required by | Laura Miller | 42165.0417 | 2015-06-09 01:00 | 0
504859 | 765862 | 5790740 | 3 | CP2 | Review Supporting Information | Laura Miller |  | 2015-06-09 01:00 | 30
504859 | 765862 | 5790743 | 4 | CSC | Memo - Supporting information response | Laura Miller |  | 2015-06-09 01:00 | 30 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2015\LM\LM2 107259 9Jun15.doc
504859 | 765862 | 5822047 | 5 | AE1 | Email to Jennifer Atkinson | Laura Miller | 42164.0417 | 2015-06-09 01:00 | 5 |  |  |  | 9/ 6/2015 11:17 LM2 Laura Miller/Environmental.Health/MCC 09/06/2015 11:16 To Jennifer Atkinson/Chief.Executives/MCC@MCC cc Subject Planning application 107259/FO/2014/N1 - Land at Charminster Drive, Manchester. Hi Jennifer, Please find attached regarding the above Information for developers: http://www.manchester.gov.uk/downloads/file/11878/planning_guidance_in _relation_to_ground_contamination Kind Regards Laura Laura Miller MRes, MA, BSc(Hons) Neighbourhood Officer - Environmental Protection Citywide Support - Environmental Health Growth and Neighbourhoods Directorate Manchester City Council 1 Hammerstone Road Manchester M18 8EQ Tel: 0161 234 5004 (Internal: 801 31742) Fax: 0161 274 7309 Email: l.miller@manchester.gov.uk Web: http://www.manchester.gov.uk Please consider the environment before printing an e-mail The way we register to vote in England and Wales is changing. Individual Electoral Registration makes YOU responsible for registering yourself to vote rather than the head of your household. You can find out more by visiting www.manchester.gov.uk/electoralregister This communication may contain information which is confidential and may also be privileged. It is for exclusive use of the intended recipient. If you are not the intended recipient, please do not read, print, re-transmit, store or act in reliance on it or any attachments. If you have received this communication in error, please notify me by email or by telephone and then permanently delete the email and any copies of it.
504859 | 765862 | 5790741 | 6 | EPX | Planning Response Memo Deadline | Laura Miller | 42165.0417 | 2015-06-09 01:00 | 0
504859 | 765862 | 5790747 | 7 | X05 | Office work completed | Laura Miller |  | 2015-06-09 01:00 | 0
510028 | 776085 | 5938937 | 1 | APC | Planning Consultation Referred to | Graeme Souter | 42217.0417 | 2015-08-12 01:00 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2015\Plans\510028.pdf
510028 | 776085 | 5938938 | 1 |  | Officer |  |  |  | 0
510028 | 776085 | 5938939 | 2 | EPB | PLAN Assess Comment Reports | Graeme Souter | 42223.0417 | 2015-08-12 01:00 | 75
510028 | 776085 | 5938942 | 3 | EPK | PLANNING Memo - Info insufficient to | Graeme Souter |  | 2015-08-12 01:00 | 30 | G:\EOP\RegulatoryServices\Flare\Index\EH\GS5\GS501838.doc
510028 | 776085 | 5938943 | 3 |  | discharge |  |  |  | 0
510028 | 776085 | 5938949 | 4 | X05 | Office work completed - send memo to | Graeme Souter | 42236.0417 | 2015-08-20 01:00 | 0
510028 | 776085 | 5954982 | 4 |  | Jen Atkinson |  |  |  | 0
512571 | 780980 | 6011843 | 1 | APC | Planning Consultation Referred to | Graeme Souter | 42257.0417 | 2015-09-21 01:00 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\Food H&S\2015\Food Inspections\512571.pdf
512571 | 780980 | 6011844 | 1 |  | Officer |  |  |  | 0
512571 | 780980 | 6011845 | 2 | EPB | PLAN Assess Comment Reports | Graeme Souter | 42269.0417 | 2015-09-22 01:00 | 60
512571 | 780980 | 6011847 | 3 | EPE | PLAN Contact Applicant/Consultant |  |  |  | 0
512571 | 780980 | 6011848 | 4 | EPK | PLANNING Memo - Info insufficient to | Graeme Souter |  | 2015-09-22 01:00 | 20 | G:\EOP\RegulatoryServices\Flare\Index\EH\GS5\GS501860.doc
512571 | 780980 | 6011849 | 4 |  | discharge |  |  |  | 0
512571 | 780980 | 6011855 | 5 | X05 | Office work completed | Graeme Souter |  | 2015-09-22 01:00 | 0
525565 | 807139 | 6389564 | 1 | APC | Planning Consultation Referred to | Graeme Souter | 42461.0417 | 2016-04-05 01:00 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2016\Plans\525565
525565 | 807139 | 6389565 | 1 |  | Officer |  |  |  | 0
525565 | 807139 | 6389566 | 2 | EPB | PLAN Assess Comment Reports | Graeme Souter | 42475.0417 | 2016-04-22 01:00 | 30
525565 | 807139 | 6389571 | 3 | EPH | PLANNING Memo Rec. Discharge | Graeme Souter |  | 2016-04-22 01:00 | 15 | G:\EOP\RegulatoryServices\Flare\Index\EH\GS5\GS502085.doc
525565 | 807139 | 6389576 | 4 | X05 | Office work completed | Graeme Souter |  | 2016-04-22 01:00 | 0
528996 | 814800 | 6495652 | 1 | APC | Planning Consultation Referred to | Graeme Souter | 42509.0417 | 2016-05-23 01:00 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2016\Plans\528996
528996 | 814800 | 6495653 | 1 |  | Officer |  |  |  | 0
528996 | 814800 | 6495654 | 2 | APR | 1st response required by | Graeme Souter | 42530.0417 | 2016-06-07 01:00 | 0
528996 | 814800 | 6496445 | 3 | EPB | PLAN Assess Comment Reports | Graeme Souter | 42528.0417 | 2016-06-07 01:00 | 30 |  |  |  | Remediation strategy not supplied calibraiton certificate supplied and in date for the period of monitoiring sept to nov 2014
528996 | 814800 | 6528389 | 4 | AE1 | Email to Jen Atkinson | Graeme Souter |  | 2016-06-07 01:00 | 15 |  |  |  | 7/ 6/2016 14:58 GS5 Hi Jen I have reviewed the information submitted to discharge the contaminated land condition and the detailed remediation strategy detailing the gas protection measures and validation report are still outstanding. I am not sure if there has been anything else submitted? The calibration certificate for the period of gas monitoring has been submitted and is acceptable. Kind regards Graeme
528996 | 814800 | 6528409 | 5 | X05 | Office work completed (see text) | Graeme Souter |  | 2016-06-07 01:00 | 0
533265 | 821844 | 6595548 | 1 | APC | Planning Consultation Referred to | Graeme Souter | 42551.0417 | 2016-07-05 01:00 | 0 | G:\EOP\NS\DOCLIB\NDT\Citywide Support\E&PP\2016\Plans\533265
533265 | 821844 | 6595549 | 1 |  | Officer |  |  |  | 0
533265 | 821844 | 6595550 | 2 | APR | 1st response required by | Graeme Souter | 42572.0417 | 2016-07-05 01:00 | 0
533265 | 821844 | 6603804 | 3 | AE1 | Email to Sarah Griggs | Graeme Souter |  | 2016-07-05 01:00 | 10 |  |  |  | Hi Sarah Many thanks for this, the details are satisfactory to address the query regarding the proposed gas protection measures. I have e-mailed Jen in Planning to advise. Kind regards Graeme
533265 | 821844 | 6603810 | 4 | AE1 | Email to Jen Atkinson | Graeme Souter |  | 2016-07-05 01:00 | 10 |  |  |  | 8/ 7/2016 11:18 GS5 Hi Jen The information below is satisfactory to address the outstanding query with regard to the specific details for gas protection measures. We will just need the validation report upon completion (which i think is actually being finalised at the moment by Sarah Griggs) I hope this helps Kind regards Graeme
533265 | 821844 | 6603812 | 5 | X05 | Office work completed (see text) not | Graeme Souter |  | 2016-07-08 01:00 | 0
533265 | 821844 | 6603813 | 5 |  | served) |  |  |  | 0
533265 | 821844 | 6603814 | 6 | A96 | Review File / Information / Research | Graeme Souter |  | 2016-07-08 01:00 | 20