FLOOD RISK STATEMENT (FRS)

Site: 13 Alford Avenue, Manchester, M20 1AQ
Proposal: [Single-storey rear extension]

1. Introduction

This Flood Risk Statement (FRS) has been prepared to support a householder planning application at 13 Alford Avenue, Manchester.

The site has been reviewed using Environment Agency Flood Map for Planning and other publicly available data sources.

2. Site Location & Description

The site is an existing residential property located on Alford Avenue.

The property sits within a built-up residential area and is positioned near a local watercourse (Cringle Black Brook).

The red line boundary submitted with the application defines the application site.

3. Flood Risk Assessment (All Sources)

3.1 Fluvial (River) Flood Risk

- The site lies partly within Flood Zone 1 and partly within Flood Zone 2 (Environment Agency Flood Map for Planning).

- Flood Zone 2 represents land with a medium probability of flooding (1 in 1000 annual probability).

- The flood risk is associated with the nearby watercourse.

👉 However:

- The existing dwelling is already established

- The proposal is small-scale domestic development

- No increase in vulnerability is introduced

3.2 Surface Water Flood Risk

Surface water flood risk has been considered using national datasets.

- There is potential for surface water flooding in the surrounding area

- The development will incorporate appropriate drainage measures to manage runoff

3.3 Other Sources of Flooding

- Groundwater: Low risk in this area

- Sewer flooding: No known incidents at the site

- Reservoirs/canals: Not applicable

4. Historical Flooding

No specific historical flooding incidents have been identified for the site through publicly available records.

5. Development Impact & Mitigation

5.1 Finished Floor Levels (FFL)

- Finished floor levels will be:

  - No lower than existing dwelling levels, OR

  - Raised where necessary in line with EA guidance (300mm above flood level if required)

5.2 Flood Resilience Measures (if required)

Where appropriate, the development will incorporate:

- Water-resistant materials

- Raised electrical sockets

- Sealed floors and walls

5.3 Surface Water Drainage

- The development will not increase flood risk elsewhere

- Surface water will be managed via:

  - Existing drainage systems, or

  - Sustainable drainage principles where feasible

5.4 Safe Access & Egress

- The site benefits from existing residential access

- Occupants will rely on Environment Agency flood warning systems if necessary

6. Sequential Test (Householder Development)

The proposal relates to a minor extension to an existing dwelling, therefore:

- The Sequential Test is not required under national planning policy

7. Conclusion

- The site is partly within Flood Zone 2 but is an existing residential property

- The proposal is minor and low-risk

- The development will not increase flood risk on or off site

- Appropriate mitigation and design measures will be implemented

👉 Therefore, the development is acceptable in flood risk terms