| LOCATION: 342 Slade Lane, Manchester M19 2BX | DATE: April 14th 2026 |
| --- | --- |

| PERSONS AT RISK: Contractor and operatives, officials, visitors & trespassers | REVIEW DATE(S): significant changes or change in legislation |
| --- | --- |

| ACTIVITY | HAZARD(S) | RISK(S) | RATING | CONTROL MEASURES | RESIDUAL RISK(S) |
| --- | --- | --- | --- | --- | --- |
| Site wide activities | Site Traffic | Struck by plant & vehicles. Being reversed over | Medium | Ensure segregation of plant and site traffic from pedestrians using designated routes, barriers, and signs Supervise deliveries and deploy trained banks man. Pre-warn delivery drivers of site conditions and access. Co-ordinate deliveries to site to avoid excessive unnecessary journeys. Indicate and communicate pre-determined lay down areas for materials deliveries etc. Observe speed limit. Use flashing warning beacons. STRICTLY NO MOBILE PHONES WHEN DRIVING ON or OFF SITE Do not approach operational vehicles or plant; attract the drivers’ attention before approaching. Strict enforcement of eye protection near operational plant, power tools and machinery |  |

| ACTIVITY | HAZARD(S) | RISK(S) | RATING | CONTROL MEASURES | RESIDUAL RISK(S) |
| --- | --- | --- | --- | --- | --- |
| General activities | Power Tools | Cuts, tears, punctures, abrasions etc. | Medium | Check hand tools and power tools daily for defects and wear and tear. VISUAL – TACTILE – FUNCTION check all tools and equipment before use. Only use power tools that are fit for purpose. Do not exert pressure on hand or power tools. Wear eye protection. Wear ear and eye protection when using cartridge tools. Dispose of used cartridges appropriately |  |

| ACTIVITY | HAZARD(S) | RISK(S) | RATING | CONTROL MEASURES | RESIDUAL RISK(S) |
| --- | --- | --- | --- | --- | --- |
| Site Set Up & Welfare | Other trades Services/Utilities Ground conditions: Manholes Service Ducts Drainage channels | Unplanned interaction Electrocution | Low High Medium | Liaise with client and plan works to include exclusion zones and clearly defined site boundaries. Create exclusion zones in accordance with BS6187:2000 – clause 13 - Safe Working Spaces and Exclusion Zones. Ensure showroom and security lodge are vacated before the demolition. Take reasonable precautions to ensure that the electrical supply to the portal canopy lighting, external flood lights and showroom plus security lodge has been disconnected at the supply and locked-out so that it cannot be re-energized at any time. Identify manhole covers, drain covers etc. and conspicuously mark to avoid traversing. Deploy welfare van for operatives. | Rogue, unidentified power cables |

| ACTIVITY | HAZARD(S) | RISK(S) | RATING | CONTROL MEASURES | RESIDUAL RISK(S) |
| --- | --- | --- | --- | --- | --- |
| Removal of profiled sheet roofing | Working at height Weather conditions Ground conditions. Overhead obstructions | Falling from height Objects falling from height. Stability of mobile towers in strong winds Stability of profiled sheet roofing and steel purlins in strong wind | Medium | Working at Height Regulations 2005 set out a simple hierarchy for managing and selecting equipment for work at height… Avoid work at height where they can. Use work equipment or other measures to prevent falls where they cannot avoid working at height and… Where they cannot eliminate the risk of a fall, use work equipment or other measures to minimize the distance and consequences of a fall should one occur. Correct selection of ladders and mobile access towers Competent person to undertake pre-use inspection and safe use of ladders and mobile access towers. PASMA trained and experienced operatives’ top erect alloy towers Only used on level, firm, and stable ground Selection, erection, dismantling and inspection of mobile scaffold towers must be undertaken by competent and trained people. No person must be permitted to erect, alter, or dismantle any mobile scaffold unless authorized by the site supervisor. Diagonal bracing and stabilizers should always be used. Access ladders should be fitted to the narrowest side of the tower or inside the tower and people should not climb up the frame of the tower. All wheels must be locked whilst work is in progress, and all persons must vacate the tower before it is moved. All operatives, who are required to use the mobile tower scaffolds, will be instructed in their safe use and movement. Outriggers or stabilizers must be extended where applicable. Tower scaffolds must not be used or moved on sloping, uneven or obstructed surfaces. Tower scaffolds must only be used in the vertical position. The tower working platform must be fully boarded, fitted with guard rails and toe boards and not overloaded. Towers must be tied to a rigid structure if exposed to windy weather or used for work such as jet-blasting. People working from a tower must not over-reach or use ladders from the work platform. Remain within the confines of the tower and do not stand on any ledgers or brace. Safe distances must be maintained between the tower and overhead power lines both during working operations and when the tower is moved. The tower should be inspected on a regular basis and a report made. | Untrained or inexperienced selection of work and access equipment Lone working or access |

| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| --- | --- | --- | --- | --- | --- |
| Removal of steel stanchions/columns | Hot Work | Burning, scalding etc. Fire Flashback Explosion | Medium | ALL Hot Work to be controlled by HOT WORK Permit/Safe System of Work Competent people only operate propane cutting and burning equipment. Flashback Arrestors are essential safety devices which provide the maximum protection for the operator and his equipment in the event of a flashback, therefore visual, tactile and operational checks MUST be carried out periodically and the significant findings recorded, with any defects rectified before the equipment is brought into service. Keep all propane cylinders in a safe, well-ventilated place, preferably in the open air and away from occupied buildings, boundaries and sources of ignition and heat. Make sure the cylinders are properly secured and kept upright. Best practice would be to store used and unused cylinders separately in a proprietary steel cage that is kept locked to mitigate the effects of an explosion. To protect a cylinder, you should fit flashback arresters onto the regulator, on both the fuel and oxygen supply. Arresters may be fitted on the blowpipe, but these do not give protection from a fire starting in the hose. For long lengths of hose, you should fit arresters on both the blowpipe and the regulator. The fitting of a flashback arrester should not be considered as a substitute for safe working practice. DO NOT try to put out a fire involving LPG – leave it to the fire brigade. It is safer to evacuate everyone from the area; as an overheated cylinder can explode. Wear flame retardant coveralls. Use proprietary head protection with spatter visor. Wear industrial type hand protection. Deploy firefighting apparatus for use on other types of fire ensuring that training has been received and understood by a competent person. Conduct a Fire Watch Walk Through the site/property after the end of the shift. FIRE PREVENTION PRECAUTIONS Move the workpiece to a safe location for carrying out the hot work processes. Remove any combustible materials (such as flammable liquids, wood, paper, textiles, packaging, or plastics) from within about 10 meters of the work. Ventilate spaces where vapours could accumulate, such as vehicle pits or trenches. Protect any combustible materials that cannot be moved, from close contact with flame, heat, sparks or hot slag. Use suitable guards or covers such as metal sheeting, mineral fibre boards or fire-retardant blankets. Check that there are no combustible materials hidden behind walls or partitions which could be ignited, particularly if prolonged welding or cutting is planned. Some wall panels contain flammable insulation materials. Use guards or covers to prevent hot particles passing through openings in floors and walls (doorways, windows, etc.) Maintain a continuous fire watch during the period of the work, and for at least an hour afterwards. Keep fire extinguishers nearby. | Unskilled operatives |
| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| Removal of profiled sheet roofing, purlins, and steel stanchions/columns | Lifting Operations | Being struck by debris Being struck by plant Being struck by falling loads or debris Being struck by mechanical boom Being struck by tail swing of 360 excavators Limited verbal communication due to noise | Medium | In accordance with LOLER 1998, BS7121, CPA Guidance and best practice… Check plant, chains, slings, shackles and lifting eyes etc. for Record of Thorough Examination, Testing, SWL and Maintenance Operate Quick Hitch to manufacturers standards and recommendations also in line with HSE Guidance SIM 02/2007/01 Version 2 Ensure competence of operator i.e. knowledge, experience, and training Plan and supervise lifting operations. Deploy competent Slinger/Signaler Loads should only be moved when the slinger can both see the load and efficiently communicate with the driver. An additional banks man must be provided if the load goes out of sight at any point Loads should not be lifted until directed by the slinger. The load should be initially lifted a short way to enable an assessment to be made so that the load is properly slung. Where necessary, tag lines should be used to guide loads, i.e. windy conditions or on large/unwieldy loads. Loads must be carefully handled to avoid snatching and slewed and travelled to remain suspended vertically. Lifting equipment must not be used to pull or drag loads. Never swing loads to obtain extra reach. Care should be taken to allow for the increase in radius when the load is first raised. This can arise from flexing of the jib or ram, stretching of ropes and compression of hydraulic fluid. It is particularly important that persons do not stand between the load and any fixed object, or in the blind spot of the operator. Lifting equipment must never be overloaded and drivers must react immediately to the warnings of the rated capacity indicator by either lowering the load or by reducing the radius of operation in a safe and controlled manner. Loads must never be left suspended from the hook or lifting point when the machine is left unattended. Before lifting, load routes should be established to avoid loads being lifted over people wherever possible. It is important to select the correct equipment for the task and therefore excavators intended for lifting operations and with a maximum rated lift capacity of more than 1000Kg (or an overturning moment in excess of 4000Nm) should be fitted with check valves (hose burst check valves) on the main boom hydraulic cylinders and acoustic or visual rated capacity indicators/limiters. | Unsupervised operation |

| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| --- | --- | --- | --- | --- | --- |
| Removal of steel stanchions/columns | Stability Weather conditions | Premature collapse Being struck by uncontrolled materials Being struck by falling object | Medium | Demolition to be conducted in accordance with BS 6187:2000 Any temporary structural support or proprietary system would have to be designed and constructed in accordance with best practice and BS5975. Wear appropriate gloves for handling debris etc. Predicted debris area when mechanically handling materials. Discourage observers from standing too close to the exclusion zone. Process excavated, sheared, or demolished materials at ground level. Wear appropriate PPE. |  |
| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| Removal of profiled sheet roofing, purlins, and steel stanchions/columns | Lifting Operations | Being struck by debris Being struck by plant Being struck by falling loads or debris Being struck by mechanical boom Being struck by tail swing of 360 excavator Limited verbal communication due to noise | Medium | In accordance with LOLER 1998, BS7121, CPA Guidance and best practice… Check weather forecast and use anemometer to measure wind speeds and abort operation if above 44 mph. Check plant, chains, slings, shackles and lifting eyes etc. for Record of Thorough Examination, Testing, SWL and Maintenance Operate Quick Hitch to manufacturers standards and recommendations also in line with HSE Guidance SIM 02/2007/01 Version 2 Ensure competence of operator i.e. knowledge, experience, and training Plan and supervise lifting operations. Deploy competent Slinger/Signaler Loads should only be moved when the slinger can both see the load and efficiently communicate with the driver. An additional banks man must be provided if the load goes out of sight at any point. Loads should not be lifted until directed by the slinger. The load should be initially lifted a short way to enable an assessment to be made so that the load is properly slung. Where necessary, tag lines should be used to guide loads, i.e. windy conditions or on large/unwieldy loads. Loads must be carefully handled to avoid snatching and slewed and travelled to remain suspended vertically. Lifting equipment must not be used to pull or drag loads. Never swing loads to obtain extra reach. Care should be taken to allow for the increase in radius when the load is first raised. This can arise from flexing of the jib or ram, stretching of ropes and compression of hydraulic fluid. It is particularly important that persons do not stand between the load and any fixed object, or in the blind spot of the operator. Lifting equipment must never be overloaded and drivers must react immediately to the warnings of the rated capacity indicator by either lowering the load or by reducing the radius of operation in a safe and controlled manner. Loads must never be left suspended from the hook or lifting point when the machine is left unattended. Before lifting, load routes should be established to avoid loads being lifted over people wherever possible. It is important to select the correct equipment for the task and therefore excavators intended for lifting operations and with a maximum rated lift capacity of more than 1000Kg (or an overturning moment in excess of 4000Nm) should be fitted with check valves (hose burst check valves) on the main boom hydraulic cylinders and acoustic or visual rated capacity indicators/limiters. | Sudden gusts of wind catching suspended materials |

| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| --- | --- | --- | --- | --- | --- |
| Processing materials | Plant operation | Being struck by debris Being struck by plant | Medium | Appropriate PPE to be worn. Machine to select debris with sorting grapple and remove to designated safe working area. Sorting area must NOT be within the static reach of the excavator boom and dipper arm. There must be a safe working area for the ground operatives where the excavator must traverse to, thereby avoiding direct interaction between the machine and load and operatives. Conduct visual ground conditions survey and be aware of manholes, voids, basements, drainage, cable ducting, uneven flag stones, poorly compacted ground etc. Carry out thorough visual and operational inspection of plant. Satisfy yourself with viewing the maintenance records for the plant and equipment i.e. 12 monthly Record of Thorough Examination Check tyres for cuts to the side walls and any other damage and tracks for damaged links etc. Check tyre pressures where appropriate Do not overload tippers. Ensure excavator has functional mirrors, beacon, and horn. Check SWL of vehicle and only operate within the Safe Working Load Be aware of rain altering ground conditions. Follow Quick Hitch HSE Guidance when operating excavator. Ensure adequate and appropriate training coupled with experience for plant operators. Do not stand or walk under a suspended a load. Maximum safe distance from power lines mounted on steel towers is 18m. Maximum safe distance from power lines mounted on poles is 9m. Create a Safe Working Zone around plant and equipment. Wear safety footwear, head protection and Hi-Viz vests/coats plus gloves. Wear waterproofs where necessary. | Unsupervised operation |

| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| --- | --- | --- | --- | --- | --- |
| Disposal of demolition debris and materials | HGV activity Skip/bin loads | Being struck by forward moving or reversing vehicle Falling debris/materials from skip/bin Uncovered debris/waste being blown from skip/bin | Medium | Wear appropriate PPE/RPE Deploy Vehicle Banksman to coordinate vehicle operations, particularly reversing maneuvers. Level off all skip/bin loads and do not have any materials protruding or hanging from vehicle skip/bin bodies. Sheet over skip/bin loads Do not overload tipper/skip vehicles. Employ good housekeeping. |  |

| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| --- | --- | --- | --- | --- | --- |
| Site wide activities | Manual Handling | Musculoskeletal issues Direct injury Slipperiness Sharp edges | Medium | Use mechanical means where reasonably practicable or alternatively deploy 2 men. If repetitive lifting and awkward truncal twisting is envisaged, then the need to conduct a Manual Handling Assessment will apply re MHO Regs 1992 (as amended 2002). 2 men to handle loads more than 25 Kgs. Assessment factors include: The Tasks, The Loads, The Working Environment, Individual Capability, and other factors such as posture hindered by PPE or clothing. |  |

| ACTIVITY | HAZARD(S) | RISK | RATING | CONTROL MEASURES | RESIDUAL RISK |
| --- | --- | --- | --- | --- | --- |
| Clean up and the environment | Dust Fumes Noise Vibration | RCS Airborne contaminants Noise and vibration exposure | Medium | Use mist generator for damping down. Control and reduce machine activity. Wear ear defenders where appropriate |  |

| ACTIVITY | HAZARD(S) | RISK(S) | RATING | CONTROL MEASURES | RESIDUAL RISK(S) |
| --- | --- | --- | --- | --- | --- |
| Demolition of showroom | Buildings are in dangerous condition ACM’s Dust Unstable structural elements Live services | Premature collapse Asbestos fibre exposure Airborne contaminants Falling objects Electrocution Explosion | Medium | Structural engineers’ inspection report where appropriate Wear appropriate PPE/RPE Restrict access. Identify utilities/services. Ensure and prove that services are disconnected at the external supply where practicable and/or incoming main. Purge any gas or pressure systems on site. Commission asbestos refurbishment/demolition survey. Maintain asbestos cement and/or sheet products in one piece where reasonably practicable. Damp down with constant aerosolized water mist. Asbestos Cement sheets to be carefully deposited in RORO bins provided and sheeted over when being transported from site. Double bag asbestos materials in transparent bag and then red asbestos bag Licensed hazardous waste contractor for disposal of asbestos cement products etc. re: duty of care Licensed Asbestos Removal Contractor required for licensable operations. | Movement of structure since last inspection/survey Re-energized services Voids, basements, cellars, culverts etc. |

The afore described Site Specific Risk Assessment has been read and has been explained to the individuals below who have signed this document to confirm that they have understood the risks associated with the specific tasks and that they will, so far as reasonably practicable ensure the safety of themselves and other who may be affected by their work.

| NAME: | NAME: | NAME: |
| --- | --- | --- |
| POSITION: | POSITION: | POSITION: |
| SIGN: | SIGN: | SIGN: |
| DATE: | DATE: | DATE: |

| NAME: | NAME: | NAME: |
| --- | --- | --- |
| POSITION: | POSITION: | POSITION: |
| SIGN: | SIGN: | SIGN: |
| DATE: | DATE: | DATE: |