24.08.26 – Mock up for approval

Protection to the concrete column – 10mm high density foam pad placed behind each steel uni-strut channel/ section.

| 1 | 2 |
| --- | --- |
| 3 | 4 |