| Project | Hinchley Road, Blackley |
| --- | --- |
| Document Title or Subject | Drainage Maintenance Schedule |
| Document Reference | 110315-PEF-XX-XX-RP-D-0001 |
| Revision Reference | P02 |
| Date | 14.09.26 |

# Maintenance to Drainage Systems

Proper maintenance of drainage systems is essential to ensure they function effectively and sustainably. Key objectives include:

- Control the flow to prevent flooding and erosion;

- Prevent pollution by intercepting silt and cleaning runoff from hard surfaces;

- Preserving infrastructure by preventing blockages and damages to pipes and channels;

- Ensuring public safety by minimizing water-related hazards.

# Managing the Drainage Systems

The Hydrobrake at Hinchley Road has been designed for easy maintenance to comprise:

- Regular Maintenance – Remove sediment and debris from flow control chambers and pipes.

- Remedial work - Repairing damage where necessary

- Monitoring – Conduct routine inspections to assess system performance, check for signs of blockage or deterioration, and verify that flow rates and water levels remain within design parameters.

Contact

Miller Homes are maintaining the drainage systems at present but will pass responsibility onto a recognised adopting body upon completion and sewer adoption. Last Mile Water will be maintaining the new installed drainage system following adoption of the asset under a formal s104 agreement.

# Drainage Maintenance Requirements & Specification

## General Requirements

For the proposed drainage systems to perform effectively, it is essential that all inlet, outlets, flow control devices, gullies, pipes, and manhole structures are monitored to ensure they remain operational. Any specific manufacturer recommendations should be adhered to in the first instance. Adequate access for inspection and maintenance should be available as necessary for the relevant parties, including appropriate equipment and vehicles

Inclusions:

- Avoid use of weedkillers and pesticides to prevent chemical pollution

- Protect all control features through regular maintenance

- Maintenance of Hydrobrakes, adoptable sewers and manholes and road gullies. Miller Hoems to maintain until the assets are adopted by the relevant adopting body,

Exclusions:

- Maintenance of rainwater harvesting chambers, pumps, etc.

- Maintenance of Plot Drainage

## Gullies

Gullies are point drains that capture water from specific locations and direct it into underground pipes.

Maintaining gullies is essential to prevent blockages, ensure efficient water flow, and reduce the risk of surface flooding and water damage. Regular cleaning and inspection help keep these systems functioning properly and extend their service life. Gullies to be maintained by Miller Homes until adopted by Manchester City Council under a formal s38 agreement.

| ACO CHANNEL / GULLIES |  |
| --- | --- |
| Regular Maintenance | Frequency |
| Remove sediment and debris from adoptable gullies | Quarterly |
| Remedial Actions |  |
| Replace or clean carriageway gullies if failure occurs | As Necessary |

## Oversized Pipework and Hydrobrake Manhole

As part of the proposals there are oversized pipework and a hydrobrake manhole for restricting the rate of discharge into the nearby sewers.

The pipework has been offered for adoption and has received technical approval from Last Mile Water. Until the point of formal handover the hydrobrake will be maintained as:

| Hydrobrake Manhole |  |
| --- | --- |
| Regular Maintenance | Frequency |
| Remove sediment and debris from flow control chambers and upstream manholes | Monthly for first 12 months then 6 monthly |
| Remedial Actions | Frequency |
| Replace or clean hydrobrake if performance deteriorates or failure occurs | As Necessary |
| Monitoring | Frequency |
| Check flow control to ensure emptying is occurring | Quarterly and post high intensity storm event |

## Spillage – Emergency Action

Most spillages on development sites are of compounds that do not pose a serious risk to the environment if they enter the drainage in a slow and controlled manner with time available for natural breakdown in a treatment system. Therefore, small spillages of oil, milk or other known organic substances should be removed where possible using soak mats as recommended by the Environment Agency with residual spillage allowed to bio-remediate in the drainage system.

In the event of a serious spillage, either by volume or of unknown or toxic compounds, then isolate the spillage with soil, turf or fabric and block outlet pipes from chamber(s) downstream of the spillage with a bung(s). A bung for blocking pipes may be made by wrapping soil or turf in a plastic sheet or close woven fabric.) Contact the Environment Agency immediately.

# Inspection routine

In the absence of specific manufacturer’s guidance on inspections, the following section should be used as a guide.

During operational monitoring, the structures should be assessed against a range of criteria:

- Condition,

- Structural Performance,

- Hydraulic Performance,

- Environmental

- Performance

- Health And Safety.

The maintenance guidance for the surface water systems on-site is recorded in Section 3.

In line with CIRIA definitions, inspections are separated into two categories, General and Principal, which are defined as follows:

- General inspection is the examination of all parts of a structure that can be inspected without specialist equipment.

- A principal inspection is defined as a close examination of all accessible parts, including adjacent earthworks, with man-entry or CCTV inspection taking place.

All inspections carried out on the drainage system should be thoroughly documented, with records retained on file for future reference. This ensures traceability, supports ongoing maintenance planning, and provides evidence of compliance with regulatory and operational requirements.

Note: Pressure jetting may be required prior to CCTV inspection

Note: Inspection regime of the hydrobrake and pipes are the responsibility of the adopting water body Lat Mile Water upon formal sewer adoption under a s104 agreement. Miller Homes to maintain until point of formal sewer adoption.